## Slide 1
Monthly Review of Reliability Unit Commitment Market Impacts – January 2023
Wholesale Market Working Group
ERCOT Staff

## Slide 2: RUC Resource-Hours
* The difference between “Instructed” and “Effective” values is a result of Resources starting up, shutting down, receiving partial hour instructions, or otherwise not being dispatchable by SCED.
January 2023 | Total | Opt-Out | Non-Opt-Out
Instructed Resource-Hours |  |  | 
Total Count | 306.0 | 113.0 | 193.0
Effective Resource-Hours* |  |  | 
Total Count | 265.4 | 98.5 | 166.9
Average LSL | 60.5 | 85.1 | 45.9
Average LDL | 104.4 | 158.4 | 72.5
Average BP | 120.8 | 184.3 | 83.3
Average HSL | 226.1 | 294.8 | 185.5

## Slide 3: RUC Instruction Reasons: Last 13 Months RUCs in January 2023 were primarily driven by system-wide capacity concerns.

## Slide 4: RUC Instruction Reasons
January 2023
265.4 effective RUC Resource-hours.
  263.4 hours (99.25%) for capacity concerns.
  2.0 hours (0.75%) for congestion concerns.

## Slide 5: Non-opt-out and Opt-out Totals: Last 13 Months January 2023 had a total of 166.9 non-opt-out effective Resource-hours (62.88%) and 98.5 opt-out effective Resource-hours (37.12%).

## Slide 6: Non-opt-out and Opt-out Totals: January 2023

## Slide 7: RUC Lead Time Margin: January 2023
Lead time refers to the length of time between a RUC instruction and the start of the commitment window.
Lead time margin is the difference between lead time and the Resource’s startup time.
In cases where a Resource is committed for multiple back-to-back time blocks, lead time margin is calculated from the first instruction.
Most RUC commit windows had lead time margin at or below 4 hours.
Notes: The first bin is both-inclusive (i.e. [0, 2] ), while subsequent bins are left-inclusive (i.e. [2, 3), [3, 4), etc.).

## Slide 8: Average Resource Age In January 2023, the mean age of RUC-committed Resources was 50.2 years for Non-Opt-Out Resource-hours, 53.6 years for Opt-Out Resource-hours without DAM Commitments.
Note: For Resource configurations with multiple physical generators, the age of the oldest generator is used.

## Slide 9: Age Category Most RUC-Committed Resources in January 2023 were older than 40 years.
Non-opt-out
Opt-out

## Slide 10: RUC-Instructed Resource Dispatch above LDL
January 2023
When Resources did not successfully opt out, there were 31.4 effective Resource-hours for which the Resource was dispatched above its LDL.
  For 6.9 of these Resource-hours, the LMP for the RUC-instructed Resource was above the RUC offer floor.
  For 24.5 of these Resource-hours, the LMP for the RUC-instructed Resource was below the RUC offer floor.
    For all these Resource-hours, the RUC-instructed Resource was mitigated.
There were no Exceptional Fuel Cost submissions for any RUC-Committed Resources in January 2023.

## Slide 11: Reliability Deployment Price Adder: Last 13 Months January 2023 had a total of 35.42 RTORDPA hours with an average value of $0.46/MWh.

## Slide 12: Reliability Deployment Price Adder: January 2023 OD 1/30 had the highest daily time-weighted average RTORDPA: $10.88/MWh.

## Slide 13: RUC Clawback, Capacity Short Charges, and Shortfall For January 2023, the total Clawback charge was $0.8M. The total Make-Whole payment was $0.1M, which was almost entirely covered through capacity-short charges.
In January 2023, $0.142M in Make-Whole was paid out. There was a total amount of $0.4 uplifted to load this month.
Data as of February 15th, 2023

## Slide 14: RUC Make-Whole by Settlement Type
Negative dollars represent a payment from ERCOT to a market participant
“-” indicates settlement has yet to be completed.
Month | Initial Settlement ($) | Final Settlement Change ($) | True-up Settlement Change ($) | Net as of Feb 15, 2023 ($)
Jan '22 | -245,071 | 0 | -75,152 | -320,223
Feb '22 | -3,102,122 | 0 | -3,868,287 | -6,970,408
Mar '22 | -636,118 | 0 | -113,323 | -749,442
Apr '22 | -742,010 | 0 | 0 | -742,010
May '22 | -1,366,293 | 658 | -1,936,192 | -3,301,827
Jun '22 | -1,474,085 | 0 | -4,540,116 | -6,014,201
Jul '22 | -1,282,874 | 0 | -8,558,242 | -9,841,116
Aug '22 | -3,464,254 | 0 | - | -3,464,254
Sep '22 | -4,666,217 | 0 | - | -4,666,217
Oct '22 | -851,291 | -37,747 | - | -889,038
Nov '22 | -809,352 | 0 | - | -809,352
Dec '22 | -1,479,207 | - | - | -1,479,207
Jan '23 | -141,639 | - | - | -141,639

## Slide 15: RUC Clawback by Settlement Type
Month | Initial Settlement ($) | Final Settlement Change ($) | True-up Settlement Change ($) | Net as of Feb 15, 2023 ($)
Jan '22 | 49,520 | 0 | -12,020 | 37,501
Feb '22 | 9,396,481 | 0 | -1,768,344 | 7,628,138
Mar '22 | 244,125 | 0 | -142,617 | 101,508
Apr '22 | 1,284,735 | 0 | 0 | 1,284,735
May '22 | 8,167,123 | 19,018 | -892,817 | 7,293,324
Jun '22 | 12,379 | 0 | 0 | 12,379
Jul '22 | 6,500,951 | 0 | -1,255,520 | 5,245,432
Aug '22 | 985,985 | 0 | - | 985,985
Sep '22 | 364,507 | 0 | - | 364,507
Oct '22 | 544,601 | -16,449 | - | 528,152
Nov '22 | 951,568 | 0 | - | 951,568
Dec '22 | 148,277 | - | - | 148,277
Jan '23 | 835,738 | - | - | 835,738
Negative dollars represent a payment from ERCOT to a market participant
“-” indicates settlement has yet to be completed.