Date:	March 21, 2023

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs)

##### Issue: ##### Consideration of the following NPRRs recommended for approval by PRS: - NPRR1145, Use of State Estimator-Calculated ERCOT-Wide TLFs in Lieu of Seasonal Base Case ERCOT-Wide TLFs for Settlement [ERCOT] - NPRR1155, Attestation Regarding Market Participant Citizenship, Ownership, or Headquarters [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote and (ii) For NPRRs, ERCOT Credit Staff and the Market Credit Work Group (MCWG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR1145, Use of State Estimator-Calculated ERCOT-Wide TLFs in Lieu of Seasonal Base Case ERCOT-Wide TLFs for Settlement [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2024; Rank 4010 ERCOT Impact Analysis: Between $50K and $80K; no impacts to ERCOT staffing; impacts to Settlements & Billing Systems, Energy Management Systems, Data Management & Analytic Systems, and Channel Management Systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR changes the 15-minute level ERCOT-wide Transmission Loss Factors (TLFs) that are used in the Settlement process from seasonal base case TLFs to State Estimator-calculated TLFs in Energy Management System (EMS). It also clarifies the use of Non-Opt-In Entity (NOIE) deemed actual TLFs to remove behind-the-meter Transmission Losses. PRS Decision: On 2/9/23, PRS voted unanimously to recommend approval of NPRR1145 as amended by the 8/10/22 ERCOT comments. On 3/8/23, PRS voted unanimously to endorse and forward to TAC the 2/9/23 PRS Report and 7/27/22 Impact Analysis for NPRR1145 with a recommended priority of 2024 and rank of 4010. - NPRR1155, Attestation Regarding Market Participant Citizenship, Ownership, or Headquarters [ERCOT] Proposed Effective Date: June 1, 2023 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR amends the Market Participant eligibility criteria in Section 16, Registration and Qualification of Market Participants, by providing that an Entity is not eligible to register or maintain its registration with ERCOT as a Market Participant if the Entity meets any of the prohibited citizenship, ownership or headquarters criteria established in the Lone Star Infrastructure Protection Act (LSIPA), Texas Business and Commerce Code, Sections 113.002(a)(2)(A)-(b)(2)(B) or 2274.0102(a)(2)(A)-(b)(2)(B), added by Act of June 18, 2021, 87th Leg., R.S., Ch. 975 (S.B. 2116). PRS Decision: On 2/9/23, PRS voted unanimously to recommend approval of NPRR1155 as submitted. On 3/8/23, PRS voted unanimously to endorse and forward to TAC the 2/9/23 PRS Report and 11/22/22 Impact Analysis for NPRR1155. Revision Requests Rejected None Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR1156, Priority Revision Request Process [Oncor] - NPRR1161, Clarify AVR Notification Requirements for IRRs [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR1067, Market Entry Qualifications, Continued Participation Requirements, and Credit Risk Assessment [ERCOT] - NPRR1070, Planning Criteria for GTC Exit Solutions [EDF Renewables / Pattern Energy] - NPRR1143, Provide ERCOT Flexibility to Determine When ESRs May Charge During an EEA Level 3 [ERCOT] - NPRR1146, Credit Changes to Appropriately Reflect TAO Exposure [REMC] - NPRR1150, Related to NOGRR230, WAN Participant Security [ERCOT] - NPRR1162, Single Agent Designation for a QSE and its Sub-QSEs for Voice Communications over the ERCOT WAN [ERCOT] - NPRR1163, Related to LPGRR070, Discontinuation of Interval Data Recorder (IDR) Meter Weather Sensitivity Process [ERCOT] - NPRR1164, Black Start and Isochronous Control Capable Identification [ERCOT] New Revision Requests Scheduled for Consideration at PRS - NPRR1165, Revisions to Requirements of Providing Audited Financial Statements and Providing Independent Amount [ERCOT] - NPRR1166, Protected Information Status of DC Tie Schedule Information [ERCOT] - NPRR1167, Improvements to Firm Fuel Supply Service Based on Lessons Learned [ERCOT] These Revision Requests and supporting materials are posted on the ERCOT website at the following links: http://www.ercot.com/mktrules/issues/nprr