## Slide 1
Reserve Margin Study Update
Supply Analysis Working Group
Julie Jin
Resource Adequacy
March 24, 2023
Notes: Welcome to

## Slide 2: Current Status
Updating SERVM model inputs to develop base-case: load forecast, generation resources, PUNs and hydro modeling. Also updating the following:
  The latest ancillary service requirements including ECOT Contingency Reserve Service (ECRS)
  Phase 2 weatherization impact assumptions will be reflected in the low temperature/forced outage correlations by weather zone
  Price Responsive Demand deployment will be improved at low reserve margin levels; higher than historical responses should be expected at low reserve margin levels, for example 6% reserve margin
Collecting and processing generator outage data; some responses to the data request excluded reserve shutdown events, which should be included in NERC Generator Availability Data System (GADS) data submissions

## Slide 3: Sensitivities
Scenario | Description
Zonal Impact | Estimate the impact of zonal constraints on EORM, MERM, and 0.1 LOLE RM.
Renewable Penetration | Higher underlying wind and solar penetration
Energy Storage Penetration | Review market outcomes without the projected battery storage fleet
EFOR | Review market outcomes of varying the forced outage rates of the thermal units
Solar-Battery Storage Reference Resource | Solar-battery storage system used as the reference resource
Joint SAWG/ERCOT Sensitivity Selections | Retirement Risk Large Industrial Loads
Non-Simulation Sensitivities | VOLL Reference Resource Carrying Cost Weather Weightings Load Forecast Error Distribution