## Slide 1
LFLTF Update for SAWG
Evan Neel
Resource Adequacy
ERCOT
Supply Analysis Working Group
March 24, 2023
ERCOT Public

## Slide 2: March LFLTF Update
March 20th meeting included discussions on the current interconnection queue, UFLS, and price oscillations.
2,370 MW have received approval to energize and observed non-coincident peak consumption is 1,739 MW.
NPRR language is currently being drafted and will include…
  Ramp rate limitations/min for interruptible loads and CLRs
  Interruptible: 5% down, 2% up CLR: 20% of HSL
ERCOT is scheduling 1x1 conversations with LFL owners to gain insight on operations in order to help with forecasting assumptions.

## Slide 3: LFLs in the SARA/CDR
SARA 
  TDSP connected LFLs are currently baked into load forecast.
  Co-located LFLs have their own line item and methodology outlined in the report.
CDR 
  TDSP connected LFLs are currently baked into load forecast.
  Future TDSP connected LFL projections are 700 MW/year
  Co-located LFLs are included in PUN contribution
Currently working on draft NPRR language to separate TDSP connected LFLs into its own line item in CDR. SARA will follow suit.

## Slide 4
Questions?
evan.neel@ercot.com