## Slide 1
Meter Working Group
March 28, 2023

## Slide 2: Anti-Trust Admonition
  Antitrust Admonition
  To avoid raising concerns about antitrust liability, participants in ERCOT activities should refrain from proposing any action or measure that would exceed ERCOT’s authority under federal or state law. For additional information, stakeholders should consult the Statement of Position on Antitrust Issues for Members of ERCOT Committees, Subcommittees, and Working Groups, which is posted on the ERCOT website. http://www.ercot.com/about/governance/index.html
Disclaimer
All presentations and materials submitted by Market Participants or any other Entity to ERCOT staff for this meeting are received and posted with the acknowledgement that the information will
be considered public in accordance with the ERCOT Websites Content Management Operating Procedure.

## Slide 3: Introduction of Chair/Vice Chair
  MWG Leadership confirmed by WMS
    Doug Breshears of BEC to continue as Chair
    Michael Blum of CenterPoint to serve as Vice Chair

## Slide 4: NPRR945 & Discussions on Double Counting Energy
  Expressed catalyst for the discussions
    TDSP tariff requirements to render a bill for separate customers at the gen site
  Scenario for the double counting of energy flows
    EPS Metering Design Proposal submitted and approved for a generation site where load is netted with generation, and
    ERCOT assigns gen site net load to the ESI ID assigned to the gen site, and
    A separate ESI ID is established in ERCOT systems by the TDSP for the netted Load with the TDSP as the MRE, and
    Transactions submitted by the TDSP for the separate ESI ID includes any portion of the meter data that was also assigned to a gen site ESI ID populated by ERCOT during the gen site settlement process

## Slide 5: NPRR945 & Discussions on Double Counting Energy
  Highlights of some discussed options
  ERCOT stops populating the gen site ESI ID(s) when directed by the TDSP on an EPS Metering Design Proposal and allow the gen site ESI IDs to be TDSP read ESI IDs for settlements
    Protocol changes required as current Protocols require ERCOT to determine and assign net load for a generation site to an ESIID(s)
  Install EPS Metering on the load behind the POI and have ERCOT allocate net load to multiple ESI IDs using EPS Meter data
    Protocol changes required to define desired allocation methodology to multiple ESI IDs at a gen site for net load
  ERCOT disregard the information submitted by the TDSP for the Load ESI ID when the ESI ID is not associated to the gen site and has the TDSP set as the MRE
    Protocol changes required to define the circumstances where ERCOT would disregard TDSP submitted data when the TDSP is set as the MRE

## Slide 6: NPRR945 & Discussions on Double Counting Energy
  Existing defined market solution for multiple ESI IDs at a generation site
  Protocols and ERCOT systems currently support the assignment of multiple ESI IDs to a generation site; where
    the net load would be allocated to the assigned ESI IDs by ERCOT based on a fixed percentage split.
  10.3.2.1.6 Allocating EPS Metered Data to Generator Owners When It Is Net Load
    EPS Generation Resource sites that are netted by ERCOT may have multiple Competitive Retailers (CRs) associated with the Load. ERCOT shall poll the EPS metering facilities related to the actual Generation Resource facility and store the meter data at 15-minute intervals. ERCOT shall perform validation, editing, estimation, compensation for losses as necessary, and netting as required for EPS metering data. For intervals when data is net Load, the fixed ownership percentages stored in the asset database must be used to allocate the consumption to multiple Electric Service Identifiers (ESI IDs). The consumption quantities for the ESI IDs must be used in all energy settlement calculations and reports.

## Slide 7: NPRR945 & Discussions on Double Counting Energy
  Utilizing Protocol section 10.3.2.1.6 as a path forward to eliminate any concerns on double counting
    Multiple ESI IDs are assigned to a gen site for the allocation of net load
    ERCOT will continue to be the MRE assigned to the gen site ESI IDs
    ERCOT will allocate the gen site net load based on a fixed percentage split
      Resource Entity defines the split during the registration process
    ERCOT will use the ESI ID information populated by ERCOT in all settlement calculations and reports
    ERCOT will disregard any meter usage submitted by the TDSP on an 867_03 transaction for the ESI IDs associated to the gen site
      TDSP will determine the allocation of net load to each ESI ID for their billing purposes
  Market Participants will need to determine if this approach meets there needs or if Protocol language needs to be developed to implement another option

## Slide 8: NPRR 949 Completion Discussion
  Thank you for the time and effort it took to complete the transition to IP communications for EPS Meters! We recognize that is was not a small task and we appreciate the work that went into completing this.
The ERCOT Telecommunications team is in the process of removing the infrastructure that has supported the remote communications to EPS Meters over the telephone lines.

## Slide 9: Reports on EPS Activities
  See key document 5. Report on EPS Activities March 2023
  Anonymous TDSP codes are the same as the last MWG.
    If need your code or would like to confirm yours, please send an email to Donald.maul@ercot.com

## Slide 10: Line Loss Compensation at Joint use Facilities
  Current language in SMOG section 8.4.2 for Joint Use Facilities
    (1) In the case of joint use facilities (where facilities are used to deliver power to more than one entity) a fixed factor for losses is calculated based on the facilities’ peak load. Such fixed factor shall be applied to the energy measured by each meter.
  Discussion
    Does this approach provide the “best” answer for metering configurations sharing common infrastructure or should additional guidance be provided in SMOG?

## Slide 11: Line Loss Compensation at Joint use Facilities
  Some examples of configurations sharing common infrastructure
    NOIE Load boundary metering point behind a NOIE boundary metering point
    Wholesale Storage Load or Non-Wholesale Storage Load Energy Storage Resource charging energy metering point behind the POI/SDP
    Generation site where the generation metering point is at the POI and the Load metering point is behind the POI
      the energy for the Load is being settled separately from the generation
    Generation site where the generation metering point and Load metering point are both behind the generation site POI
      the energy for the Load is being settled separately from the generation
      the Load metering point is not behind the generation site metering point

## Slide 12: Line Loss Compensation at Joint use Facilities
  NOIE Load boundary metering point behind a NOIE boundary metering point
    Compensate the metering point to the upstream NOIE boundary metering point
      Meter programming from its physical location to the upstream NOIE boundary metering point, or
      Fixed factor based on either
        the maximum energy flows for the load metering point or
        an existing agreement that includes a determination of the percentage of losses to be applied to the measured energy flows

## Slide 13: Line Loss Compensation at Joint use Facilities
  Wholesale Storage Load or Non-Wholesale Storage Load Energy Storage Resource Charging Energy metering point behind the POI/SDP
    Program the ESR charging energy meter for loss compensation from its physical location to the first fork where the charging energy could flow from multiple sources into the ESR
    If there is not a source behind the POI/SDP that could provide charging energy to the ESR, program the ESR charging energy meter for loss compensation from its physical location to the generation site POI/SDP

## Slide 14: Line Loss Compensation at Joint use Facilities
  Generation site where the generation metering point is at the POI and the Load metering point is behind the POI and the energy for the Load is being settled separately from the generation
    Compensate the Load metering point to the POI
      Meter programming from its physical location to the POI, or
      Fixed factor based on either
        the maximum energy flows for the load metering point
        an existing agreement that includes a determination of the percentage of losses to be applied to the measured energy flows

## Slide 15: Line Loss Compensation at Joint use Facilities
  Generation site where the generation metering point and Load metering point are both behind the generation site POI, the energy for the Load is being settled separately from the generation and the Load metering point is not behind the generation site metering point
    The generation metering point shall be programmed for loss compensation from its physical location to the generation site POI
    The Load metering point shall be programmed for loss compensation from its physical location to the generation site POI

## Slide 16: ANSI certification for CTs used in metering and composite error test applicability
  Seeing cases of “composite error” being used to calculate RCF/PA information for some CTs with high ratios and RF
  SMOG 7.6(1) requires instrument transformers to be tested per ANSI C57.13
  ANSI requires measurement of RCF and PA at 100%, 10% or 5% and rating factor for metering accuracy CTs
    ANSI C57.13-2016 6.11
  Composite Error is allowed for CTs used in non revenue metering applications
    ANSI C57.13-2016
      Annex B B.3.1.2
      Annex B B.8

## Slide 17: New or Other Business Items
  Request for any new or other business items

## Slide 18: Meeting Summary and Closing Remarks
  Thank you for your attendance and participation.
  Notes from this meeting will be posted on the ERCOT website under the key documents for this meeting.
    https://www.ercot.com/calendar/03282023-MWG-Meeting