## Slide 1
PDCWG Report to ROS
Chair: Jimmy Jackson, CPS
Vice Chair: Vacant
ROS
April 6th, 2023

## Slide 2: Report Overview & Notes
Report Overview
  Meeting Minutes
  BAL-001-TRE-2 FMEs and IMFR
    1 FME in the month of Feb
  Frequency Control Report

## Slide 3: Meeting Minutes
PDCWG Meeting 3/22/2023
  NOGRR247 Change UFLS Stages and Load Relief Amounts
  ERCOT Reports
  TRE Report

## Slide 4: Frequency Measurable Events Performance

## Slide 5: Frequency Measurable Events
There was 1 FME in February
  2/8/2023 10:31:24
    Loss of 711 MW of generation
    Interconnection Frequency Response: 1,481 MW/0.1 Hz
    95 Resources were evaluated. These includes,
      35 Generation Resources
      2 Controllable Load Resources
      58 Energy Storage Resources
    9 of 95 Evaluated Resources had less than 75% of their expected Initial Primary Frequency Response.
    9 of 288 Evaluated Resources had less than 75% of their expected Sustained Primary Frequency Response.

## Slide 6: Interconnection Minimum Frequency Response (IMFR) Performance
Frequency Response Obligation (FRO): 463 MW/0.1 Hz
IMFR Performance currently
1446.67 MW/0.1HZ

## Slide 7
Questions?

## Slide 8: Frequency Control Report
Jan 2023

## Slide 9: CPS1 Performance

## Slide 10: RMS1 Performance of ERCOT Frequency
Notes: 14.37Mhz on avg for Feb 2023

## Slide 11: Frequency Profile Analysis

## Slide 12: Time Error Corrections

## Slide 13: ERCOT Total Energy
Notes: 30,335,510 MWh

## Slide 14: ERCOT Total Energy from Wind Generation
Notes:   10,195,515 MWH

## Slide 15: ERCOT % Energy from Wind Generation
Notes: 33.61%
of total energy was provided by wind generation

## Slide 16: ERCOT Total Energy from Solar Generation
Notes: 1,442,064 MWh

## Slide 17: ERCOT % Energy from Solar Generation
Notes: 4.75%

## Slide 18: ERCOT Daily Minimum System Inertia
Notes: Minimum Inertia =135,268 MW*s on 1/15/2023
Absolute Minimum remains 109,029 MW*s on 3/22/2021
Data:
Mean: 178,997 MW*s
Max: 348,505 MW*s on Jan 31st
Min: 135,268 MW*s on Jan 15th

## Slide 19: ERCOT Inertia Trend
Notes: For each box, the central mark (red line) is the median, the edges of the box (in blue) are the 25th and 75th percentiles, the whiskers correspond to +/- 2.7 sigma (i.e., represent 99.3% coverage, assuming the data are normally distributed. The corresponding lowest inertia in each year is given in the table.
The circle on each boxplot is showing inertia during time when highest portion of load was served by wind/solar generation in that year.