## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Theresa Noyes
HITE List Sub-Chair – Pushkar Chhajed
04/06/2023

## Slide 2: 2023 UFLS Survey
ERCOT announced the 2023 UFLS timeline
ERCOT presented the UFLS Survey requirements from the ERCOT Operating Guides 2.6.2 (1) and (2)
Market Notice issued March 30
Date and time of survey May 11th @ 11:00 AM

## Slide 3: PGRR103 - Establish Time Limit for Generator Commissioning Following Approval to Synchronize
OWG reached consensus and endorses PLWG comments

## Slide 4: NOGRR245 – Inverter-Based Resource (IBR) Ride-Through Requirements
ERCOT presented proposed comments for discussion
Stakeholders raised concerns on timelines and equipment updates to comply with proposed changes
ERCOT welcomes additional feedback while drafting response comments
Tabled pending further comments and discussions

## Slide 5: NOGRR247 Change UFLS Stages and Load Relief Amounts
ERCOT discussed UFLS load relief minimum of 25% of load
NOGRR keeps 25% requirement broken into five stages
New tables addressing stages
Stakeholders expressed concern coordinating with changes in NOGRR226 and suggested tying them together
Stakeholder expressed concerns with implementation timeline
Tabled pending comments and review

## Slide 6: Texas Reliability Entity Update
NERC issued Level 2 Alert on IBR performance issues
Recommends specific actions for solar Generator Owners
Responses due by June 29, 2023