APPROVED

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 8000 Metropolis Drive (Building E), Suite 100– Austin, Texas 78744

Thursday, March 2, 2023 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Allen, Cory | South Texas Electric Cooperative | Alt. Rep. for Paul Person Via Teleconference |
| Barnes, Bill | Reliant Energy (Reliant) | Alt. Rep. for Kevin Matt |
| Bowen, Kenneth | CPS Energy | Via Teleconference |
| Boyd, Phillip | City of Lewisville | Via Teleconference |
| Ebrahimian, Reza | Austin Energy | Via Teleconference |
| Gerety, Chris | Texas-New Mexico Power (TNMP) | Via Teleconference |
| Haley, Ian | Luminant Generation (Luminant) |  |
| Hall, Ron | Calpine Corporation (Calpine) | Via Teleconference |
| Kota, Kiran | National Grid Renewables (NG Renewables) | Via Teleconference |
| Kremling, Barry | Guadalupe Valley Electric Cooperative (GVEC) |  |
| Kunkel, Dennis | AEP Service Corporation (AEPSC) | Via Teleconference |
| Lee, Billy | Garland Power and Light (GP&L) | Via Teleconference |
| Lutrick, Chris | Denton Municipal Electric (DME) | Via Teleconference |
| Marr, Daniel | Lower Colorado River Authority (LCRA) |  |
| Nashawati, Eithar | Oncor Electric Delivery (Oncor) |  |
| Pokharel, Nabaraj | Office of Public Utility Council (OPUC) | Via Teleconference |
| Reed, Cyrus | Sierra Club | Via Teleconference |
| Reid, Mike | Air Liquide | Via Teleconference |
| Rich, Katie | Golden Spread Electric Cooperative (GSEC) |  |
| Schmitt, Jennifer | Rhythm Ops | Via Teleconference |
| Smith, Chase | Southern Power |  |
| Surendran, Resmi | Shell Energy North America (SENA) | Alt. Rep. for Wen Zhang Via Teleconference |
| Varnell, John | Tenaska Power Services (Tenaska) | Alt. Rep. for Adam Cochran |
| Wittmeyer, Bob | Broad Reach Power | Alt. Rep. for Casey Kopp |
| Woitt, Wes | CenterPoint Energy (CNP) | Via Teleconference |

The following proxy was assigned:

- Chase Smith to Katie Rich

| - Guests: |  |  |
| --- | --- | --- |
| Ahn, Sirius | Oncor | Via Teleconference |
| Albaijat, Mohammad | Bridge Link Investments | Via Teleconference |
| Allen, Theresa | Avangrid Renewables | Via Teleconference |
| Anderson, Connor | AB Power Advisors | Via Teleconference |
| Barr, Bill | LCRA | Via Teleconference |
| Basaran, Harika | PUCT | Via Teleconference |
| Bertin, Suzanne |  | Via Teleconference |
| Blackburn, Don | Hunt Energy Network Power | Via Teleconference |
| Blackshear, David | PNM Resources | Via Teleconference |
| Blakey, Eric | Pedernales Electric Cooperative |  |
| Block, Laurie |  | Via Teleconference |
| Burke, Thomas | RWE |  |
| Callender, Hudson | CPS Energy | Via Teleconference |
| Chwialkowski, Todd | EDF | Via Teleconference |
| DeRidder, Chris | nFront | Via Teleconference |
| Detelich, David | CPS Energy | Via Teleconference |
| DeWitt, Charles | PEC | Via Teleconference |
| Dharme, Neeraja | EDFT | Via Teleconference |
| Didsayabutra, Paul | BP | Via Teleconference |
| Dreyfus, Mark | MD Energy Consulting | Via Teleconference |
| Evans, Doug | AEPSC | Via Teleconference |
| Felhofer, Alex | Oncor | Via Teleconference |
| Flessner, Teddi | STEC | Via Teleconference |
| Floyd, Rickey | Oncor | Via Teleconference |
| Ghanem, Sherryhan | PUCT | Via Teleconference |
| Goff, Eric | TSPA |  |
| Greer, Clayton | Cholla Petroleum | Via Teleconference |
| Haas, Robert | Quanta Technology | Via Teleconference |
| Hall, Matthew | Invenergy | Via Teleconference |
| Headrick, Bridget | CES |  |
| Helton, Bob | ENGIE | Via Teleconference |
| Henry, Mark | Texas Reliability Entity | Via Teleconference |
| Henson, Martha | Oncor | Via Teleconference |
| Hinds, David | LCRA | Via Teleconference |
| Huynh, Thuy | Potomac Economics | Via Teleconference |
| Inman, Grant | BP | Via Teleconference |
| Jolly, Emily | LCRA |  |
| Jowlabar, Nicholas | RWE Renewables | Via Teleconference |
| Khayat, Maribel | CNP | Via Teleconference |
| Khedlekar, Aniruddha | LCRA | Via Teleconference |
| Koenig, Chris | GSEC | Via Teleconference |
| Koz, Brian |  | Via Teleconference |
| Kroskey, Tony | Brazos | Via Teleconference |
| Lee, Jim | CNP |  |
| Liu, Meng | Oncor | Via Teleconference |
| Lo, Thomas |  | Via Teleconference |
| Lotter, Eric | GridMonitor | Via Teleconference |
| Loving, Alicia | Austin Energy | Via Teleconference |
| Macaraeg, Tad | Stem | Via Teleconference |
| Martin, Collin | Oncor | Via Teleconference |
| Martinez, Javier | Brownsville Public Utilities Board | Via Teleconference |
| Mayclin, Arthur | Calpine | Via Teleconference |
| McClellan, Suzi | Good Company Associates | Via Teleconference |
| McWyman, Constance |  | Via Teleconference |
| Mendoza, Albert | Oxy | Via Teleconference |
| Miller, Alexandra | EDFR | Via Teleconference |
| Morris, Sandy | WETT | Via Teleconference |
| Mulholland, Chad | NRG | Via Teleconference |
| Nikouei, Farhad |  | Via Teleconference |
| Noyes, Theresa | LCRA |  |
| Oxedine, Helena | CPS Energy | Via Teleconference |
| Penney, David | Texas Reliability Entity | Via Teleconference |
| Pullela, Suma | Orsted | Via Teleconference |
| Pyka, Greg | Schneider Engineering | Via Teleconference |
| Ramaswamy, Ramya | PUCT | Via Teleconference |
| Reed, Ronald | CNP | Via Teleconference |
| Reid, Walter | Advanced Power Alliance |  |
| Ritch, John | NextEra Energy | Via Teleconference |
| Robertson, William | CPS Energy | Via Teleconference |
| Ross, Richard | AEPSC | Via Teleconference |
| Sams, Bryan | Calpine | Via Teleconference |
| Setzer, Jonas | CPS Energy | Via Teleconference |
| Showalter, Dana | Plus Power |  |
| Siddiqi, Shams | Crescent Power | Via Teleconference |
| Sims, Chris | LP&L | Via Teleconference |
| Smith, Caitlin | Jupiter Power | Via Teleconference |
| Snellgrove, Jon | AEP | Via Teleconference |
| Stephenson, Zac | TEC | Via Teleconference |
| Velasquez, Ivan | Oncor | Via Teleconference |
| Walcavich, Colin | NG Renewables |  |
| White, Lauri | AEP | Via Teleconference |
| Wolf, Craig | RES | Via Teleconference |
| Woods, Brad | Texas Reliability Entity | Via Teleconference |
| Yong, Cheng | Lone Star Transmission | Via Teleconference |
| Zang, Hailing | TC Energy | Via Teleconference |
| ERCOT Staff: |  |  |
| Albracht, Brittney |  | Via Teleconference |
| Anderson, Troy |  | Via Teleconference |
| Billo, Jeff |  | Via Teleconference |
| Boren, Ann |  | Via Teleconference |
| Chambers, Jason |  | Via Teleconference |
| Cheng, Yunzhi |  | Via Teleconference |
| Clifton, Suzy |  |  |
| Cyphers, Darrell |  | Via Teleconference |
| Danielson, Christian |  | Via Teleconference |
| Davarikia, Hamzeh |  | Via Teleconference |
| Devadhas Mohanadhas, Thinesh |  | Via Teleconference |
| Du, Pengwei |  | Via Teleconference |
| Dwyer, Davida |  | Via Teleconference |
| Fohn, Doug |  | Via Teleconference |
| Garcia, Freddy |  | Via Teleconference |
| Golen, Robert |  | Via Teleconference |
| Gonzalez, Ino |  | Via Teleconference |
| Hahne, Cynthia |  | Via Teleconference |
| Huang, Fred |  |  |
| Jenkins, Darrell |  | Via Teleconference |
| Kang, Sun Wook |  | Via Teleconference |
| Lee, Alex |  | Via Teleconference |
| Mago, Nitika |  |  |
| Matlock, Robert |  | Via Teleconference |
| Meier, Eric |  | Via Teleconference |
| Phillips, Cory |  | Via Teleconference |
| Sanchez, Daniel |  | Via Teleconference |
| Schmall, John |  | Via Teleconference |
| Solis, Stephen |  | Via Teleconference |
| Stevens, Jim |  | Via Teleconference |
| Teixeira, Jay |  |  |
| Thuerwaechter, Kashia |  | Via Teleconference |
| Wasik-Gutierrez, Erin |  |  |
| Yan, Ping |  | Via Teleconference |

Unless otherwise indicated, all Market Segments participated in the votes.

Chase Smith called the March 2, 2023 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Smith directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

- Mr. Smith reviewed the agenda.

- Approval of Meeting Minutes (see Key Documents)

- February 8, 2023

Mr. Smith noted that the February 8, 2023 ROS Meeting Minutes could be considered for inclusion in the Combined Ballot.

Technical Advisory Committee (TAC) Update

Katie Rich reviewed the disposition of items considered at the February 20, 2023 TAC meeting.

- 2023 ROS Goals (see Key Documents)

- Market Participants reviewed the draft 2023 ROS Goals and offered clarifications.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

- ERCOT Reports (See Key Documents)

- Operations Report

- Alex Lee summarized the January 2023 Operations Report and responded to Market Participants questions and concerns.

- System Planning Report

- Ping Yan summarized the January 2023 System Planning Report.

Urgency Vote (see Key Documents)

Nodal Operating Guide Revision Request (NOGRR) 248, Related to NPRR1157, Incorporation of PUCT Approval into Revision Request Process

Planning Guide Revision Request (PGRR) 104, Related to NPRR1157, Incorporation of PUCT Approval into Revision Request Process

Resource Registration Glossary Revision Request (RRGRR) 034, Related to NPRR1157, Incorporation of PUCT Approval into Revision Request Process

Brittney Albracht summarized NOGRR248, PGRR104, and RRGRR034, the request for Urgent status, and the respective 2/22/23 Impact Analyses.  Market Participants offered administrative clarifications to RRGRR034.  Mr. Smith noted that these items could be considered for inclusion in the Combined Ballot.

ROS Revision Requests (see Key Documents)

Language Review

NOGRR246, Related to NPRR1161, Clarify AVR Notification Requirements for IRRs

- Stephen Solis summarized NOGRR246.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

NOGRR247, Change UFLS Stages and Load Relief Amounts

- Jeff Billo summarized NOGRR247, noted that it revises the grey-box language from NOGRR226, Addition of Supplemental UFLS Stages, and reviewed the phased implementation timeline.  Some Market Participants expressed concern that NOGRR247 may be too complex to implement alongside NOGRR226 and requested tabling for further review by the Dynamics Working Group (DWG), Operations Working Group (OWG), Performance, Disturbance, Compliance Working Group (PDCWG), and System Protection Working Group (SPWG).  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

NOGRR230, WAN Participant Security

NPRR1150, Related to NOGRR230, WAN Participant Security

No action was taken on these items.

Planning Working Group (PLWG) (see Key Documents)

Alexandra Miller reviewed PLWG activities, and requested ROS direction on the action item to review the Key Topic Concept (KTC) 15-6 RMR and MRA Services and the analysis for batteries, in consideration of the complexity involving multiple ERCOT areas beyond planning.  Mr. Smith requested PLWG continue to review the issues.

NPRR1070, Planning Criteria for GTC Exit Solutions

ROS took no action on this item.

PGRR103, Establish Time Limit for Generator Commissioning Following Approval to Synchronize

Ms. Miller summarized PGRR103 discussion at the February 14, 2023 PLWG meeting.  Rickey Floyd summarized PGRR103 discussion at the February 16, 2023 OWG meeting.  In consideration of meeting efficiencies, Mr. Smith requested that if PLWG reached consensus on the issues and a PGRR103 recommendation at the March 22, 2023 PLWG meeting, OWG would host an additional March OWG meeting to review PGRR103, and that ROS would consider PGRR103 at the April 6, 2023 ROS meeting.

OWG (see Key Documents)

Mr. Floyd reviewed OWG activities.

OWG Leadership

Vice Chair:  Theresa Noyes, LCRA

- Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

NOGRR215, Limit Use of Remedial Action (RAS) Schemes

Emily Jolly summarized the 1/3/23 LCRA, 1/31/23 LCRA, and 3/1/23 LCRA comments to NOGR215.  Dennis Kunkel summarized the 1/31/23 AEP and 3/1/23 AEP comments to NOGRR215.  Cory Allen summarized the 3/1/23 STEC comments to NOGRR215.  Freddy Garcia emphasized the RAS’s diminished usefulness and purpose in correlation with the ERCOT System’s evolution, and cited Security-Constrained Economic Dispatch (SCED) as a more capable, comparable tool.  Mr. Garcia also noted ERCOT support for the 3/1/23 AEP comments, arguing that the 3/1/23 LCRA comments’ preservation of the RAS undermines reliability.  Market Participants discussed similarities found between the 3/1/23 LCRA comments and 3/1/23 AEP comments and offered clarifications to NOGRR215.  Mr. Garcia reaffirmed the ERCOT support for the 3/1/23 AEP comments but not the 3/1/23 LCRA comments.

Bill Barnes moved to recommend approval of NOGRR215 as amended by the 3/1/23 LCRA comments as revised by ROS.  Bob Wittmeyer seconded the motion.  The motion carried with two objections from the Consumer (OPUC) and Cooperative (STEC) Market Segments, and seven abstentions from the Consumer (2) (Air Liquide, Sierra Club), Independent Generator (Calpine), Independent Power Marketer (IPM) (SENA), and Investor Owned Utility (IOU) (3) (Oncor, CNP, TNMP) Market Segments.  (Please see ballot posted with Key Documents.)

NOGRR245, Inverter-Based Resource (IBR) Ride-Through Requirements

ROS took no action on this item.

DWG (see Key Documents)

Javier Martinez reviewed DWG activities.

Inverter Based Resources Task Force (IBRTF) (see Key Documents)

Mohamed Albaijat reviewed IBRTF activities, including NOGRR245.

Combined Ballot

Mr. Wittmeyer moved to approve the Combined Ballot as follows:

- To approve the February 8, 2023 ROS Meeting Minutes as submitted

- To approve the 2023 ROS Goals

- To grant NOGRR248 Urgent status; to recommend approval of NOGRR248 as submitted; and to forward NOGRR248 and the 2/22/23 Impact Analysis to TAC

- To grant PGRR104 Urgent status; to recommend approval of PGRR104 as submitted; and to forward PGRR104 and the 2/22/23 Impact Analysis to TAC

- To grant RRGRR034 Urgent status; to recommend approval of RRGRR034 as revised by ROS; and to forward RRGRR034 and the 2/22/23 Impact Analysis to TAC

- To recommend approval of NOGRR246 as submitted

- To table NOGRR247 and refer the issue to DWG, OWG, PDCWG and SPWG

- To endorse Theresa Noyes, LCRA, as the 2023 OWG Vice Chair

John Varnell seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

(PDCWG) (See Key Documents)

Mr. Smith noted the PDCWG report was posted.

Other Business

Review Open Action Items List

This item was deferred to the April 6, 2023 ROS meeting.

No Report

- Black Start Working Group (BSWG)

- Network Data Support Working Group (NDSWG)

- SPWG

- Operations Training Working Group (OTWG)

- Steady State Working Group (SSWG)

- Voltage Profile Working Group (VPWG)

Adjournment

Mr. Smith adjourned the March 2, 2023 ROS meeting at 1:22 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- https://www.ercot.com/calendar/01052023-ROS-Meeting