Draft

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 8000 Metropolis Drive (Building E), Suite 100– Austin, Texas 78744

Thursday, April 6, 2023 – 9:30 a.m.

| Attendance |  |  |  |
| --- | --- | --- | --- |
| Members: |  |  |  |
| Bowen, Kenneth | CPS Energy |  | Via Teleconference |
| Boyd, Phillip | City of Lewisville |  | Via Teleconference |
| Cochran, Seth | DC Energy |  |  |
| Ebrahimian, Reza | Austin Energy |  | Via Teleconference |
| Gerety, Chris | Texas-New Mexico Power (TNMP) |  | Via Teleconference |
| Haley, Ian | Luminant Generation (Luminant) |  |  |
| Hall, Ron | Calpine Corporation (Calpine) |  | Via Teleconference |
| Kota, Kiran | National Grid Renewables (NG Renewables) |  | Via Teleconference |
| Kremling, Barry | Guadalupe Valley Electric Cooperative (GVEC) |  | Via Teleconference |
| Kopp, Casey | Broad Reach Power (BRP) |  | Via Teleconference |
| Kunkel, Dennis | AEP Service Corporation (AEPSC) |  | Via Teleconference |
| Lee, Billy | Garland Power and Light (GP&L) |  | Via Teleconference |
| Lutrick, Chris | Denton Municipal Electric (DME) |  | Via Teleconference |
| Marr, Daniel | Lower Colorado River Authority (LCRA) |  | Via Teleconference |
| Matt, Kevin | Reliant Energy (Reliant) |  |  |
| Nashawati, Eithar | Oncor Electric Delivery (Oncor) |  |  |
| Person, Paul | South Texas Electric Cooperative (STEC) |  | Via Teleconference |
| Pokharel, Nabaraj | Office of Public Utility Council (OPUC) |  | Via Teleconference |
| Reed, Cyrus | Sierra Club |  | Via Teleconference |
| Reid, Mike | Air Liquide |  | Via Teleconference |
| Rich, Katie | Golden Spread Electric Cooperative (GSEC) |  | Via Teleconference |
| Schmitt, Jennifer | Rhythm Ops |  | Via Teleconference |
| Smith, Chase | Southern Power |  |  |
| Surendran, Resmi | Shell Energy North America (SENA) |  |  |
| Varnell, John | Tenaska Power Services (Tenaska) |  | Alt. Rep. for Adam Cochran |
| Woitt, Wes | CenterPoint Energy (CNP) |  | Via Teleconference |
| - Guests: |  |  |  |
| Ahn, Sirius |  | Oncor | Via Teleconference |
| Albaijat, Mohammad |  | Bridge Link Investments | Via Teleconference |
| Allen, Theresa |  | Avangrid Renewables | Via Teleconference |
| Anderson, Connor |  | AB Power Advisors | Via Teleconference |
| Ashley, Kristy |  | CES | Via Teleconference |
| Bailey, Robert |  | NRG Energy |  |
| Barr, Bill |  | LCRA | Via Teleconference |
| Bezwada, Neelima |  | Potomac Economics | Via Teleconference |
| Bhuiyan, Faruque |  | Austin Energy | Via Teleconference |
| Blackburn, Don |  | Hunt Energy Network Power | Via Teleconference |
| Blackshear, David |  | PNM Resources | Via Teleconference |
| Blakey, Eric |  | Pedernales Electric Cooperative | Via Teleconference |
| Bruce, Mark |  | Pattern Energy | Via Teleconference |
| Bunch, Kevin |  | EDF Trading | Via Teleconference |
| Burke, Thomas |  | RWE | Via Teleconference |
| Cahn, Vanessa |  | Enel | Via Teleconference |
| Calcagni, Anthony |  | DC Energy | Via Teleconference |
| Chatlani, Varsha |  | BETM | Via Teleconference |
| Cheng, Yong |  | LCRA | Via Teleconference |
| Childress, John |  | kWantix, LLC | Via Teleconference |
| Chmiel, Gary |  |  | Via Teleconference |
| Chwialkowski, Todd |  | EDF | Via Teleconference |
| Cox, Jason |  | EQ Energy Advisors | Via Teleconference |
| DeRidder, Chris |  | nFront | Via Teleconference |
| Detelich, David |  | CPS Energy | Via Teleconference |
| Devarajan, Bhargavi |  | BETM | Via Teleconference |
| Dieringer, Michael |  | Austin Energy | Via Teleconference |
| Donohoo, Ken |  | OwlERC, LLC | Via Teleconference |
| Egunjobi, Ransome |  | Enel | Via Teleconference |
| Evans, Doug |  | AEPSC | Via Teleconference |
| Fink, Regan |  | PG Renewables | Via Teleconference |
| Floyd, Rickey |  | Oncor | Via Teleconference |
| Garrett, Bob |  | Key Capture Energy | Via Teleconference |
| Ghanem, Sherryhan |  | PUCT | Via Teleconference |
| Gross, Blake |  | AEPSC | Via Teleconference |
| Hall, Matthew |  | Invenergy | Via Teleconference |
| Hamann, Andrew |  | LCRA | Via Teleconference |
| Henry, Mark |  | Texas Reliability Entity |  |
| Henson, Martha |  | Oncor | Via Teleconference |
| Hinds, David |  | LCRA | Via Teleconference |
| Jonic, Gordon |  | CPN | Via Teleconference |
| Jowlabar, Nicholas |  | RWE Renewables | Via Teleconference |
| Khayat, Maribel |  | CNP | Via Teleconference |
| Koberlein, Paul |  | LP&L | Via Teleconference |
| Koz, Brian |  |  | Via Teleconference |
| Kroskey, Tony |  | Brazos | Via Teleconference |
| Lacek, Mollie |  | Talen Energy | Via Teleconference |
| Lee, Jim |  | CNP |  |
| Leverett, Travis |  | WETT | Via Teleconference |
| Li, Jun |  | CNP | Via Teleconference |
| Lotter, Eric |  | GridMonitor | Via Teleconference |
| Lu, Bo |  | BRP | Via Teleconference |
| Macaraeg, Tad |  | Stem | Via Teleconference |
| Majidi, Mohammad |  | Pattern Energy | Via Teleconference |
| Martinez, Javier |  | BPUB | Via Teleconference |
| McClellan, Suzi |  | Good Company Associates | Via Teleconference |
| McGinnis, Blair |  | LP&L | Via Teleconference |
| Meng, Liu |  | Oncor | Via Teleconference |
| Miller, Alexandra |  | EDFR | Via Teleconference |
| Miller, Luke |  | LP&L | Via Teleconference |
| Morris, Sandy |  | WETT | Via Teleconference |
| Mulholland, Chad |  | NRG | Via Teleconference |
| Noyes, Theresa |  | LCRA |  |
| Okenfuss, James |  | Savion | Via Teleconference |
| Paxson, Robert |  |  | Via Teleconference |
| Penney, David |  | Texas Reliability Entity | Via Teleconference |
| Preas, Dylan |  | LCRA | Via Teleconference |
| Ramaswamy, Ramya |  | PUCT | Via Teleconference |
| Ritch, John |  | NextEra Energy |  |
| Robertson, William |  | CPS Energy | Via Teleconference |
| Sakalla, Yasmin |  | Enel | Via Teleconference |
| Sersen, Juliana |  | Baker Botts | Via Teleconference |
| Showalter, Dana |  | Plus Power | Via Teleconference |
| Siddiqi, Shams |  | Crescent Power | Via Teleconference |
| Sills, K. |  | GP&L | Via Teleconference |
| Sims, Chris |  | LP&L | Via Teleconference |
| Snellgrove, Jon |  | AEP | Via Teleconference |
| Springer, Tyler |  | AEP | Via Teleconference |
| Stanfill, Susan |  | PGR | Via Teleconference |
| Thompson, Marie |  | Southern Power | Via Teleconference |
| Tran, Long |  | STEC | Via Teleconference |
| Velasquez, Ivan |  | Oncor | Via Teleconference |
| Villasana, Kristi |  | NBU | Via Teleconference |
| Walcavich, Colin |  | NG Renewables | Via Teleconference |
| Walker, Zachary |  | Oncor | Via Teleconference |
| Wall, Perrin |  | CNP | Via Teleconference |
| Wang, Shawn |  | Enel | Via Teleconference |
| White, Lauri |  | AEP | Via Teleconference |
| Wichers, Joshua |  | AEP | Via Teleconference |
| Wittmeyer, Bob |  | Longhorn Power | Via Teleconference |
| Wolf, Craig |  | RES | Via Teleconference |
| Woods, Brad |  | Texas Reliability Entity | Via Teleconference |
| Yong, Cheng |  | LCRA | Via Teleconference |
| Zang, Hailing |  | TC Energy | Via Teleconference |
| Zhang, Wen |  | Potomac Economics | Via Teleconference |
| ERCOT Staff: |  |  |  |
| Albracht, Brittney |  |  | Via Teleconference |
| Anderson, Troy |  |  | Via Teleconference |
| Azeredo, Chris |  |  | Via Teleconference |
| Billo, Jeff |  |  |  |
| Boren, Ann |  |  | Via Teleconference |
| Cheng, Yunzhi |  |  | Via Teleconference |
| Clifton, Scotty |  |  | Via Teleconference |
| Clifton, Suzy |  |  |  |
| Cyphers, Darrell |  |  | Via Teleconference |
| Danielson, Christian |  |  | Via Teleconference |
| Daryabak, Mehdi |  |  | Via Teleconference |
| Devadhas Mohanadhas, Thinesh |  |  | Via Teleconference |
| Du, Pengwei |  |  | Via Teleconference |
| Fohn, Doug |  |  | Via Teleconference |
| Garcia, Freddy |  |  | Via Teleconference |
| Golen, Robert |  |  | Via Teleconference |
| Grovois, Patrick |  |  | Via Teleconference |
| Herrera, Shane |  |  | Via Teleconference |
| Huang, Fred |  |  |  |
| Jenkins, Darrell |  |  | Via Teleconference |
| Kang, Sun Wook |  |  | Via Teleconference |
| Lee, Alex |  |  | Via Teleconference |
| Mago, Nitika |  |  |  |
| Matlock, Robert |  |  | Via Teleconference |
| Meier, Eric |  |  | Via Teleconference |
| Phillips, Cory |  |  | Via Teleconference |
| Sanchez, Daniel |  |  | Via Teleconference |
| Schmall, John |  |  | Via Teleconference |
| Solis, Stephen |  |  | Via Teleconference |
| Teixeira, Jay |  |  | Via Teleconference |
| Thuerwaechter, Kashia |  |  | Via Teleconference |
| Troublefield, Jordan |  |  | Via Teleconference |
| Wasik-Gutierrez, Erin |  |  |  |
| Yan, Ping |  |  | Via Teleconference |

Unless otherwise indicated, all Market Segments participated in the votes.

Chase Smith called the April 6, 2023 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Smith directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

- Mr. Smith reviewed the agenda.

- Approval of Meeting Minutes (see Key Documents)

- March 2, 2023

Mr. Smith noted that the March 2, 2023 ROS Meeting Minutes could be considered for inclusion in the Combined Ballot.

Technical Advisory Committee (TAC) Update

Mr. Smith reviewed the disposition of items considered at the March 21, 2023 TAC meeting, summarized highlights of the March 31, 2023 Special TAC meeting, and encouraged Market Participants to attend the April 10, 2023 Special TAC meeting – Webex Only for further discussion of the Phase 2 Bridging Solutions.

- ERCOT Reports (See Key Documents)

- Operations Report

Alex Lee summarized the February 2023 Operations Report and noted that the Winter Storm Elliott Public Report is now posted on the ERCOT website at:  https://www.ercot.com/news/trendingtopics.

- System Planning Report

- Ping Yan summarized the February 2023 System Planning Report.

- Generic Transmission Constraint (GTC) Update

- Yunzhi Cheng provided an update on the Bearkat and Panhandle GTCs.

New Protocol Revision Subcommittee (PRS) Referrals (see Key Documents)

Nodal Protocol Revision Request (NPRR) 1164, Black Start and Isochronous Control Capable Identification

- Stephen Solis reviewed NPRR1164.  Michael Dieringer summarized NPRR1164 discussion at the April 4, 2023 Black Start Working Group (BSWG) Meeting and stated that BSWG was in consensus to support a recommendation to ROS.  Market Participants noted the related Resource Registration Glossary Revision Request (RRGRR) 033.  Some Market Participants expressed concern for the implementation timeline and Network Operations Model changes and requested further review of the issues by the Network Data Support Working Group (NDSWG) and System Protection Working Group (SPWG).  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

ROS Revision Requests (see Key Documents)

Impact Analysis

Nodal Operating Guide Revision Request (NNOGRR) 215, Limit Use of Remedial Action Schemes

- Market Participants reviewed the 3/27/23 ERCOT comments to NOGRR215.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

NOGRR246, Related to NPRR1161, Clarify AVR Notification Requirements for IRRs

- Market Participants reviewed the 2/7/23 Impact Analysis for NOGRR246 and discussed correction of a defined term.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Language Review

RRGRR033, Related to NPRR1164, Black Start and Isochronous Control Capable Identification

This item was considered with NPRR1164.

NOGRR249, Communication of System Operating Limit Exceedances

- Mr. Solis reviewed NOGRR249.  Certain stakeholders noted that not all Transmission Operators (TOs)  were in agreement with ERCOT’s approach, and expressed concern that they may not be able to achieve three-part communication.  Market Participants requested review of the issues by the Operations Working Group (OWG).  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

NOGRR230, WAN Participant Security

NPRR1150, Related to NOGRR230, WAN Participant Security

No action was taken on these items.

Planning Working Group (PLWG) (see Key Documents)

Alexandra Miller reviewed PLWG activities.  Ms. Miller provided an update on the PLWG action item regarding DC ties and planning criteria changes, noted a draft Revision Request was reviewed, and requested ROS direction on next steps.  Market Participants discussed the issues and expressed support for closing the action item.  Stakeholders were encouraged to pursue submittal of the concepts through the Revision Request process.

Mr. Smith directed that the following be removed from the Open Action Items List:

- Review potential reliability benefits associated with DC Ties and assess if planning criteria changes are needed to realize those benefits.  Assignment includes consideration of January 27, 2022 Public Utility Commission of Texas (PUCT) Open meeting discussion relating to the potential addition of interconnection and planning issues associated with DC Ties and lines to an upcoming PUCT rulemaking to implement Senate Bill 1281.

PGRR103, Establish Time Limit for Generator Commissioning Following Approval to Synchronize

- Ms. Miller summarized PGRR103 discussion at the February 14, 2023 and March 22, 2023 PLWG meetings, reviewed the 3/23/23 PLWG comments, and stated that PLWG reached consensus on the revisions reflected in its comments.  Theresa Noyes summarized PGRR103 discussion at the March 16, 2023 and March 31, 2023 OWG meetings and stated that OWG was in consensus to support a recommendation to ROS for PGRR103 as amended by the 3/23/23 PLWG comments.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

OWG (see Key Documents)

Ms. Noyes reviewed OWG activities.

NOGRR245, Inverter-Based Resource (IBR) Ride-Through Requirements

Mr. Solis summarized the 4/5/23 ERCOT comments to NOGRR245, noted the ROS desire for time to review the comments and have additional discussion at the April 20, 2023 OWG meeting and April 14, 2023 Inverter Based Resources Task Force (IBRTF) meeting, and requested that ROS consider the issues at the May 4, 2023 ROS meeting in light of the reliability concerns and implications.  Some Market Participants commented that original equipment manufacturers (“OEMs”) need additional time to provide the technical data desired on whether certain IBRs will be able to comply with the ERCOT requirements.  Mr. Solis reviewed the Revision Request timeline and noted the revised timeline for submitting the assessment and plan for mitigation.  Mohammed Albaijat summarized the NOGRR245 discussions that took place at the  March 10, 2023 IBRTF meeting.  Mr. Solis offered to invite Andy Hoke to discuss the Institute of Electrical and Electronics Engineers (IEEE) Standard P2800.2, Recommended Practice for Test and Verification Procedures for Inverter-based Resources (IBRs) Interconnecting with Bulk Power Systems, and validation efforts at the April 14, 2023 IBRTF meeting.  ROS took no action on this item.

NOGRR247, Change UFLS Stages and Load Relief Amounts

ROS took no action on this item.

IBRTF (see Key Documents)

Mr. Albaijat reviewed IBRTF activities.

Dynamics Working Group (see Key Documents)

DWG Vice Chair

- Javier Martinez presented Paul Koberlein, LP&L for DWG Vice Chair.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents)

Chad Mulholland reviewed PDCWG activities.

SPWG (see Key Documents)

Jon Snellgrove reviewed SPWG activities.

Combined Ballot

Denise Kunkel moved to approve the Combined Ballot as follows:

- To approve the March 2, 2023 ROS Meeting Minutes as submitted

- To request PRS continue to table NPRR1164 for further review by the NDSWG and SPWG

- To table NOGRR215

- To endorse and forward to TAC the 3/2/23 ROS Report as revised by ROS and the 2/7/23 Impact Analysis for NOGRR246

- To table RRGRR033 and refer the issue to NDSWG and SPWG

- To table NOGRR249 and refer the issue to OWG

- To recommend approval of PGRR103 as amended by the 3/23/23 PLWG comments

- To endorse Paul Koberlein, LP&L as Vice Chair of DWG

Nabaraj Pokharel seconded the motion.  The motion carried with one abstention from the Independent Power Marketer (IPM) (SENA) Market Segment.  (Please see ballot posted with Key Documents.)

BSWG (see Key Documents)

Mr. Dieringer reviewed BSWG activities.

Operations Training Working Group (OTWG)

Dave Blackshear reminded Market Participants of the March 24, 2023 Market Notice, M-C032423-01 Education/Training, for details of 2023 Black Start Training and stated that training methodology changes  include availability to schedule full crews for the pilot week

Other Business

April 6, 2023 Responsive Reserve Service (RRS)–Primary Frequency Response (PFR) Limits Study Workshop

Mr. Smith encouraged Market Participants to attend the April 6, 2023 workshop on the RRS–PFR limits study in-person or via Webex at 1:00 p.m.

ROS Meeting Schedule

Mr. Smith noted the potential for the May 4, 2023 and July 6, 2023 ROS meeting to be Webex Only.

Review Open Action Items List

Market Participants reviewed the Open Action Items List.

No Report

- NDSWG

- Steady State Working Group (SSWG)

- Voltage Profile Working Group (VPWG)

Adjournment

Mr. Smith adjourned the April 6, 2023 ROS meeting at 12:14 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- https://www.ercot.com/calendar/04062023-ROS-Meeting