## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Theresa Noyes
HITE List Sub-Chair – Pushkar Chhajed
05/04/2023

## Slide 2: NOGRR245 – Inverter-Based Resource (IBR) Ride-Through Requirements
ERCOT presented updated comments for discussion
OWG reached consensus to endorse the 4/5/2023 comments filed by ERCOT

## Slide 3: NOGRR247 Change UFLS Stages and Load Relief Amounts
Oncor to submit comments to extend the implementation time for the proposed changes to October 1, 2026
Other consideration is to have the ability to include UFLS set at 59.1 to the anti-stall loads
Tabled pending comments and discussion at next OWG

## Slide 4: NOGRR249 Communication of System Operating Limit Exceedances
ERCOT reviewed proposed changes with OWG
Stakeholder will continue discussing internally and with ERCOT to address monitoring concerns.
Tabled at OWG

## Slide 5: OTWG Update
Black Start Training registration is on-going
CBT pre-requisite training is available
Participants are encouraged to schedule crews for the pilot session