## Slide 1
Monthly Review of Reliability Unit Commitment Market Impacts – April 2023
Wholesale Market Working Group
ERCOT Staff

## Slide 2: RUC Resource-Hours
* The difference between “Instructed” and “Effective” values is a result of Resources starting up, shutting down, receiving partial hour instructions, or otherwise not being dispatchable by SCED.
April 2023 | Total | Opt-Out | Non-Opt-Out
Instructed Resource-Hours |  |  | 
Total Count | 455.0 | 42.0 | 413.0
Effective Resource-Hours* |  |  | 
Total Count | 403.9 | 42.0 | 361.9
Average LSL | 48.4 | 61.4 | 46.9
Average LDL | 54.8 | 118.0 | 47.4
Average BP | 57.2 | 138.3 | 47.8
Average HSL | 187.2 | 204.6 | 185.2

## Slide 3: RUC Instruction Reasons: Last 13 Months RUCs in April 2023 were primarily driven by system-wide capacity concerns.

## Slide 4: RUC Instruction Reasons in April 2023
403.9 effective RUC Resource-hours.
  379.9 hours (94.06%) for capacity concerns.
  24 hours (5.94%) for congestion concerns.

## Slide 5: Non-opt-out and Opt-out Totals: Last 13 Months April 2023 had a total of 361.9 non-opt-out effective Resource-hours (89.60%) and 42.0 opt-out effective Resource-hours (10.40%).

## Slide 6: Non-opt-out and Opt-out Totals: April 2023

## Slide 7: RUC Lead Time Margin: April 2023
Lead time refers to the length of time between a RUC instruction and the start of the commitment window.
Lead time margin is the difference between lead time and the Resource’s startup time.
In cases where a Resource is committed for multiple back-to-back time blocks, lead time margin is calculated from the first instruction.
Most RUC commit windows had lead time margin at or below 4 hours.
Notes: The first bin is both-inclusive (i.e. [0, 2] ), while subsequent bins are left-inclusive (i.e. [2, 3), [3, 4), etc.).

## Slide 8: Average Resource Age: Last 13 Months In April 2023, the mean age of RUC-committed Resources was 54.6 years for Non-Opt-Out Resource-hours and 57.0 years for Opt-Out Resource-hours without DAM Commitments.
Note: For Resource configurations with multiple physical generators, the age of the oldest generator is used.

## Slide 9: Age Category: Last 13 Months Most RUC-Committed Resources in April 2023 were older than 40 years.
Non-opt-out
Opt-out

## Slide 10: RUC-Instructed Resource Dispatch above LDL
April 2023
When Resources did not successfully opt out, there were 3.7 effective Resource-hours for which the Resource was dispatched above its LDL.
  For 1.4 of these Resource-hours, the LMP for the RUC-instructed Resource was above the RUC offer floor.
  For 2.3 of these Resource-hours, the LMP for the RUC-instructed Resource was below the RUC offer floor.
    For all these Resource-hours, the RUC-instructed Resource was mitigated.
There were no Exceptional Fuel Cost submissions for any RUC-Committed Resources in April 2023.

## Slide 11: Reliability Deployment Price Adder: Last 13 Months April 2023 had a total of 156.34 RTORDPA hours with an average value of $0.80/MWh.

## Slide 12: Reliability Deployment Price Adder: April 2023 OD 4/29 had the highest daily time-weighted average RTORDPA: $9.83/MWh.

## Slide 13: RUC Clawback, Make-Whole, and Shortfall For April 2023, the total Clawback charge was $0.1M. The total Make-Whole payment was $0.7M, which was almost entirely covered through capacity-short charges.
Of the $0.687M in Make-Whole paid out in April 2023, $4.55 was uplifted to load due to rounding.
The remaining amount was collected through Capacity Short Charges.
Data as of May 9th, 2023

## Slide 14: RUC Make-Whole by Settlement Type
Negative dollars represent a payment from ERCOT to a market participant
“-” indicates settlement has yet to be completed.
Month | Initial Settlement ($) | Final Settlement Change ($) | True-up Settlement Change ($) | Net as of May 9, 2023 ($)
Apr '22 | -742,010 | 0 | 0 | -742,010
May '22 | -1,366,293 | 658 | -1,936,192 | -3,301,827
Jun '22 | -1,474,085 | 0 | -4,540,116 | -6,014,201
Jul '22 | -1,282,874 | 0 | -8,558,242 | -9,841,116
Aug '22 | -3,464,254 | 0 | -9,809,538 | -13,273,792
Sep '22 | -4,666,217 | 0 | -4,139,983 | -8,806,200
Oct '22 | -851,291 | -37,747 | -2,785,833 | -3,674,871
Nov '22 | -809,352 | 0 | - | -809,352
Dec '22 | -1,479,207 | 0 | - | -1,479,207
Jan '23 | -141,639 | -59,381 | - | -201,020
Feb ‘23 | -295,131 | 0 | - | -295,131
Mar ‘23 | -343,491 | - | - | -343,491
Apr ‘23 | -687,506 | - | - | -687,506

## Slide 15: RUC Clawback by Settlement Type
Month | Initial Settlement ($) | Final Settlement Change ($) | True-up Settlement Change ($) | Net as of May 9, 2023 ($)
Apr '22 | 1,284,735 | - | - | 1,284,735
May '22 | 8,167,123 | 19,018 | - 892,817 | 7,293,324
Jun '22 | 12,379 | - | - | 12,379
Jul '22 | 6,500,951 | - | - 1,255,520 | 5,245,432
Aug '22 | 985,985 | - | - 876,395 | 109,590
Sep '22 | 364,507 | - | - 156,692 | 207,814
Oct '22 | 544,601 | -16,449 | - 448,264 | 79,887
Nov '22 | 951,568 | - | - | 951,568
Dec '22 | 148,277 | - | - | 148,277
Jan '23 | 835,738 | - 6,526 | - | 829,212
Feb ‘23 | 158,319 | - | - | 158,319
Mar ‘23 | 179,783 | - | - | 179,783
Apr ‘23 | 53,643 | - | - | 53,643
Negative dollars represent a payment from ERCOT to a market participant
“-” indicates settlement has yet to be completed.