| NPRR Number | 1143 | NPRR Title | Provide ERCOT Flexibility to Determine When ESRs May Charge During an EEA Level 3 |
| --- | --- | --- | --- |
| Date of Decision |  | May 10, 2023 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | Upon implementation of Nodal Protocol Revision Request (NPRR) 1002, BESTF-5 Energy Storage Resource Single Model Registration and Charging Restrictions in Emergency Conditions |  |
| Priority and Rank Assigned |  | Not applicable |  |
| Nodal Protocol Sections Requiring Revision |  | 6.5.9.4.2, EEA Levels |  |
| Related Documents Requiring Revision/Related Revision Requests |  | Nodal Operating Guide Section 4.5.3.3, EEA Levels |  |
| Revision Description |  | This NPRR allows ERCOT the ability to decide when Energy Storage Resources (ESRs) may charge during an Energy Emergency Alert (EEA) Level 3. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | The grey-boxed language for paragraph (3)(a) of Section 6.5.9.4.2 was added to the Protocols with the approval of NPRR1002 which clarified restrictions for ESR charging during Emergency Conditions. NPRR995, RTF-6 Create Definition and Terms for Settlement Only Energy Storage, modified this grey-boxed language to include Settlement Only Energy Storage Systems (SOESSs). In an extended emergency event like February 2021 Winter Storm Uri, it is possible that there may be times when grid conditions are conducive to, and may benefit from, allowing ESRs to charge. This NPRR permits ERCOT to provide charging instructions to an ESR during an EEA Level 3 if ERCOT determines operating conditions are suitable for such an action. This NPRR does not change how ERCOT will instruct ESRs to suspend or resume charging during an EEA Level 3. Specifically, during EEA Level 3, ERCOT will: - Communicate any suspend charging instructions to ESRs via Security-Constrained Economic Dispatch (SCED) Base Point or manual Dispatch Instruction, if necessary; and - Communicate any resume charging instructions to ESRs via SCED Base Point based on the Real-Time Market (RTM) Energy Bids submitted by ESRs. During EEA Level 3, an ESR is required to suspend charging unless it is providing Primary Frequency Response or responding to a Load Frequency Control (LFC) Regulation Down Service (Reg-Down) instruction or has received a charging instruction via SCED Base Point. If ERCOT determines that operating conditions are suitable for an ESR to charge during an EEA Level 3, then it is acceptable for ESRs that have received a non-zero charging Base Point instruction to carry other Ancillary Services such as Regulation Up Service (Reg-Up), Responsive Reserve (RRS) service and Non-Spinning Reserve (Non-Spin) while the ESR is charging. ERCOT is planning to implement the system changes associated with this NPRR in 2022 with the implementation of the system changes for NPRR1002. |  |
| PRS Decision |  | On 8/11/22, PRS voted unanimously to table NPRR1143 and refer the issue to ROS and WMS. All Market Segments participated in the vote. On 4/13/23, PRS voted to recommend approval of NPRR1143 as amended by the 9/29/22 ERCOT comments. There was one opposing vote from the Cooperative (STEC) Market Segment, and eight abstentions from the Consumer (Occidental), Cooperative (GSEC), Independent Generator (2) (Luminant, Calpine), Independent Power Marketer (IPM) (Tenaska), and Municipal (3) (CPS Energy, GEUS, Austin Energy) Market Segments. All Market Segments participated in the vote. On 5/10/23, PRS voted to endorse and forward to TAC the 4/13/23 PRS Report and the 7/27/22 Impact Analysis for NPRR1143. There were four abstentions from the Cooperative (2) (GSEC, STEC), Independent Generator (Luminant), and Municipal (Austin Energy) Market Segments. All Market Segments participated in the vote. |  |
| Summary of PRS Discussion |  | On 8/11/22, ERCOT Staff summarized NPRR1143. Participants expressed confusion regarding NPRR1143’s mechanics and concern toward NPRR1143’s potential reliability impacts and pricing aspects. Participants requested clarifying discussions be held at ROS and the Wholesale Market Working Group (WMWG). On 4/13/23, participants reviewed the 9/29/22 ERCOT and 2/10/23 ERCOT Steel Mills comments. Some participants expressed disapproval regarding the burden that NPRR1143 requires of battery developers and the potential for stakeholders to misunderstand the application of NPRR1143. ERCOT Staff committed to defending its actions under language proposed in NPRR1143, noting that, while counterintuitive, conditions may exist such that allowing certain batteries to charge during EEA would lead to quicker restoration of power to end-use Customers. On 5/10/23, participants reviewed the 7/27/22 Impact Analysis. |  |
| Opinions |  |  |  |
| Credit Review |  | ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1143 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |
| Independent Market Monitor Opinion |  | To be determined |  |
| ERCOT Opinion |  | To be determined |  |
| ERCOT Market Impact Statement |  | To be determined |  |
| Sponsor |  |  |  |
| Name |  | Nitika Mago |  |
| E-mail Address |  | Nitika.Mago@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-6601 |  |
| Cell Number |  | 512-689-1360 |  |
| Market Segment |  | Not Applicable |  |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jordan Troublefield |
| E-Mail Address | Jordan.Troublefield@ercot.com |
| Phone Number | 512-248-6521 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ROS 090122 | Requested PRS continue to table NPRR1143 for further review by the Operations Working Group (OWG) and the Performance, Disturbance, Compliance Working Group (PDCWG) |
| WMS 091422 | Requested PRS continue to table NPRR1143 for further review by the WMWG |
| ERCOT 092922 | Provided clarifying edits regarding how ERCOT shall issue instructions for an ESR to suspend charging and how SCED may be used if ERCOT determines that operating conditions are suitable for ESRs to charge during EEA Level 3 |
| ROS 120722 | Endorsed NPRR1143 as amended by the 9/29/22 ERCOT comments |
| ERCOT Steel Mills 021023 | Provided clarifying language to describe the operating conditions under which ERCOT operations may authorize ESR to charge their Resources during an EEA Level 3 event |

Market Rules Notes

Please note the baseline language in the following Section(s) has been updated to reflect the incorporation of the following NPRR(s) into the Protocols:

- NPRR1002, BESTF-5 Energy Storage Resource Single Model Registration and Charging Restrictions in Emergency Conditions (unboxed 10/14/22)

  - Section 6.5.9.4.2

- NPRR1127, Clarification of ERCOT Hotline Uses (incorporated 12/1/22)

  - Section 6.5.9.4.2

Please note that the following NPRR(s) also propose revisions to the following Section(s):

- NPRR1176, Update to EEA Trigger Levels

  - Section 6.5.9.4.2

Proposed Protocol Language Revision

6.5.9.4.2	EEA Levels

(1)	ERCOT will declare an EEA Level 1 when PRC falls below 2,300 MW and is not projected to be recovered above 2,300 MW within 30 minutes without the use of the following actions that are prescribed for EEA Level 1:

(a)	ERCOT shall take the following steps to maintain steady state system frequency near 60 Hz and maintain PRC above 1,750 MW:

(i)	Request available Generation Resources that can perform within the expected timeframe of the emergency to come On-Line by initiating manual HRUC or through Dispatch Instructions;

(ii)	Use available DC Tie import capacity that is not already being used;

(iii)	Issue a Dispatch Instruction for Resources to remain On-Line which, before start of emergency, were scheduled to come Off-Line; and

(iv)	Instruct QSEs to deploy undeployed ERS-10 and ERS-30.

[NPRR1010: Insert paragraph (v) below upon system implementation of the Real-Time Co-Optimization (RTC) project:] (v) At ERCOT’s discretion, manually deploy, through ICCP, available RRS and ECRS capacity from Generation Resources having a Resource Status of ONSC and awarded RRS or ECRS.

(b)	QSEs shall:

(i)	Ensure COPs and telemetered HSLs are updated and reflect all Resource delays and limitations;

[NPRR1010: Replace paragraph (i) above with the following upon system implementation of the Real-Time Co-Optimization (RTC) project:] (i) Ensure COPs and telemetered HSLs, Normal Ramp Rates, Emergency Ramp Rates, and Ancillary Service capabilities are updated and reflect all Resource delays and limitations;

(ii)	Suspend any ongoing ERCOT required Resource performance testing; and

(iii)	Ensure that each of its ESRs suspends charging until the EEA is recalled, except under the following circumstances:

(A)	The ESR has a current SCED Base Point Instruction, LFC Dispatch Instruction, or manual Dispatch Instruction to charge the ESR;

(B)	The ESR is actively providing Primary Frequency Response; or

(C)	The ESR is co-located behind a POI with onsite generation that is incapable of exporting additional power to the ERCOT System, in which case the ESR may continue to charge as long as maximum output to the ERCOT System is maintained.

[NPRR995: Replace paragraph (iii) above with the following upon system implementation:] (iii) Ensure that each of its ESRs and SOESSs suspends charging until the EEA is recalled, except under the following circumstances: (A) The ESR has a current SCED Base Point Instruction, LFC Dispatch Instruction, or manual Dispatch Instruction to charge the ESR; (B) The ESR or SOESS is actively providing Primary Frequency Response; or (C) The ESR or SOESS is co-located behind a POI with onsite generation that is incapable of exporting additional power to the ERCOT System, in which case the ESR may continue to charge as long as maximum output to the ERCOT System is maintained.

(2)	ERCOT may declare an EEA Level 2 when the clock-minute average system frequency falls below 59.91 Hz for 15 consecutive minutes.  ERCOT will declare an EEA Level 2 when PRC falls below 1,750 MW and is not projected to be recovered above 1,750 MW within 30 minutes without the use of the following actions that are prescribed for EEA Level 2:

(a)	In addition to the measures associated with EEA Level 1, ERCOT shall take the following steps to maintain steady state system frequency at a minimum of 59.91 Hz and maintain PRC above 1,430 MW:

(i)	Instruct TSPs and DSPs or their agents to reduce Customer Load by using existing, in-service distribution voltage reduction measures that have not already been implemented.  A TSP, DSP, or their agent shall implement these instructions if distribution voltage reduction measures are available and already installed.  If the TSP, DSP, or their agent determines in their sole discretion that the distribution voltage reduction would adversely affect reliability, the voltage reduction measure may be reduced, modified, or otherwise changed from maximum performance to a level of exercise that has no negative impact to reliability.

(ii)	Instruct TSPs and DSPs to implement any available Load management plans to reduce Customer Load.

(iii)	Instruct QSEs to deploy RRS supplied from Load Resources (controlled by high-set under-frequency relays).  ERCOT shall issue such Dispatch Instructions in accordance with the deployment methodologies described in paragraph (iv) below.

[NPRR863: Replace item (iii) above with the following upon system implementation:] (iii) Instruct QSEs to deploy ECRS or RRS (controlled by high-set under- frequency relays) supplied from Load Resources. ERCOT may deploy ECRS or RRS simultaneously or separately, and in any order. ERCOT shall issue such Dispatch Instructions in accordance with the deployment methodologies described in paragraph (iv) below.

(iv)	ERCOT shall deploy RRS capacity supplied by Load Resources (controlled by high-set under-frequency relays) in accordance with the following:

[NPRR863: Replace paragraph (iv) above with the following upon system implementation:] (iv) Load Resources providing ECRS that are not controlled by high-set under-frequency relays shall be deployed prior to Group 1 deployment. ERCOT shall deploy ECRS and RRS capacity supplied by Load Resources (controlled by high-set under-frequency relays) in accordance with the following:

(A)	Instruct QSEs to deploy RRS that is supplied from Load Resources (controlled by high-set under-frequency relays) by instructing the QSE representing the specific Load Resource to interrupt based on their group designation from the Day-Ahead.  QSEs shall deploy Load Resources according to the group designation and will be given some discretion to deploy additional Load Resources from any of the groups not designated for deployment if Load Resource operational considerations require such.  ERCOT shall issue notification of the deployment via XML message.  ERCOT shall follow this XML notification with a QSE Hotline VDI, which shall initiate the ten-minute deployment period;

[NPRR863: Replace paragraph (A) above with the following upon system implementation:] (A) Instruct QSEs to deploy RRS with a Group 1 designation and all of the ECRS that is supplied from Load Resources (controlled by high-set under-frequency relays) by instructing the QSE representing the specific Load Resources to interrupt Group 1 Load Resources providing ECRS and RRS. QSEs shall deploy Load Resources according to the group designation and will be given some discretion to deploy additional Load Resources from any of the groups not designated for deployment if Load Resource operational considerations require such. ERCOT shall issue notification of the deployment via XML message. ERCOT shall follow this XML notification with a QSE Hotline VDI, which shall initiate the ten-minute deployment period;

(B)	At the discretion of the ERCOT Operator, instruct QSEs to deploy RRS that is supplied from Load Resources (controlled by high-set under-frequency relays) by instructing the QSE representing the specific Load Resource to interrupt additional Load Resources providing RRS based on their group designation.  ERCOT shall issue notification of the deployment via XML message.  ERCOT shall follow this XML notification with a QSE Hotline VDI, which shall initiate the ten-minute deployment period;

(C)	The ERCOT Operator may deploy all groups of Load Resources  
providing RRS at the same time.  ERCOT shall issue notification of the deployment via XML message.  ERCOT shall follow this XML notification with a QSE Hotline VDI, which shall initiate the ten-minute deployment period; and

[NPRR863: Replace paragraph (C) above with the following upon system implementation:] (C) The ERCOT Operator may deploy Load Resources providing only ECRS (not controlled by high-set under-frequency relays) and all groups of Load Resources providing RRS and ECRS at the same time. ERCOT shall issue notification of the deployment via XML message. ERCOT shall follow this XML notification with a QSE Hotline VDI, which shall initiate the ten-minute deployment period; and

(D)	ERCOT shall post a list of Load Resources on the MIS Certified  Area immediately following the DRUC for each QSE with a Load Resource obligation which may be deployed to interrupt under paragraph (A) and paragraph (B).  ERCOT shall develop a process for determining which individual Load Resource to place in each group based on a random sampling of individual Load Resources.  At ERCOT’s discretion, ERCOT may deploy all Load Resources at any given time during EEA Level 2.

[NPRR1010: Replace paragraph (D) above with the following upon system implementation of the Real-Time Co-Optimization (RTC) project:] (D) ERCOT shall post a list of Load Resources on the MIS Certified Area immediately following the DRUC for each QSE with a Load Resource RRS or ECRS award, which may be deployed to interrupt under paragraph (A) and paragraph (B). ERCOT shall develop a process for determining which individual Load Resource to place in each group based on a random sampling of individual Load Resources. At ERCOT’s discretion, ERCOT may deploy all Load Resources at any given time during EEA Level 2.

(v)	Unless a media appeal is already in effect, ERCOT shall issue an appeal through the public news media for voluntary energy conservation; and

(vi)	With the approval of the affected non-ERCOT Control Area, TSPs, DSPs, or their agents may implement transmission voltage level BLTs, which transfer Load from the ERCOT Control Area to non-ERCOT Control Areas in accordance with BLTs as defined in the Operating Guides.

(b)	Confidentiality requirements regarding transmission operations and system capacity information will be lifted, as needed to restore reliability.

(3)	ERCOT may declare an EEA Level 3 when the clock-minute average system frequency falls below 59.91 Hz for 20 consecutive minutes.  ERCOT will declare an EEA Level 3 when PRC cannot be maintained above 1,430 MW or when the clock-minute average system frequency falls below 59.91 Hz for 25 consecutive minutes.  Upon declaration of an EEA Level 3, ERCOT will implement any measures associated with EEA Levels 1 and 2 that have not already been implemented.

(a)	ERCOT shall instruct ESRs to suspend charging via a SCED Base Point instruction, or, if otherwise necessary, via a manual Dispatch Instruction.  An ESR shall suspend charging unless providing Primary Frequency Response or LFC issues a charging instruction to ESRs that are carrying Reg-Down.  However, an ESR co-located behind a POI with onsite generation that is incapable of exporting additional power to the ERCOT System may continue to charge as long as maximum output to the ERCOT System is maintained.

[NPRR995: Replace paragraph (a) above with the following upon system implementation:] (a) ERCOT may instruct ESRs to suspend charging. For ESRs, ERCOT shall issue the suspension instruction via a SCED Base Point, or, if otherwise necessary, via a manual Dispatch Instruction. An ESR shall suspend charging unless it is providing Primary Frequency Response, has received a charging instruction via SCED Base Point, or is carrying Reg-Down and has received a charging instruction from LFC. An SOESS shall suspend charging unless it is providing Primary Frequency Response. However, an ESR or SOESS co-located behind a POI with onsite generation that is incapable of exporting additional power to the ERCOT System may continue to charge as long as maximum output to the ERCOT System is maintained.

(b)	When PRC falls below 1,000 MW and is not projected to be recovered above 1,000 MW within 30 minutes, or when the clock-minute average frequency falls below 59.91 Hz for 25 consecutive minutes, ERCOT shall direct all TOs to shed firm Load, in 100 MW blocks, distributed as documented in the Operating Guides in order to maintain a steady state system frequency at a minimum of 59.91 Hz and to recover 1,000 MW of PRC within 30 minutes.

(c)	TOs and TDSPs may shed Load connected to under-frequency relays pursuant to an ERCOT Load shed directive issued during EEA Level 3 so long as each affected TO continues to comply with its Under-Frequency Load Shed (UFLS) obligation as described in Nodal Operating Guide Section 2.6.1, Automatic Firm Load Shedding, and its Load shed obligation as described in Nodal Operating Guide Section 4.5.3.4, Load Shed Obligation.