## Contents
Equipment | Tab Name | Screen Title | Major Contents of Tab
Substation
| substation_details | Substation Details | Name, DUNS, Address, Location, In-Service, PUN
| substation_parameters | Parameters | Voltage Level, Grounding Resistance, Voltage Limits
| substation_load | Load Split | TDSP, ERCOT Read Meter, Load Split, ESIIID
Resource
| res_details_WT | Resource Details | NERC Number, PUC Registration Number
| res_dates_WT | Dates | Model Ready Date, Commercial Operations Date
| res_irr_WT | Intermittent Renewable Resources | IRR Grouping
| res_rec_WT | Renewable Energy Credit | Renewable Energy Credit certification and offset
| res_pun_WT | Private Use Network | Data needed for PUNs, not needed if not a PUN
| res_met_WT | Meteorological Tower and Instrumentation Information (Wind only) | Met Tower Lat/Long, Height, and Farm center Lat/Long
| res_limits_WT | Limits | HRL/LRL, Ramp rates, Seasonal Ratings
| res_reactive_WT | Reactive Capability | Reactive Curve MW1 to MW4/MW5
| res_params_WT | Operational Parameters | Start Time, On-Line Time, Off-Line Time, #Starts, Weekly Energy
| res_rates_WT | Ramp Rate Curve | Normal and Emergency up/down Ramp rates
| res_subsyncs_CG | Subsynchronous Resonance | Subsynchronous data for conventional generation based on Mass and Damping
| res_aux_WT | Auxiliary Load (Aux) | Generator Auxiliary load
Breakers
| breaker_details | Breaker Switch | Breaker status, ratings and connectivity
Lines
| lines_parameters | Line Parameters | Line R, X, B positive and zero sequence, type, length, DC R
| lines_details | Line To and From | Line TSP, connectivity, weather zone
| lines_temperature | Line Temperature | Line Normal, Emergency, Conductor, and Relay Loadability ratings
Series Device
| series_details | Series Device | Series Device R, X, Ratings and Connectivity
Units
| unit_details_WT | Unit Details (different for each technology) | Is it DC Coupled, Self Limiting, POIB bus number and voltage
| unit_turbine_WT | Wind Turbine (Wind only) | Manufacturer, Model rating, #turbines, GSU rating, pos and zero seq
| unit_planning_WT | Planning Details | Unsaturated, Saturated impedances, Grounding, Fault Current magnitude
| unit_ratings_WT | Ratings and Design | Nameplate, Real and Reactive Power, Gov, Droop, Connectivity
| unit_inverter_PV | Inverter (Solar only) | Inverter kV, MW rating, Inverters per Skid/Array manufacterer, model and impedance
| unit_panel_PV | Solar Panel (Solar only) | Manufacturer, Model rating, Panel area, tracking type, Plane, Efficiency, and Temp
| unit_connectivity_PV | PVGR Connectivity (Solar only) | Skid/Array name and number, Panel Name and Number
| unit_trains_CC | Trains (CC only) | Create train name, resource category, fuel transport, power augmentation
| unit_Configurations_CC | Configurations (CC only) | For each train, define configurations of units in train on, off, or alternate
| unit_transitions_CC | Transitions (CC only) | Define transition from one configuration to another configuration
Load
| load_details | Load Details | Load average Real and Reactive load, Connectivity
Main Power Transformer
| mpt_details | MPT Details | High/Low side connection, regulation, and connectivity
| mpt_settings | MPT Tap Settings | Tap settings nominal, Normal, Low, and High tap position
| mpt_parameters | MPT Parameters | MPT positive and zero seq impedances, ratings, relay loadability
| mpt_gic | MPT Geomagnetically Induced Current | Winding DC Resistance, vector group, xf core design, Grounding DC resistance
Shunts
| shunt_details | Shunt Device | Shunt cap/reactor Nominal MVAr, Reg Voltage, Connectivity, DC and Grounding resistance
Static Var Compensator
| svc_details | Static Var Compensator Details | SVC Name, Mvar size, admittance limits, voltage threshold, reactive limits, connectivity

## substation_details
BABYGIRL
Substation |  | Back to Contents
Name | BABYGIRL
Code | BABYGIRL
DUNS
Substation Address
Street Address
City
State
County
ZIP
Substation Location
Latitude | 30.5
Longitude | -97.5
Additional Information
In-Service | 03-23-2025
Stop Service
Is your substation a PUN - Private Use Network? | No
Is your substation owned by a NOIE?
Is your generator behind a NOIE Settlement Meter Point?
How many Primary EPS meters do you have?
Private Unit Network
Private Load
Reactive Load
Net Interchange
Net Reactive Interchange
Gross Unit Capability
Gross Unit Reactive Capability

## substation_parameters
BABYGIRL Voltage Level - 345
Substation Long Name | BABYGIRL | Back to Contents
Substation Parameters
Voltage Level | 345
Grounding Resistance | 1
Voltage Limits
Normal
Max p.u. | 1.05
Min p.u. | 0.95
Emergency
Max p.u. | 1.1
Min p.u. | 0.9

## substation_load
BABYGIRL
Who is the TDSP providing service to your substation? | RAYBURN COUNTRY CO OP DBA RAYBURN ELECTRIC (TDSP) | Back to Contents
Does your substation have an ERCOT read meter? | No
Does your substation have a load split? | No
ESI ID
Fixed Load Spliting

## res_details_WT
WGT1
NERC Number
PUC Registration Number |  | Back to Contents

## res_dates_WT
WGT1
Model Ready Date | 03-23-2025 | Back to Contents
Commercial Operations | 08-23-2025
Retirement Date

## res_irr_WT
Wind-powered Generation Group Name
Ungrouped Resources | Back to Contents
WGT1

## res_rec_WT
WGT1
Is your Resource a certified renewable energy credit generator?
Does your generator cover approved offsets generation, what kind? |  | Back to Contents

## res_pun_WT
WGT1
For your private network, what is the average amount of self-service?
Private Load |  | Back to Contents
Reactive Load
For your private network, what is the expected typical?
Net Interchange
Net Reactive Interchange
For your private network, what is the gross?
Gross Unit Capability
Gross Unit Reactive Capability
If the unit trips, does the load trip? | No
If yes, then what is the approximate percentage of the load that will trip?

## res_met_WT
WGT1
What is the average height above the ground of the turbine hub? |  | Back to Contents
Meteorological Tower
Latitude
Longitude
Height of Meteorological Instrumentation
Wind Speed
Wind Direction
Barometric Pressure
Temperature
Center of the Farm
Latitude
Longitude

## res_limits_WT
WGT1
REASONABILITY LIMITS |  | Back to Contents
Limits
HRL | 140
LRL | 0
Self-Limiting Facility
HRL
LRL
Reasonability Ramp Rate
HRRRL
LRRRL
SEASONAL RATINGS
Spring Net
Emergency
Max
Min
Sustainable
Max
Min
Summer Net
Emergency
Max
Min
Sustainable
Max
Min
Fall Net
Emergency
Max
Min
Sustainable
Max
Min
Winter Net
Emergency
Max
Min
Sustainable
Max
Min

## res_reactive_WT
WGT1
Is your reactive capability data from your NDCRC test data? | No | Back to Contents
If yes then, what date was the NDCRC test performed?
Did you submit a manufacture capability curve? | Yes
MW1
Output | 0
Lagging+ | 10
Leading- | -10
MW2
Output | 50
Lagging+ | 50
Leading- | -50
MW3
Output | 120
Lagging+ | 50
Leading- | -50
MW4
Output | 140
Lagging+ | 50
Leading- | -50
MW5
Output
Max Operating Capability
Lagging+ | 50
Leading- | -50
Output
MW5
MW
Max Operating Capability
Lagging+ | 50
Leading- | -50

## res_params_WT
WGT1
Start Time |  | Back to Contents
Hot
Intermediate
Cold
Intermediate
Hot-to-INT
INT-to-Cold
On Line Time
Maximum
Minimum
Off Line Time
Minimum
Starts
Max Daily
Max Weekly
Energy
Max Weekly

## res_rates_WT
WGT1
Normal - MW1 |  | Back to Contents
MW1 | 10
Up | 20
Down | 30
Emergency - MW1
MW1 | 20
Up | 20
Down | 30

## res_subsyncs_CG
BESS1 - Mass 1
Name
Mass Name | 1
Mass Inertia | 2
Inertia Units | 3
Associated Damping | 4
Damping Units | 5
Stiffness between Masses Previous and Current Mass | 6
Stiffness Units | 7
Mass Number | 1

## res_aux_WT
WGT1
Generator Auxiliary Load |  | Back to Contents
Average Amount of Real Power | 4
Average Amount of Reactive Power | 2
Load Power Factor

## breaker_details
| GEN | SDCB | XFH | XFLS
Breaker / Switch |  |  |  |  | Back to Contents
Name | GEN | SDCB | XFH | XFLS
At what substation is this equipment located?
Is this a fault isolating device? | Yes | Yes | Yes | Yes
What is the normal operating status when in-service? | CLOSED | CLOSED | CLOSED | CLOSED
Voltage Level in KV | 34.5 | 34.5 | 345 | 34.5
Static Ratings
Normal Rating | 160 | 160 | 160 | 160
2-hr Emergency Rating | 160 | 160 | 160 | 160
15-min Emergency Rating | 160 | 160 | 160 | 160
Connectivity
Node 1 | MVB | MVB | AEP | XFL
Node 2 | GEN | CBSD | XFH | MVB

## lines_parameters
FAKEONE
Name | FAKEONE | Back to Contents
Voltage Level | 345
+ Line
Resistance | 1
Reactance | 1
Charging Susceptance | 1
0 Zero Sequence Line
Resistance
Reactance
Charging Susceptance
Type
Segment Length
DC Resistance

## lines_details
FAKEONE
Substation Line Details |  | Back to Contents
TSP Name
Internal Line
Connectivity
To Substation Code
Node 2
Weather Zone / Station
From Substation Code
Node 1
Weather Zone / Station

## lines_temperature
FAKEONE
What is your line rating? | Static | Back to Contents
Normal Rating
2-hr Emergency Rating
15-min Rating
Conductor 2-hr Rating
Is this equipment protected by load-responsive relaying?
Relay Loadability Rating

## series_details
SD1
Series Device Name | SD1 | Back to Contents
At what substation is this equipment located?
Voltage Level in KV | 34.5
Resistance | 0.09
Reactance | 0.9
Ratings
Normal Rating | 160
2-hr Emergency Rating | 160
15-min Emergency Rating | 160
Is this equipment protected by load-responsive relaying? | Yes
Relay Loadability Rating | 166
Connectivity
Node 1 | CBSD
Node 2 | SDLD
DC Resistance | 1

## unit_details_WT
| WGT1 | Wind Turbine and Solar
Unit Name | WGT1 |  | Back to Contents
Is there a single point of failure for the entire combined-cycle train?
ESR Dispatch Asset code (named with ERCOT)
Transmission Station Load Name (in the ERCOT Network Operations Model)
Is your resource a Qualifying Facility? | Yes
Is your resource a Switchable Generation Resource? | No
Is your ESR a wholesale delivery point?
Is your resource a DC-Coupled resource? | No
DC-Coupled Maximum Injection
DC-Coupled Maximum Withdrawal
Physical Unit Type
Resource Category
Fuel Information
Primary Fuel Type
Secondary Fuel Type
Fuel Transportation Type
Aggregated Generation Resource
Is this an Aggregated Generation Resource (AGR)?
Manufacturer Model
MW rating for this Aggregated Generation
Number of this type of Aggregated Generation
Self-Limiting
Is your resource part of a Self-Limiting facility? | Yes
Total MW Injection Limit | 100
Project and POI BUS
PTI Bus Number
Voltage | 345
INR | 25INR0483
Project Initiation Date | 03-23-2023
Power Augmentation
Is the train augmented with duct burners?
Is the train augmented with evaporation coolers?
Is the train augmented with chillers?
Are there any other train augmentations?
Conventional/Battery
Combined Cycle

## unit_turbine_WT
WGT1
Turbine |  | Back to Contents
Manufacturer | KMART
Model | MODELZ
MW Rating for this Model of turbine? | 3
Number of turbines per manufacture model | 70
Turbine Type
Step-up Transformer
Base MVA
Continuous Rating MVA
Voltage Level (nominal)
High side in kV
Low side in kV
Voltage Connection
High side in kV
Low side in kV
Parameters
Impedance Z in p.u.
X/R Ratio
Zero Sequence Z in p.u.
Zero Sequence X/R Ratio

## unit_panel_PV
- null
Solar Panel |  | Back to Contents
Name | IS1
Manufacturer
Model
kW Rating for this Model
Panel Area
Tracking Type
Plane of Array - Azimuth
Plane of Array - Tilt
Panel Efficiency
Temperature
Coefficient of Power
Nominal Operating Cell

## unit_connectivity_PV
IS1 - 1059
Substation - Unit | G1 | Back to Contents
Name Skid/Array
Number of
Skid/Arrays per Skid/Array | 2
Panels per panel Configuration | 3

## unit_inverter_PV
IS1
Skid/Array |  | Back to Contents
Name | IS1
Base kV for Transformer
MW Rating for this Model of Inverter | 2
Inverters per Skid/Array
Inverter
Manufacturer
Model
Voltage Level (nominal)
High Side
Low Side
Voltage Connection
High Side
Low Side
Parameters
Impedance Z
X/R Ratio
Zero Sequence Z
Zero Sequence X/R Ratio

## unit_trains_CC
Back to Contents

## unit_Configurations_CC
Combined Cycle Configuration | Generator Name | Type
SNGSFTCC_CC1_1 | G1 | X | Back to Contents
SNGSFTCC_CC1_1 | G2 | A
SNGSFTCC_CC1_2 | G1 | X
SNGSFTCC_CC1_2 | G2 | X

## unit_transitions_CC
Combined Cycle Train | Combined Cycle Configuration From | Combined Cycle Configuration To
CC1 | SNGSFTCC_CC1_1 | SNGSFTCC_CC1_2 | Back to Contents
CC1 | SNGSFTCC_CC1_2 | SNGSFTCC_CC1_1

## unit_planning_WT
| WGT1 | Wind Turbines and Solar
Generator Base |  |  | Back to Contents
MVA Base | 2
kV Base | 0.7
Unsaturated Impedances
Reactances
Subtransient
Transient
Positive Sequence Impedance (Synchronous)
Negative Sequence Impedance
Zero Sequence Impedance
Saturated Impedances
Reactances
Subtransient
Transient
Positive Sequence Impedance (Synchronous)
Negative Sequence Impedance
Zero Sequence Impedance
Grounding
Resistance
Reactance
Controlled Fault Current Magnitude
Instantaneous
2 to 3 cycles
At 4 plus cycles

## unit_ratings_WT
WGT1
Ratings & Generating kV |  | Back to Contents
Name Plate Rating | 148
Real Power Rating | 140
Reactive Power Rating | 50
Unit Generating Voltage | 34.5
Connectivity
Node 1 | GEN
Governor
Droop Setting
Dead Band
Ambient Temperature
Design Maximum
Design Minimum
Operating Temperature
Maximum
Minimum
High Wind Speed
Cutout
Cutout Time
Cutout Reset
Cutout Reset Time

## load_details
| LOAD1 | LOAD2
Load Name | LOAD1 | LOAD2 | Back to Contents
At what substation this equipment located?
Voltage Level | 34.5 | 34.5
Under Normal Operations
Average Real Load | 5 | 6
Average Reactive Load | 2 | 2
Connectivity
Node 1 | MVB | SDLD

## mpt_details
X1
Transformer Name | X1 | Back to Contents
Is this transformer the Main Power Transformer? | Yes
At what substation is this equipment located?
High Side Voltage Information
Voltage Level | 345
Voltage Connection | Wye - Grounded
Connectivity
Node High Side | XFH
Manufactured Nominal Voltage | 345
Low Side Voltage Information
Voltage Level | 34.5
Voltage Connection | Delta
Connectivity
Node Low Side | XFL
Manufactured Nominal Voltage | 34.5
Voltage Regulation
Is there on-load voltage regulation? | Yes
Does the transformer have an on-load tap changer? | Yes
Is the location of the on-load tap changer Primary or Secondary? | Primary - High
Regulated Side
Base | 345
Target | 348
Acceptable deviation of Target Voltage | 0.02

## mpt_settings
X1
Transformer Name | X1 | Back to Contents
Tap Settings
Primary or Secondary | Primary - High
Tap Position
At Manufactured Nominal Voltage | 17
Total Number of Tap Positions | 33
Normal
Tap Position | 17
Lowest
Tap Position | 1
Voltage at Lowest | 335
Highest
Tap Position | 33
Voltage at Highest | 355
Size of each Voltage level step | 0.625

## mpt_parameters
X1
Is your generator a step up transformer? | No | Back to Contents
Zero Sequence - Data Winding
Connection Code | Three Winding only
+ Positive Sequence
Resistance | 0.01
Reactance | 0.1
0 Zero Sequence Grounding
Resistance | 0.008
Reactance | 0.08
0 Zero Sequence
Resistance | 0.01
Reactance | 0.1
Normal Rating | 150
2-hr Emergency Rating | 150
15-Min Rating | 150
Is this equipment protected by load-responsive relaying? | Yes
Relay Loadability Limit | 166

## mpt_gic
X1
DC Resistance of |  | Back to Contents
Winding 1
Winding 2
Is the GIC a blocking device on Winding 1?
On Winding 2?
Select your vector group based on the type of winding
Transformer core design type
K Factor
Grounding DC Resistance of
Winding 1
Winding 2
Transformer Model

## shunt_details
S1
Shunt Device Name | S1 | Back to Contents
At what substation this equipment located?
Is this a capacitor or a reactor? | Capacitor
Nominal | 17
Voltage Level | 34.5
Automatic Voltage Regulation
Does this device have automatic voltage regulation? | Yes
Voltage level of the busbar being regulated | 34.5
Regulating Voltage
Desired | 34.5
Minimum | 34
Maximum | 35
Connectivity
Node 1 | MVB
Resistance
Coil DC | 1
Grounding DC | 1

## svc_details
SVC1
Static Var Compensator Name | SVC1 | Back to Contents
At what substation is this equipment located?
Voltage Level kV | 34.5
Fixed MVAR | 20
Admittance Limits
Minimum p.u. | 0.1
Maximum p.u. | 0.2
Voltage Threshold
Minimum kV | 34
Maximum kV | 35
Reactive Limits
Maximum Threshold Post Contingency Reactive kV | 20
Maximum Steady State Reactive MVAR | 20
Minimum Steady State Reactive MVAR | 0
Minimum Threshold Post Contingency Reactive kV | 0
Connectivity
Node 1 | SVCN