## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for April 2023

## Slide 2: Non-IRR GREDP < 85% – April 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 153 | 21 | 39 | 1.18 | 53.85
Unit 246 | 86 | 110 | 0.81 | 78.18
Unit 270 | 223 | 273 | 4.30 | 81.68

## Slide 3: IRR Summary – April 2023
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 84.13 | 74.02 | 82.11
GREDP Median (%) | 92.52 | 83.27 | 88.73
Average MW Error | 5.69 | 6.01 | 6.42
Median MW Error | 5.21 | 5.70 | 5.99
Total Intervals Scored | 114,205 | 52,679 | 50,525
100+ Intervals Scored | 131 | 184 | 73
Total Intervals Scored Average | 358.01 | 360.82 | 692.12

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 3,105 | 3,136 | 4.18 | 99.01
Unit 2 | 2,496 | 2,585 | 5.92 | 96.56
Unit 3 | 2,497 | 2,537 | 3.29 | 98.42
Unit 4 | 2,280 | 2,287 | 5.87 | 99.69
Unit 5 | 2,170 | 2,175 | 3.28 | 99.77
Unit 6 | 2,136 | 2,162 | 4.02 | 98.80
Unit 7 | 2,053 | 2,097 | 3.90 | 97.90
Unit 8 | 1,906 | 1,922 | 10.50 | 99.17
Unit 9 | 1,815 | 1,906 | 2.06 | 95.23
Unit 10 | 1,880 | 1,882 | 5.19 | 99.89
Unit 13 | 1,771 | 1,797 | 4.80 | 98.55
Unit 14 | 1,718 | 1,788 | 5.87 | 96.09
Unit 15 | 1,704 | 1,781 | 6.15 | 95.68
Unit 20 | 1,561 | 1,633 | 5.92 | 95.59
Unit 22 | 1,514 | 1,589 | 7.52 | 95.28
Unit 23 | 1,559 | 1,568 | 1.36 | 99.43
Unit 26 | 1,505 | 1,543 | 4.04 | 97.54
Unit 27 | 1,480 | 1,526 | 4.36 | 96.99
Unit 30 | 1,410 | 1,461 | 3.48 | 96.51
Unit 31 | 1,387 | 1,425 | 4.23 | 97.33

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 34 | 1,307 | 1,322 | 3.70 | 98.87
Unit 35 | 1,275 | 1,297 | 6.56 | 98.30
Unit 38 | 1,158 | 1,168 | 3.10 | 99.14
Unit 41 | 1,033 | 1,034 | 4.91 | 99.90
Unit 44 | 963 | 1,004 | 4.75 | 95.92
Unit 46 | 925 | 968 | 5.44 | 95.56
Unit 47 | 928 | 959 | 6.32 | 96.77
Unit 48 | 932 | 955 | 2.10 | 97.59
Unit 53 | 828 | 856 | 9.00 | 96.73
Unit 54 | 807 | 810 | 6.29 | 99.63
Unit 55 | 758 | 792 | 4.34 | 95.71
Unit 56 | 753 | 771 | 9.54 | 97.67
Unit 59 | 712 | 713 | 6.22 | 99.86
Unit 62 | 700 | 702 | 7.06 | 99.72
Unit 70 | 630 | 654 | 10.61 | 96.33
Unit 71 | 633 | 653 | 3.56 | 96.94
Unit 75 | 591 | 616 | 11.68 | 95.94
Unit 76 | 583 | 607 | 2.25 | 96.05
Unit 78 | 580 | 583 | 4.74 | 99.49
Unit 79 | 556 | 581 | 2.70 | 95.70

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 81 | 542 | 548 | 3.97 | 98.91
Unit 84 | 485 | 495 | 11.71 | 97.98
Unit 85 | 473 | 482 | 10.93 | 98.13
Unit 88 | 372 | 384 | 6.75 | 96.88
Unit 89 | 351 | 365 | 6.25 | 96.16
Unit 93 | 320 | 322 | 10.51 | 99.38
Unit 95 | 282 | 283 | 6.38 | 99.65
Unit 100 | 239 | 249 | 9.32 | 95.98
Unit 102 | 229 | 230 | 6.15 | 99.57
Unit 103 | 215 | 224 | 4.46 | 95.98
Unit 106 | 210 | 214 | 3.34 | 98.13
Unit 108 | 194 | 199 | 5.90 | 97.49
Unit 109 | 186 | 189 | 6.37 | 98.41
Unit 114 | 160 | 163 | 8.00 | 98.16
Unit 118 | 139 | 141 | 3.18 | 98.58
Unit 119 | 133 | 136 | 8.94 | 97.79
Unit 123 | 123 | 124 | 3.60 | 99.19
Unit 126 | 117 | 123 | 1.68 | 95.12

## Slide 7: IRR < 95%, ≥ 100 Scored Intervals – April 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 11 | 1,486 | 1,840 | 5.85 | 80.76
Unit 12 | 1,682 | 1,833 | 6.12 | 91.76
Unit 16 | 1,595 | 1,720 | 4.56 | 92.73
Unit 17 | 1,531 | 1,672 | 5.81 | 91.57
Unit 18 | 1,446 | 1,668 | 6.00 | 86.69
Unit 19 | 1,577 | 1,667 | 14.50 | 94.60
Unit 21 | 1,525 | 1,623 | 8.11 | 93.96
Unit 24 | 1,366 | 1,558 | 4.52 | 87.68
Unit 25 | 1,357 | 1,545 | 4.09 | 87.83
Unit 28 | 1,407 | 1,517 | 5.72 | 92.75
Unit 29 | 1,388 | 1,480 | 4.73 | 93.78
Unit 32 | 780 | 1,374 | 10.01 | 56.77
Unit 33 | 999 | 1,363 | 9.53 | 73.29
Unit 36 | 1,174 | 1,258 | 2.75 | 93.32
Unit 37 | 1,051 | 1,184 | 14.69 | 88.77
Unit 39 | 1,016 | 1,125 | 7.73 | 90.31
Unit 40 | 1,051 | 1,115 | 7.85 | 94.26
Unit 42 | 932 | 1,025 | 1.72 | 90.93
Unit 43 | 927 | 1,006 | 10.60 | 92.15
Unit 45 | 902 | 1,000 | 2.67 | 90.20

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – April 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 49 | 868 | 925 | 1.36 | 93.84
Unit 50 | 821 | 919 | 7.31 | 89.34
Unit 51 | 738 | 895 | 11.65 | 82.46
Unit 52 | 803 | 872 | 9.94 | 92.09
Unit 57 | 650 | 760 | 21.36 | 85.53
Unit 58 | 172 | 745 | 4.57 | 23.09
Unit 60 | 655 | 712 | 6.06 | 91.99
Unit 61 | 642 | 711 | 5.93 | 90.30
Unit 63 | 526 | 701 | 4.25 | 75.04
Unit 64 | 661 | 700 | 12.20 | 94.43
Unit 65 | 579 | 698 | 8.72 | 82.95
Unit 66 | 628 | 693 | 6.09 | 90.62
Unit 67 | 571 | 666 | 3.18 | 85.74
Unit 68 | 605 | 664 | 3.34 | 91.11
Unit 69 | 594 | 660 | 4.51 | 90.00
Unit 72 | 608 | 643 | 1.56 | 94.56
Unit 73 | 551 | 640 | 6.13 | 86.09
Unit 74 | 573 | 624 | 5.04 | 91.83
Unit 77 | 507 | 592 | 1.48 | 85.64
Unit 80 | 448 | 565 | 5.72 | 79.29

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – April 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 82 | 492 | 533 | 9.33 | 92.31
Unit 83 | 396 | 530 | 6.01 | 74.72
Unit 86 | 416 | 440 | 5.01 | 94.55
Unit 87 | 384 | 409 | 2.32 | 93.89
Unit 90 | 328 | 364 | 3.42 | 90.11
Unit 91 | 326 | 363 | 3.36 | 89.81
Unit 92 | 312 | 345 | 4.96 | 90.43
Unit 94 | 245 | 298 | 6.07 | 82.21
Unit 96 | 225 | 275 | 1.72 | 81.82
Unit 97 | 239 | 274 | 10.60 | 87.23
Unit 98 | 117 | 266 | 4.09 | 43.98
Unit 99 | 219 | 262 | 10.89 | 83.59
Unit 101 | 173 | 246 | 8.08 | 70.33
Unit 104 | 162 | 218 | 4.50 | 74.31
Unit 105 | 187 | 216 | 1.05 | 86.57
Unit 107 | 185 | 200 | 3.94 | 92.50
Unit 110 | 165 | 180 | 4.22 | 91.67
Unit 111 | 125 | 173 | 6.38 | 72.25
Unit 112 | 132 | 169 | 12.08 | 78.11
Unit 113 | 154 | 163 | 6.44 | 94.48

## Slide 10: IRR < 95%, ≥ 100 Scored Intervals – April 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 115 | 26 | 149 | 7.01 | 17.45
Unit 116 | 126 | 142 | 5.99 | 88.73
Unit 117 | 124 | 142 | 11.74 | 87.32
Unit 120 | 124 | 134 | 1.90 | 92.54
Unit 121 | 1 | 134 | 3.22 | 0.75
Unit 122 | 111 | 126 | 0.52 | 88.10
Unit 124 | 100 | 124 | 6.96 | 80.65
Unit 125 | 76 | 124 | 1.15 | 61.29
Unit 127 | 102 | 121 | 9.89 | 84.30
Unit 128 | 13 | 118 | 12.70 | 11.02
Unit 129 | 96 | 113 | 6.13 | 84.96
Unit 130 | 92 | 111 | 12.17 | 82.88
Unit 131 | 94 | 105 | 7.18 | 89.52