Draft

Minutes of the Reliability Operations Subcommittee (ROS) Meeting – Webex Only

Thursday, May 4, 2023 – 9:30 a.m.

| Attendance |  |  |  |
| --- | --- | --- | --- |
| Members: |  |  |  |
| Bailey, Robert | Reliant Energy Retail Services (Reliant) |  | Alt. Rep. for Kevin Matt |
| Bowen, Kenneth | CPS Energy |  |  |
| Boyd, Phillip | City of Lewisville |  |  |
| Cochran, Adam | Tenaska Power Services |  |  |
| Cochran, Seth | DC Energy |  |  |
| Ee, Danny | Austin Energy |  | Alt. Rep. for Reza Ebrahimian |
| Haley, Ian | Luminant Generation (Luminant) |  |  |
| Kremling, Barry | Guadalupe Valley Electric Cooperative (GVEC) |  |  |
| Koenig, Chris | Golden Spread Electric Cooperative (GSEC) |  | Alt. Rep. for Katie Rich |
| Kopp, Casey | Broad Reach Power (BRP) |  |  |
| Kunkel, Dennis | AEP Service Corporation (AEPSC) |  |  |
| Lee, Billy | Garland Power and Light (GP&L) |  |  |
| Lutrick, Chris | Denton Municipal Electric (DME) |  |  |
| Marr, Daniel | Lower Colorado River Authority (LCRA) |  |  |
| Nashawati, Eithar | Oncor Electric Delivery (Oncor) |  |  |
| Person, Paul | South Texas Electric Cooperative (STEC) |  |  |
| Pokharel, Nabaraj | Office of Public Utility Council (OPUC) |  |  |
| Reed, Cyrus | Sierra Club |  |  |
| Reid, Mike | Air Liquide |  |  |
| Roberts, Vincent | Texas-New Mexico Power (TNMP) |  | Alt. Rep. for Chris Gerety |
| Smith, Chase | Southern Power |  |  |
| Surendran, Resmi | Shell Energy North America (SENA) |  |  |
| Woitt, Wes | CenterPoint Energy (CNP) |  |  |

The following proxy was assigned:

- Jennifer Schmitt to Resmi Surendran

| - Guests: |  |  |
| --- | --- | --- |
| Abbott, Kristin | Austin Energy |  |
| Aguas, Diana | CNP |  |
| Ahn, Sirius | Oncor |  |
| Albaijat, Mohammad | Bridge Link Investments |  |
| Aldridge, Ryan | AB Power |  |
| Allen, Theresa | Avangrid Renewables |  |
| Anderson, Connor | AB Power Advisors |  |
| Apoorva, Bansal | NextEra Energy |  |
| Azari, David | Invenergy |  |
| Badhan, Devinder | DNV |  |
| Bailey, Robert | NRG Energy |  |
| Barr, Bill | LCRA |  |
| Batra-Shrader, Monica | Enchanted Rock |  |
| Beckman, Kara | Pattern Energy |  |
| Bernier, Leo | AES |  |
| Bertin, Suzanne |  |  |
| Blackburn, Don | Hunt Energy Network Power |  |
| Blakey, Eric | Pedernales Electric Cooperative |  |
| Block, Laurie | TPA |  |
| Bondurant, Chuck | PUCT |  |
| Borskey, Chrissy | GE |  |
| Bruce, Mark | Pattern Energy |  |
| Burke, Thomas | RWE |  |
| Calcagni, Anthony | DC Energy |  |
| Callender, Hudson | CPS Energy |  |
| Chmiel, Gary | GE |  |
| Chwialkowski, Todd | EDF |  |
| Cochran, Adam | Tenaska |  |
| Coleman, Diana | CPS Energy |  |
| Dahal, Samir | Siemens |  |
| Dernulc, Lawrence | Invenergy |  |
| Detelich, David | CPS Energy |  |
| Devarajan, Bhargavi | BETM |  |
| DeWitt, Charles | PEC |  |
| Donohoo, Ken | OwlERC, LLC |  |
| Dreyfus, Mark | MD Energy Consulting |  |
| Evans, Doug | AEPSC |  |
| Felhofer, Alexander | Oncor |  |
| Floyd, Rickey | Oncor |  |
| Gaire, Kishor |  |  |
| Garrett, Bob | Key Capture Energy |  |
| Gasparovich, Matt | Invenergy |  |
| Ghoshal, Orijit | esVolta |  |
| Godly, Kevin |  |  |
| Goff, Eric | Tesla |  |
| Grieve, Andrew | PGR |  |
| Griffith, Scott |  |  |
| Gross, Blake | AEPSC |  |
| Hale, Josh | Southern Power |  |
| Hall, Matthew | Invenergy |  |
| Hamer, Neal | Invenergy |  |
| Hasan, Prusha | Brookfield Renewables |  |
| Headrick, Bridget | CES |  |
| Henry, Mark | Texas Reliability Entity |  |
| Henson, Martha | Oncor |  |
| Hernandez, Rene | GVEC |  |
| Huynh, Thuy | Potomac Economics |  |
| Jewell, Michael | Jewell and Associates |  |
| Jowlabar, Nicholas | RWE Renewables |  |
| Kemper, Jason | EDFR |  |
| Khayat, Maribel | CNP |  |
| Killoran, Anthony | Oncor |  |
| King, Robert | Good Company Associates |  |
| Koberlein, Paul | LP&L |  |
| Korde, Kshitij | NG Renewables |  |
| Koz, Brian | Alpha Taraxia |  |
| Kroskey, Tony | Brazos |  |
| Lacek, Mollie | Talen Energy |  |
| Landa, Jorge | GE |  |
| Laughlin, Madeline Gould | Enel |  |
| Leahy, Patrick | Baker Botts |  |
| Leary, Dave |  |  |
| Lee, Jim | CNP |  |
| Lotter, Eric | GridMonitor |  |
| Luckey, Nicole | Invenergy |  |
| Macaraeg, Tad | Stem |  |
| Mareddy, Mahendhar | DNV |  |
| Martin, Collin | Oncor |  |
| Martinez, Javier | BPUB |  |
| Martino, Omar | Invenergy |  |
| Matevosyan, Julia | ESIG |  |
| Mattei, Andrew | BEPC |  |
| Maynez, Andres | Orsted |  |
| McClellan, Suzi | Good Company Associates |  |
| McGinnis, Blair | LP&L |  |
| McWyman, Constance |  |  |
| Miller, Alexandra | EDFR |  |
| Mickey, Joel | Broad Reach Power |  |
| Minchew, Christina | CTT |  |
| Morris, Sandy | WETT |  |
| Naik, Harsh | Oncor |  |
| Narang, Harmeet | GE |  |
| Nilchi, Maryam | Clear Way Energy |  |
| Nigro, Andrew | Invenergy |  |
| Noyes, Theresa | LCRA |  |
| Oberski, Nicholas | LCRA |  |
| Okenfuss, James | Savion |  |
| Owens, Frank | Rayburn |  |
| Palani, Ananth | GP&L |  |
| Palen, John | Grid Beyond |  |
| Pappu, Ajay | Invenergy |  |
| Parvathaneni, Sirisha | Oncor |  |
| Pawar, Aasawari | Orsted |  |
| Penney, David | Texas Reliability Entity |  |
| Preas, Dylan | LCRA |  |
| Pullela, Suma | Orsted |  |
| Pyka, Greg | Schneider Engineering |  |
| Ramaswamy, Ramya | PUCT |  |
| Ritch, John | NextEra Energy |  |
| Robertson, William | CPS Energy |  |
| Rothschild, Bryan | CNP |  |
| Sersen, Juliana | Baker Botts |  |
| Siddiqi, Shams | Crescent Power Consulting |  |
| Smith, Stephanie | Eolian Energy |  |
| Snellgrove, Jon | AEP |  |
| Snyder, Bill | AEP |  |
| Stanfill, Susan | PGR |  |
| Steckley, Paul | Brookfield Renewables |  |
| Tay, Sing | AES |  |
| Tassani, Peter | Oncor |  |
| Thompson, Marie | Southern Power |  |
| Thurnher, Greg | Tesla |  |
| Tran, Long | STEC |  |
| True, Roy | ACES Power |  |
| Turner, Lucas | STEC |  |
| Varnell, John | Tenaska |  |
| Velasquez, Ivan | Oncor |  |
| Venkit, Nath | GE |  |
| Viswanadham, Venkata | DNV |  |
| Walker, Floyd | PUCT |  |
| Walker, Zachary | Oncor |  |
| Wang, Shawn | Enel |  |
| Wichers, Joshua | AEP |  |
| Wittmeyer, Bob | Longhorn Power |  |
| Wolf, Craig | RES |  |
| Woods, Brad | Texas Reliability Entity |  |
| Wu, Tiffany | PUCT |  |
| Yu, Joel | Enchanted Rock |  |
| Zang, Hailing | TC Energy |  |
| Zhen, Shuying | GE |  |

| ERCOT Staff: |  |  |
| --- | --- | --- |
| Albracht, Brittney |  |  |
| Anderson, Troy |  |  |
| Arth, Matt |  |  |
| Azeredo, Chris |  |  |
| Billo, Jeff |  |  |
| Blevins, Bill |  |  |
| Boren, Ann |  |  |
| Chamber, Jason |  |  |
| Cheng, Yunzhi |  |  |
| Christy, Steve |  |  |
| Clifton, Suzy |  |  |
| Danielson, Christian |  |  |
| Daryabak, Mehdi |  |  |
| Devadhas Mohanadhas, Thinesh |  |  |
| Du, Pengwei |  |  |
| Fohn, Doug |  |  |
| Frosch, Colleen |  |  |
| Garcia, Freddy |  |  |
| Gnanam, Prabhu |  |  |
| Golen, Robert |  |  |
| Herrera, Shane |  |  |
| Huang, Fred |  |  |
| Kang, Sun Wook |  |  |
| Krein, Steve |  |  |
| Lee, Alex |  |  |
| Mago, Nitika |  |  |
| Meier, Eric |  |  |
| Phillips, Cory |  |  |
| Schmall, John |  |  |
| Shaw, Pamela |  |  |
| Skurka, Michael |  |  |
| Solis, Stephen |  |  |
| Stice, Clayton |  |  |
| Teixeira, Jay |  |  |
| Thuerwaechter, Kashia |  |  |
| Troublefield, Jordan |  |  |
| Wasik-Gutierrez, Erin |  |  |
| Yan, Ping |  |  |
| Zerwas, Rebecca |  |  |

Unless otherwise indicated, all Market Segments participated in the votes.

Chase Smith called the May 4, 2023 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Smith directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

- Mr. Smith reviewed the agenda.

- Approval of Meeting Minutes (see Key Documents)

- April 6, 2023

Mr. Smith noted that the March 2, 2023 ROS Meeting Minutes could be considered for inclusion in the Combined Ballot.

Technical Advisory Committee (TAC) Update

Mr. Smith reviewed the disposition of items considered at the April 10, 2023 Special TAC meeting.

- ERCOT Reports (See Key Documents)

- Operations Report

Alex Lee summarized the March 2023 Operations Report.

- System Planning Report

- Ping Yan summarized the March 2023 System Planning Report.

- Transient Security Assessment Tool (TSAT) Model Update

- Mehdi Daryabak summarized the status of the TSAT models submitted, reviewed the data requirements, presented the revised timeline, and responded to Market Participant questions and concerns.

- Generic Transmission Constraint (GTC) Update

- Yunzhi Cheng provided an update on the McCamey GTC.

Urgency Vote(s) (Waive Notice) (See Key Documents)

Nodal Operating Guide Revision Request (NOGRR) 253, Related to NPRR1178, Expectations for Resources Providing ERCOT Contingency Reserve Service

Mr. Smith moved to waive notice to consider NOGRR253.  Cyrus Reed seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

- Nitika Mago provided an overview of NOGRR253 and the justification for Urgent status.  Market Participants expressed support to grant Urgent status and reviewed the 5/3/23 Impact Analysis.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

New Protocol Revision Subcommittee (PRS) Referrals (see Key Documents)

Nodal Protocol Revision Request (NPRR) 1171, Requirements for DGRs and DESRs on Circuits Subject to Load Shedding

Clayton Stice summarized NPRR1171, the related Resource Registration Glossary Revision Request (RRGRR) 035, and NOGRR250, and reviewed the Revision Requests timeline.  Some Market Participants expressed concern for the potential bias for Aggregated Distributed Energy Resources (ADERs) with the concepts in NPRR1171, RRGRR035, and NOGRR250.  Other Market Participants expressed concern for Distribution Service Providers’ (DSPs’) ability to meet the requirements and for the notification process.  Jeff Billo highlighted the reliability concerns and noted that although the same principles in NPRR1171, RRGRR035, and NOGRR250 apply to ADERs, those issues should be considered in a separate Revision Request.  Market Participants requested further review of the issues by OWG.  Mr. Smith noted these items could be considered for inclusion in the Combined Ballot.

ROS Revision Requests (see Key Documents)

Language Review

RRGRR035, Related to NPRR1171, Requirements for DGRs and DESRs on Circuits Subject to Load Shedding

NOGRR250, Related to NPRR1171, Requirements for DGRs and DESRs on Circuits Subject to Load Shedding

- These items were considered with NPRR1171.

NOGRR251, Add Cold Weather Conditions to Template for Emergency Operations Plan

- Thinesh Devadhas Mohanadhas summarized NOGRR251. Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Planning Guide Revision Request (PGRR) 105, Deliverability Criteria for DC Tie Imports

- Shams Siddiqi summarized PGRR105.  Alexandra Miller summarized PGRR105 discussion at the March 22, 2023 Planning Working Group (PLWG) meeting.  Prabhu Gnanam commented that ERCOT is neutral on the issues and noted that the matter is a policy decision.  Market Participants requested additional time to review the issues.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

PGRR106, Clarify Projects Included in Transmission Project Information and Tracking (TPIT) Report

- Eric Meier summarized PGRR106.  Market Participants requested review of the issues by the Steady

- State Working Group (SSWG).  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Impact Analysis

NOGRR215, Limit Use of Remedial Action Schemes

- ROS took no action on this item.

PGRR103, Establish Time Limit for Generator Commissioning Following Approval to Synchronize

- Market Participants reviewed the 5/3/23 ERCOT comments to PGRR103.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

No action was taken on this item.

NOGRR230, WAN Participant Security

NPRR1150, Related to NOGRR230, WAN Participant Security

Jason Chambers reviewed the 4/20/23 ERCOT comments to NOGRR230 and NPRR1150.  Mr. Smith noted these items could be considered for inclusion in the Combined Ballot.

Operations Working Group (OWG) (see Key Documents)

Theresa Noyes reviewed OWG activities.

NPRR1070, Planning Criteria for GTC Exit Solutions

ROS took no action on this item.

NOGRR245, Inverter-Based Resource (IBR) Ride-Through Requirements

Ms. Noyes summarized NOGRR245 discussion at the April 20, 2023 OWG meeting and stated that OWG reached consensus to support a recommendation to ROS for NOGRR245 as amended by the 4/5/23  ERCOT comments.  Mohammed Albaijat summarized NOGRR245 discussions at the April 14, 2023 Inverter Based Resources Task Force (IBRTF) meeting, including presentations by ERCOT, two original equipment manufacturers (“OEMs”), and Andy Hoke, Institute of Electrical and Electronics Engineers (IEEE) P2800.2 Working Group Chair, on the IEEE Standard P2800.2, Recommended Practice for Test and Verification Procedures for Inverter-based Resources (IBRs) Interconnecting with Bulk Power Systems, and validation efforts.  Javier Martinez summarized NOGRR245 discussion at the April 19, 2023 Dynamics Working Group (DWG) meeting.  Laurie Block reviewed the 5/3/23 Advanced Power Alliance comments.  Tom Burke summarized the 4/26/23 RWE comments.  Kara Beckman summarized the 5/3/23 Pattern Energy comments.  Alexandra Miller summarized the 5/2/23 EDF comments.  Harmeet Narang reviewed the 5/3/23 GE Renewable Energy comments.  Mr. Smith summarized the 5/1/23 Southern Power comments.  Stephen Solis stated that ERCOT was reviewing the comments received and anticipates ERCOT will be filing additional comments, and offered to participate in further discussions at the May 12, 2023 IBRTF and May 18, 2023 OWG meetings.  ROS took no action on this item.

David Penney encouraged Market Participants to participate in a series of NERC webinars on Inverter Resources and provided the following link:  https://www.nerc.com/comm/RSTC/Documents/IBR_Webinar_Series_Fyler.pdf.

NOGRR247, Change UFLS Stages and Load Relief Amounts

NOGRR249, Communication of System Operating Limit Exceedances

ROS took no action on these items.

IBRTF (see Key Documents)

Mr. Albaijat reviewed IBRTF activities.

DWG (see Key Documents)

DWG Procedure Manual

- Mr. Martinez summarized DWG activities and presented the updated DWG Procedure Manual for ROS consideration.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents)

Mr. Smith noted the PDCWG Report was posted.

System Protection Working Group (SPWG) (see Key Documents)

Jon Snellgrove stated that NPRR1164, Black Start and Isochronous Control Capable Identification, and RRGRR033, Related to NPRR1164, Black Start and Isochronous Control Capable Identification will be taken up at the May 16, 2023 SPWG meeting.

Network Data Support Working Group (NDSWG)

NPRR1164

RRGRR033

ROS took no action on these items.

Combined Ballot

Dennis Kunkel moved to approve the Combined Ballot as follows:

- To approve the April 6, 2023 ROS Meeting Minutes as submitted

- To grant NOGRR253 Urgent status; to recommend approval of NOGRR253 as submitted; and to forward to TAC NOGRR253 and the 5/3/23 Impact Analysis

- To request PRS continue to table NPRR1171 for further review by OWG

- To table RRGRR035 and refer the issue to OWG

- To table NOGRR250 and refer the issue to OWG

- To recommend approval of NOGRR251 as submitted

- To table PGRR105

- To table PGRR106 and refer the issue to SSWG

- To table PGRR103

- To recommend approval of NOGRR230 as amended by the 4/20/23 ERCOT comments

- To endorse NPRR1150 as amended by the 4/20/23 ERCOT comments

- To approve the DWG Procedure Manual as submitted

Daniel Marr seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

SSWG

Joshua Wichers reviewed SSWG activities.

Other Business

April 6, 2023 Responsive Reserve Service (RRS)–Primary Frequency Response (PFR) Limits Study

Workshop Update

Ms. Mago summarized the discussion at the April 6, 2023 RRS-PRF Limits Study workshop, reviewed Next Steps, and encouraged Market Participants to review the materials posted on the workshop page at https://www.ercot.com/calendar/04062023-RRS_PFR-Limits-Study-Workshop and submit additional questions to ERCOT by May 15, 2023.

Review Open Action Items List

Market Participants reviewed the Open Action Items List.

No Report

- Black Start Working Group (BSWG)

- Operations Training Working Group (OTWG)

- PLWG

- Voltage Profile Working Group (VPWG)

Adjournment

Mr. Smith adjourned the May 4, 2023 ROS meeting at 12:56 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- https://www.ercot.com/calendar/05042023-ROS-Meeting-_-Webex