## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Theresa Noyes
HITE List Sub-Chair – Pushkar Chhajed
06/08/2023

## Slide 2: ERCOT Updates and System Operation Report
June 1 – Major Transmission Element (MTE) will be posted. ERCOT requests all Transmission Operators please review and provide comments.

## Slide 3: Texas Reliability Entity Report
May 15 - NERC issued a Level 3 Alert related to generator weatherization. Generation Committee will report to NERC on key actions from the alert.
May 23 - WebEx to discuss findings in the 2022 Assessment of Reliability Performance
May 30 - WebEx to discuss summer outlook
June 6 - NERC begins webinar series on Inverter-Based Resources

## Slide 4: NOGRR245 Inverter-Based Resource (IBR) Ride-Through Requirements
ERCOT summarized the need for NOGRR245 to enhance the clarity and specificity for frequency and voltage ride-through requirements.
ERCOT is developing an alternative framework and gathering feedback to incorporate IEEE2800 across the varied IBR fleet.
ERCOT to file comments summarizing discussions and feedback.
Remains tabled for development.

## Slide 5: NOGRR247 Change UFLS Stages and Load Relief Amounts
NOGRR247 updated implementation deadline is October 1, 2026, and includes 59.1 Hz to standard UFLS blocks.
OWG endorses and recommends approval.

## Slide 6: NOGRR249 Communication of System Operating Limit Exceedances
Remains tabled to address concerns of monitoring two systems.

## Slide 7: NPRR1171 Requirements for DGRs and DESRs on Circuits Subject to Load Shedding.
ERCOT summarized requirements and discussions.
NPRR1171 is a response to PUCT inquiry to consider expanding DGRs and DESRs to generators on load shed circuits. The NPRR would allow DGRs/DESRs to participate in limited Ancillary Services and energy.
Tabled for further discussion.

## Slide 8: NPRR1176/NOGRR252 Update to EEA Trigger Levels
PRS recommended approval in May.
ERCOT provided overview for OWG to outline changes in EEA triggers. Reserve level will increase to address changes in the Resource mix.
There were no concerns raised at OWG on the proposed changes

## Slide 9: OTWG Update
OTWG noted the Blackstart Training schedule. The training includes online preparation work and requires a registered account on ERCOT LMS.