## Slide 1
HB3390 Update
Unregistered DG Workshop 2
June 15, 2023

## Slide 2: Background
Legislation passed in 2021 (SB3, PURA Section 39.9165) included requirements for Distributed Generation owners to register their systems with ERCOT, but ERCOT is not set up for mass registration of DG by DG owners that are not Market Participants.
HB3390, which passed this year, helped clarify reporting responsibilities.
  Removed requirement for non-residential DG owners to register directly with ERCOT
  Introduced additional language authorizing ERCOT to require TDSPs to provide unregistered DG information to ERCOT via their TSPs

## Slide 3: PURA Section 39.9165, as modified by HB 3390
Sec. 39.9165. DISTRIBUTED GENERATION FACILITY REPORTING.
(a) In this section:
(1) "Distributed generation facility" is an electrical generating facility, including an
energy storage facility, that:
(A) is connected at a voltage less than 60 kilovolts; and
(B) is capable of being connected in parallel operation to the utility system.
(2) "Transmission service provider" means a transmission and distribution utility,
municipally owned utility, or electric cooperative that owns or operates facilities
used for the transmission of electricity.
(b) An independent organization certified under Section 39.151 may establish protocols to
require a person who owns or operates a distributed generation facility
interconnected to a utility system operating in the power region served by the
independent organization, or who seeks to interconnect such a facility, to provide
to the interconnecting transmission and distribution utility, municipally owned utility,
or electric cooperative information about the distributed generation facility that the
independent organization determines is necessary for maintaining system
reliability.

## Slide 4: Section 39.9165, as modified by HB3390 (cont’d)
(b-1) Protocols adopted under Subsection (b) may require that the information be
provided as a condition to interconnecting the distributed generation facility.
An independent organization certified under Section 39.151 may establish protocols
to require a transmission service provider operating in the power region served by the
independent organization to report to the independent organization, in aggregate by
delivery point, information the independent organization determines is necessary for
maintaining system reliability regarding distributed generation facilities and
distribution-connected loads that:
(1) are not registered with the independent organization; and
(2) are connected to the utility systems served by the transmission service provider.
An independent organization certified under Section 39.151 may establish protocols
to require a transmission and distribution utility, municipally owned utility, or electric
cooperative that is not required to report load information directly to the independent
organization regarding the delivery points interconnected with its facilities to provide
information to the utility's or cooperative's transmission service provider for purposes
of the report described by Subsection (c).

## Slide 5: Section 39.9165, as modified by HB3390 (cont’d)
For a distributed generation facility interconnected before September 1, 2023, any
protocols the independent organization certified under Section 39.151 establishes under
Subsections (c) and (d) may require a transmission and distribution utility, municipally
owned utility, or electric cooperative to:
(1) request information about the distributed generation facility from the owner or
operator of the facility; and
(2) in the absence of any timely response to the request for information under
Subdivision (1) or if the information reasonably appears to be incorrect, provide to its
transmission service provider a good-faith estimate of the information based on
field observation or other data using reasonable engineering judgment.
Notwithstanding Subsection (e), the transmission and distribution utility, municipally
owned utility, or electric cooperative, in fulfilling any reporting obligation, may rely on
any existing record regarding the information required for a distributed generation facility,
if the transmission and distribution utility, municipally owned utility, or electric cooperative
reasonably believes the information is accurate.

## Slide 6: Other HB3390 Provisions
SECTION 2. Section 39.9165(b-1), Utilities Code, as added by this Act, applies only to a
distributed generation facility interconnected on or after September 1, 2023.
SECTION 3. This Act takes effect immediately if it receives a vote of two-thirds of all the
members elected to each house, as provided by Section 39, Article III, Texas
Constitution. If this Act does not receive the vote necessary for immediate
effect, this Act takes effect September 1, 2023.
Because this bill passed with over 2/3 vote in both House and Senate, it became effective on June 2, 2023, upon being signed by the Governor.

## Slide 7
Questions?