## Slide 1
LFLTF Update
Bill Blevins
June 27, 2023 TAC Meeting

## Slide 2: What’s in it?
Terms (LFLTF NPRR)
Registration (LFLTF RRGRR) RIOO & NMMS
Interconnection Process (LFLTF PGRR) RIOO
Operations (LFLTF NPRR and NOGRR) Siebel* and MMS
  Ramp Limits
  Ride-through
  PFR for CLR change*
Operations-Markets (CLR NPRR) MMS
  CLRs requirements for SCED
  Change to Nodal Settlements for CLRs
EEA- Manual Loadshed (LFLTF NPRR, LFLTF NOGRR)
  Visibility EMS, MMS, PI, Grid GEO
  Manual Load Interruption prior to EEA (Deployment via Ancillary Service deployment manager) MMS

## Slide 3
Large Load
Large Load Interconnection Study (LLIS)
Registered Curtailable Load (RCL)
Interconnecting Large Load Entity
SSR terms addressing some new Feroresonance interactions.
Interruptible load types
CLR
NCLR
RCL
By level of sophistication
FIRM
The green types of Loads already exists
Implement Nodal Dispatch and Energy Settlement for Controllable Load Resources
Addresses CLR must have an offer curve in and must not use OUTL when consuming power.
NEW
Terms and Associated NPRR for CLR Nodal settlement

## Slide 4: Manual curtailment of RCLs prior to EEA

## Slide 5: Timeline
Complete Impact Analysis
Get internal approvals
Post NPRR, PGRR, RRGRR, NOGRR July
Meet and discuss LFLTF in July
Issues not yet addressed
  Large Loads UFLS
  Load 5 minute settlement
    This item was discussed and was decided the item should be addressed outside LFLTF
    Addresses the behavior of Loads that respond to price during the 15 minute settlements intervals
Credit impacts for Flexible Loads
  Expected to be discussed in July Meeting