|  |  |  |  |
| --- | --- | --- | --- |
| **REV REQ NO.** | **DESCRIPTION** | **URGENT** | **IMM Opinion** |
| **070LPGRR** | **Discontinuation of Interval Data Recorder (IDR) Meter Weather Sensitivity Process.** This Load Profiling Guide (LPGRR) discontinues the process of evaluating Interval Data Recorder (IDR) Meters to determine if they are weather sensitive. [ERCOT] | N | IMM has no opinion on LPGRR070. |
| **103PGRR** | **Establish Time Limit for Generator Commissioning Following Approval to Synchronize.** This Planning Guide Revision Request (PGRR) requires an Interconnecting Entity to complete all conditions for commercial operation of a Generation Resource or Energy Storage Resource (ESR) within 180 days of receiving approval for Initial Synchronization from ERCOT. [ERCOT] | N | IMM has no opinion on PGRR103. |
| **1150NPRR** | **Related to NOGRR230, WAN Participant Security.** This Nodal Protocol Revision Request (NPRR) adds a requirement in Section 16.2.1 that states if a Qualified Scheduling Entity (QSE) represents a Resource Entity, Emergency Response Service (ERS) Resource, or another QSE and receives or transmits Wide Area Network (WAN) Data, as that term is defined in Nodal Operating Guide Section 1.4, Definitions, then it must maintain connection to the ERCOT WAN and a Secure Private Network (SPN) as described in Nodal Operating Guide Section 7, Telemetry and Communication. [ERCOT] | N | IMM has no opinion on NPRR1150. |
| **1173NPRR** | **Changes Consistent With the Options Available to an MOU and EC Entering Retail Competition in the ERCOT Market.** This Nodal Protocol Revision Request (NPRR) provides needed references to the Protocols to account for Texas Standard Electronic Transaction (TX SET) processing options for Municipally Owned Utility (MOU) or Electric Cooperative (EC) service areas. [ERCOT] | N | IMM has no opinion on NPRR1173. |
| **1176NPRR** | **Update to EEA Trigger Levels.** This Nodal Protocol Revision Request (NPRR) revises the Energy Emergency Alert (EEA) procedures to require a declaration of EEA Level 3 when Physical Responsive Capability (PRC) cannot be maintained above 1,500 MW and will require ERCOT to shed firm Load to recover 1,500 MW of reserves within 30 minutes. This NPRR also modifies the trigger levels for EEA Level 1 and EEA Level 2, changes the trigger for ERCOT’s consideration of alternative transmission ratings or configurations from Advisory to Watch when PRC drops below 3,000 MW, and restores a frequency trigger for the declaration of EEA Level 3 if the steady-state frequency drops below 59.8 Hz for any period of time. [ERCOT] | N | IMM has no opinion on NPRR1176. |
| **230NOGRR** | **WAN Participant Security.**  This Nodal Operating Guide Revision Request (NOGRR) ensures integrity of Wide Area Network (WAN) data transmission by adding a requirement to share data in a way that prevents Denial of Service (DoS) and Distributed Denial of Service (DDoS) attacks. [ERCOT] | N | IMM has no opinion on NOGRR230. |
| **251NOGRR** | **Add Cold Weather Conditions to Template for Emergency Operations Plan.** This Nodal Operating Guide Revision Request (NOGRR) aligns Section 8, Attachment L, Emergency Operations, with North American Electric Reliability Corporation (NERC) Reliability Standard EOP-011-2, Emergency Preparedness and Operations, by adding cold weather conditions to the template used for the development of emergency operations plans. [ERCOT] | N | IMM has no opinion on NOGRR251. |
| **1163NPRR** | **Related to LPGRR070, Discontinuation of Interval Data Recorder (IDR) Meter Weather Sensitivity Process.**  This Nodal Protocol Revision Request (NPRR) discontinues the process of evaluating Interval Data Recorder (IDR) Meters to determine if they are weather sensitive, in alignment with LPGRR070.  [ERCOT] | N | IMM has no opinion on NPRR1163. |
| **045OBDRR** | **Additional Revisions to Demand Response Data Definitions and Technical Specifications.** This Other Binding Document Revision Request (OBDRR) incorporates minor edits to the Other Binding Document Demand Response Data Definitions and Technical Specifications. Changes include modifications to the list of Electric Service Identifiers (ESI IDs) provided to Retail Electric Providers (REPs) as well as a correction of several dates.  [ERCOT] | N | IMM has no opinion on OBDRR045. |