## Slide 1: DWG Report to ROS
Javier Martinez – DWG Chair
July 5, 2023

## Slide 2: DWG Update
DWG WebEx meeting held on 6/29/2023
DWG 2024 Flat-start Activities
  ERCOT provided SSWG seed cases to DWG on June 29th requesting for TSP to review and provide any topology and dynamic model updates.
  DWG will be providing feedback on the preferred Off-peak seed case by July 6th.
  2024 DWG Flat-start pass 1 will posted by September 7th.
Update on ALDR Survey
  DWG came to a consensus on discontinuing the use of the motor load data provided in the ALDR.
  DWG chair will be following up with SSWG leadership on the next steps to discontinue the use of motor load data in the ALDR.

## Slide 3: NOGRR 245 (IBR ride-through)
ERCOT presented a status update on NOGRR245.
ERCOT discussed how it addressed and responded to stakeholder comments for NOGRR245.
DWG consensus was in support of NOGRR245.

## Slide 4: Draft PGRR- Review Process for IBR Modification
At the February DWG meeting, ERCOT presented two concepts to DWG with the aim of improving review process of changes to settings or equipment associated with Inverter-Based Resources.
Based on the DWG inputs, ERCOT shared with DWG a draft potential PGRR for one of the two concepts for feedback in March.
At the April DWG meeting, ERCOT went through the draft PGRR. DWG had various concerns and provided feedback about the timeline to complete the dynamic study, the dynamic study would not be a limited study, and discussed if there should be an intermediate process to determine if MQT is acceptable.
ERCOT had a meeting with various TSP during May to address TSP comments/feedback and provided a revised draft PGRR to DWG, as a result.
At the June DWG meeting, ERCOT discussed the May revisions focused on adding language to the PGRR to ensure consistency between the as-built and as-studied data prior to the resource Commissioning date.
DWG is in support of the drafted PGRR-Review Process for IBR Modification.

## Slide 5: Additional DWG Updates
ERCOT presented a guideline for a limited stability study part of the drafted PGRR.
  DWG did not have conflicts with the proposed methodology discussed by ERCOT.
ERCOT followed up on the discussion held during DWG April meeting regarding VRT with real power reduction. DWG tabled discussion on VRT with real power reduction.
  ERCOT will be providing TSP with ERCOT VRT presentation. TSP required additional time to review the presentation, in order to provide feedback.