## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Theresa Noyes
HITE List Sub-Chair – Pushkar Chhajed
07/06/2023

## Slide 2: ERCOT Updates and System Operation Report
May 5, 2023, peak – 68,747 MW
New wind generation record May 29, 2023 – 29,044 MW

## Slide 3: Texas Reliability Entity Report
NERC Standard Reliability Report available on the NERC website
June 30 – IBR data responses and approvals due for NERC Alert
July 20 – Texas Grid Transformation Workshop – see TRE website

## Slide 4: NOGRR245 Inverter-Based Resource (IBR) Ride-Through Requirements
ERCOT published alternative framework to incorporate IEEE2800 across the varied IBR fleet.
Any SGIA signed after June 1, 2023, falls under new IEEE 2800 standards.
SGIAs executed prior to June 1, 2023, must comply with new frequency requirements no later than December 31, 2025, and as soon as practicable.
In the interim, existing IBRs must follow a temporary set of frequency ride-through provisions scheduled to sunset on January 1, 2026.
Existing IBRs unable to comply with the new requirements must file a report with ERCOT by March 1, 2024.
Tabled for July OWG discussion.

## Slide 5: NOGRR249 Communication of System Operating Limit Exceedances
NERC Reliability Standards effective April 1, 2024
As the Reliability Coordinator ERCOT must notify impacted Transmission Operators (TOs) of system operating limit exceedances in accordance with its system operating limit methodology.
ERCOT will continue to issue operating instructions to TOs via phone for operating limit exceedances
Additionally, ERCOT will post thermal and voltage limit exceedances to MIS Secure Area.
OWG endorses the June 22, 2023, Oncor comments as amended during OWG June 22, 2023, meeting.

## Slide 6: Review of Major Transmission Element (MTE) Submission and Timeline
June 1, 2023, ERCOT submitted updated MTE list to OWG main page
July 1, 2023, Private Submission for Additions
August 1, 2023, Public Submission of Requests for Additions and/or Removals
August OWG meeting will discuss Addition and Removal Requests
September ROS, WMS, TAC endorsements sought

## Slide 7: OTWG Update
No June meeting. Next meeting July 13, 2023.