## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for June 2023

## Slide 2: Non-IRR GREDP < 85% – June 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 308 | 462 | 565 | 2.49 | 81.77

## Slide 3: IRR Summary – June 2023
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 82.25 | 71.59 | 83.46
GREDP Median (%) | 90.34 | 80.00 | 88.51
Average MW Error | 5.96 | 6.14 | 7.42
Median MW Error | 5.45 | 5.49 | 7.10
Total Intervals Scored | 37,130 | 21,673 | 19,249
100+ Intervals Scored | 82 | 251 | 51
Total Intervals Scored Average | 110.84 | 139.83 | 377.43

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – June 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,369 | 2,408 | 5.79 | 98.38
Unit 2 | 1,611 | 1,644 | 4.16 | 97.99
Unit 6 | 938 | 941 | 2.97 | 99.68
Unit 7 | 890 | 895 | 3.52 | 99.44
Unit 10 | 829 | 834 | 4.76 | 99.40
Unit 13 | 679 | 697 | 5.43 | 97.42
Unit 16 | 579 | 589 | 10.74 | 98.30
Unit 17 | 566 | 570 | 3.69 | 99.30
Unit 21 | 449 | 463 | 5.89 | 96.98
Unit 22 | 448 | 462 | 5.45 | 96.97
Unit 24 | 446 | 456 | 6.79 | 97.81
Unit 28 | 408 | 408 | 8.24 | 100.00
Unit 35 | 308 | 322 | 10.18 | 95.65
Unit 38 | 298 | 305 | 7.51 | 97.70
Unit 39 | 289 | 297 | 3.31 | 97.31
Unit 41 | 276 | 289 | 7.24 | 95.50
Unit 42 | 272 | 282 | 3.43 | 96.45
Unit 44 | 261 | 268 | 12.89 | 97.39

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – June 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 45 | 255 | 268 | 8.95 | 95.15
Unit 47 | 235 | 237 | 9.69 | 99.16
Unit 49 | 227 | 229 | 8.42 | 99.13
Unit 51 | 224 | 226 | 5.37 | 99.12
Unit 52 | 222 | 224 | 3.17 | 99.11
Unit 54 | 215 | 218 | 2.54 | 98.62
Unit 63 | 187 | 189 | 11.96 | 98.94
Unit 65 | 182 | 183 | 7.30 | 99.45
Unit 66 | 181 | 182 | 5.99 | 99.45
Unit 68 | 170 | 177 | 2.66 | 96.05
Unit 72 | 157 | 163 | 3.65 | 96.32
Unit 80 | 104 | 108 | 5.19 | 96.30
Unit 81 | 107 | 108 | 4.43 | 99.07

## Slide 6: IRR < 95%, ≥ 100 Scored Intervals – June 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 3 | 1,138 | 1,403 | 5.83 | 81.11
Unit 4 | 1,106 | 1,182 | 3.60 | 93.57
Unit 5 | 946 | 1,021 | 7.49 | 92.65
Unit 8 | 834 | 890 | 1.96 | 93.71
Unit 9 | 803 | 890 | 2.91 | 90.22
Unit 11 | 615 | 777 | 8.27 | 79.15
Unit 12 | 568 | 714 | 12.98 | 79.55
Unit 14 | 602 | 658 | 7.10 | 91.49
Unit 15 | 571 | 655 | 5.49 | 87.18
Unit 18 | 497 | 544 | 6.38 | 91.36
Unit 19 | 258 | 522 | 5.75 | 49.43
Unit 20 | 461 | 492 | 10.48 | 93.70
Unit 23 | 380 | 461 | 4.89 | 82.43
Unit 25 | 366 | 448 | 4.68 | 81.70
Unit 26 | 398 | 444 | 12.69 | 89.64
Unit 27 | 403 | 438 | 7.11 | 92.01
Unit 29 | 332 | 373 | 10.35 | 89.01
Unit 30 | 334 | 366 | 18.19 | 91.26

## Slide 7: IRR < 95%, ≥ 100 Scored Intervals – June 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 31 | 339 | 359 | 8.62 | 94.43
Unit 32 | 300 | 357 | 4.39 | 84.03
Unit 33 | 326 | 347 | 1.72 | 93.95
Unit 34 | 261 | 347 | 2.41 | 75.22
Unit 36 | 216 | 319 | 7.30 | 67.71
Unit 37 | 267 | 311 | 9.41 | 85.85
Unit 40 | 272 | 296 | 4.83 | 91.89
Unit 43 | 244 | 272 | 4.74 | 89.71
Unit 46 | 223 | 249 | 5.24 | 89.56
Unit 48 | 189 | 235 | 6.94 | 80.43
Unit 50 | 194 | 228 | 10.88 | 85.09
Unit 53 | 197 | 220 | 8.37 | 89.55
Unit 55 | 185 | 212 | 10.50 | 87.26
Unit 56 | 173 | 210 | 11.22 | 82.38
Unit 57 | 182 | 209 | 6.00 | 87.08
Unit 58 | 172 | 204 | 8.46 | 84.31
Unit 59 | 186 | 200 | 9.02 | 93.00
Unit 60 | 116 | 199 | 10.80 | 58.29

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – June 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 61 | 181 | 195 | 2.00 | 92.82
Unit 62 | 176 | 194 | 6.29 | 90.72
Unit 64 | 142 | 188 | 4.47 | 75.53
Unit 67 | 164 | 182 | 9.55 | 90.11
Unit 69 | 159 | 176 | 18.96 | 90.34
Unit 70 | 154 | 174 | 3.54 | 88.51
Unit 71 | 149 | 166 | 4.66 | 89.76
Unit 73 | 116 | 127 | 3.28 | 91.34
Unit 74 | 100 | 119 | 8.31 | 84.03
Unit 75 | 76 | 118 | 8.48 | 64.41
Unit 76 | 67 | 117 | 10.88 | 57.26
Unit 77 | 90 | 113 | 7.57 | 79.65
Unit 78 | 104 | 112 | 4.88 | 92.86
Unit 79 | 48 | 109 | 11.64 | 44.04
Unit 82 | 60 | 107 | 6.74 | 56.07