## Slide 1
ERCOT Updates
NDSWG July 2023
ERCOT
7/18/2023

## Slide 2: Topics
NPRR 1164 – group update
Manual Contingency Review
Project Updates
SSWG node/breaker

## Slide 3: NPRR1164 review – New Definitions
NPRR1164 creates 4 new definitions in section 2.1

## Slide 4: NPRR1164 – 3.14.2 Updates

## Slide 5: NPRR1164 – Updating in NMMS
Validation Rule:
  If Synchrocheck Relay is checked, recloseMaxAngle should be between 0 to 90 degrees.
recloseMaxAngle:
  Phase Angle Limit that is operator initiated, non-automated breaker control action.
Notes: Note: anything over 60 should be evaluated and double checked. -90 is default.

## Slide 6: Manual Contingency Review
4/13 have been completed

## Slide 7: Project Updates
  NMMS Tech Health Upgrade
    Officially closed.
  Upgrade to NMMS RHEL Operating System
    Project kickoff in June
    Upgrades the OS of additional NMMS systems
  Upgrade to CIM16
    Project kickoff in July
    Upgrades the NMMS database schema to meet the CIM16 standard
    Updates the format of the XML models and incremental files