## Slide 1
Node Breaker Transition – NMMS Data Changes
NDWSG
Evan Mickelson
Network Model Administration
7/18/2023
evan.mickelson@ercot.com

## Slide 2: Agenda
Why do we need to enter planning data?
New Data Fields
Validation Rules
Cleanup Effort
Templates

## Slide 3: Why do we need to enter planning data?
NMMS seeds planning cases
NMMS contains ALL planning data*
  *For operational equipment
NMMS (before 9/1/2023)
Planning Data
Operations Data
PSSE Bus-Branch Data
EMS Node-Breaker Data

## Slide 4: Why do we need to enter planning data?
Upgrading planning cases to node-breaker
PSSE requires these PSSEIDs as the unique identifier
  Like the rdfid in NMMS
NMMS (after 9/1/2023)
Planning Data
PSSE Bus-Branch Data
PSSE Node-Breaker Data
Operations Data
EMS Node-Breaker Data
Needed September 1st and onwards

## Slide 5: Why do we need to enter planning data?
Almost all this already exists in NMMS!
Except for…
PSSE Node-Breaker Data
Needed September 1st and onwards

## Slide 6: New Data Fields
cim:Substation
  PSSEID: Integer between 1-999,999
cim:ConnectivityNode
  PSSEID: Integer between 1-999

## Slide 7: New Data Fields
cim:Substation
  PSSEID: Integer between 1-999,999
  See ranges below (same as ConnectivityNodeGroup)
  Range is not enforced

## Slide 8: Validation Rules
cim:Substation
  PSSEID: Must be unique per the whole system
cim:ConnectivityNode
  PSSEID: Must be unique per cim:Substation

## Slide 9: Cleanup Effort
Currently soliciting PSSEIDs for cim:Substation instances from SSWG members
ConnectivityNode.PSSEID attributes will be assigned by ERCOT (60,000+)

## Slide 10: Template Update
Substation and ConnectivtyNode templates will be updated to include the PSSEID attribute

## Slide 11: Questions and Comments