## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Theresa Noyes
HITE List Sub-Chair – Pushkar Chhajed
08/03/2023

## Slide 2: ERCOT Updates and System Operation Report
ERCOT provided unofficial monthly operations update. Unofficial peak discussed in July OWG was 80,878 MW.

## Slide 3: Texas Reliability Entity Report
July 31 – IBR data responses and approvals due for NERC Alert. As of July 20, 17% of IBRs have yet to respond. Please submit by July 20.
August 20/Sept 21 – Talk of Texas Workshops

## Slide 4: NOGRR245 Inverter-Based Resource (IBR) Ride-Through Requirements
ERCOT published alternative framework to incorporate IEEE2800 across the varied IBR fleet.
Any SGIA signed after June 1, 2023, falls under new IEEE 2800 standards.
SGIAs executed prior to June 1, 2023, must comply with new frequency requirements no later than December 31, 2025, and as soon as practicable.
In the interim, existing IBRs must follow a temporary set of frequency ride-through provisions scheduled to sunset on January 1, 2026.
Existing IBRs unable to comply with the new requirements must file a report with ERCOT by March 1, 2024.
OWG agrees conceptually with ERCOT’s direction, while some stakeholders expressed concerns meeting documented requirements in ERCOT’s latest comments. OWG did not reach consensus on the comments.

## Slide 5: NOGRR255 High Resolution Data Requirements
SPWG discussed NOGRR255 at their July meeting and will hold a special meeting August 4th to consider in detail.
OWG tabled to gather and review stakeholder comments and questions.

## Slide 6: Review of Major Transmission Element (MTE) Submission and Timeline
Private Submission for Additions are complete
August 1 - Public Submission of Requests for Additions and/or Removals
August 17 OWG meeting - each company will present their submission list for removals, additions or changes to the list. OWG will consider each submission.
September ROS, WMS, TAC endorsements sought

## Slide 7: OTWG Update
August 2023 - David Blackshear is assuming a new role and will step down as Chair. Vice Chair James Ballard will assume interim Chair.