| RRGRR Number | 035 | RRGRR Title | Related to NPRR1171, Requirements for DGRs and DESRs on Circuits Subject to Load Shedding |
| --- | --- | --- | --- |
| Date of Decision |  | August 3, 2023 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | Upon implementation of Nodal Protocol Revision Request (NPRR) 1171, Requirements for DGRs and DESRs on Circuits Subject to Load Shedding |  |
| Priority and Rank Assigned |  | Not Applicable |  |
| Resource Registration Glossary Sections Requiring Revision |  | Section 2 – Unit Info - DG |  |
| Related Documents Requiring Revision/Related Revision Requests |  | Nodal Operating Guide Revision Request (NOGRR) 250, Related to NPRR1171, Requirements for DGRs and DESRs on Circuits Subject to Load Shedding NPRR1171 |  |
| Revision Description |  | This Resource Registration Glossary Revision Request (RRGRR) adds data fields consistent with NPRR1171. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | This RRGRR ensures that the Distribution Generation Resource (DGR) and Distribution Energy Storage Resource (DESR) information required by NPRR1171 is incorporated into the Resource Integration and Ongoing Operations (RIOO) system. |  |
| ROS Decision |  | On 5/4/23, ROS voted unanimously to table RRGRR035 and refer the issue to the Operations Working Group (OWG). All Market Segments participated in the vote. On 7/6/23, ROS voted unanimously to recommend approval of RRGRR035 as submitted. All Market Segments participated in the vote. On 8/3/23, ROS voted unanimously to endorse and forward to TAC the 7/6/23 ROS Report and 3/29/23 Impact Analysis for RRGRR035. All Market Segments participated in the vote. |  |
| Summary of ROS Discussion |  | On 5/4/23, participants requested OWG review RRGRR035 along with NPRR1171 and NOGRR035. On 7/6/23, participants noted the OWG recommendation to endorse NPRR1171 as submitted, and advanced the related RRGRR035 and NOGRR250. On 8/3/23, participants reviewed the 3/29/23 Impact Analysis. |  |

| Opinions |  |
| --- | --- |
| Credit Review | Not Applicable |
| Independent Market Monitor Opinion | To be determined |
| ERCOT Opinion | To be determined |
| ERCOT Market Impact Statement | To be determined |

| Sponsor |  |
| --- | --- |
| Name | Clayton Stice |
| E-mail Address | clayton.stice2@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6806 |
| Cell Number | 512-627-5020 |
| Market Segment | Not Applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brittney Albracht |
| E-Mail Address | Brittney.Albracht@ercot.com |
| Phone Number | 512-225-7027 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

Market Rules Notes

None

Proposed Guide Language Revision

| SECTION 2: RESOURCE REGISTRATION GLOSSARY - Effective February 1, 2023 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Resource Registration Data |  | Wind |  | Solar Photovoltaic (PV) | [[RRGRR023 and RRGRR031: Insert applicable portions of column "Energy Storage System (ESS)" upon system implementation of NPRRs 1002, 1026, and 1029 for RRGRR023; or upon system implementation of NPRR995 for RRGRR031:] |  | Conventional Generation (Gen) |  | Combined Cycle (CC) |  | Load Resources |  | Distributed Generation | Notes |  | Field Name |  | Definition / Detailed Description | Screening Study (SS) (R, C, O, A) |  |  | Full Interconnect Study (FIS) - Steady-State, Short Circuit, and Facility (R, C, O, A) |  | FIS - Stability Study (R, C, O, A) |  | Planning Model (R, C, O, A) |  | Full Registration (R, C, O, A) |  |
| Unit Info - DG |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Unit Info - DG |  |  |  |  |  |  |  |  |  |  |  | X |  | List | Technology Type |  | (FS) Fossil Fuel Steam (GT) Gas Turbine (H) Hydro (W) Wind (S) Solar (X) Other |  |  |  |  |  |  |  |  |  |  |  |  |
| [RRGRR031: Replace "Unit Info - DG - Technology Type" above with the following upon system implementation of NPRR995:] |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Unit Info - DG |  |  |  |  |  |  |  |  |  |  |  | X |  | List | Technology Type |  | (FS) Fossil Fuel Steam (GT) Gas Turbine (H) Hydro (W) Wind (S) Solar (BA) Battery (X) Other |  |  |  |  |  |  |  |  |  |  |  |  |
| Unit Info - DG |  |  |  |  |  |  |  |  |  |  |  | X |  | # | If Wind, Number of Turbines |  | Count total of wind turbines |  |  | R | R |  | R |  | R |  | R |  |  |
| [RRGRR031: Insert "Unit Info - DG" rows below upon system implementation of NPRR995:] |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Unit Info - DG |  |  |  |  | X |  |  |  |  |  |  | X |  | MW | SODG or SOESS Nameplate MW Rating |  | If SODG or SOESS is an aggregation of multiple units, mathematical summation of nameplate ratings of all units in the aggregation. |  |  |  |  |  |  |  |  |  |  |  |  |
| Unit Info - DG |  |  |  |  | X |  |  |  |  |  |  | X |  | MWh | If SODESS, Nameplate MWh Rating. If SODESS is an aggregation of multiple units MWh Rating of all ESSs in the aggregation. |  | If SODESS, mathematical summation of the nameplate MWh ratings of all battery modules in the ESS. If SODESS is an aggregation of multiple units, mathematical summation of nameplate MWh ratings of all ESSs in the aggregation. |  |  |  |  |  |  |  |  |  |  |  |  |
| Unit Info - DG |  |  |  |  | X |  |  |  |  |  |  | X |  | % | For SODG that are aggregation of multiple units % of ESS capacity in the aggregation. |  | For an SODG that is an aggregation of multiple units, the portion of ESS MW capacity in the aggregation, in % of total SODG MW rating. |  |  |  |  |  |  |  |  |  |  |  |  |
| Unit Info - DG |  |  |  |  | X |  |  |  |  |  |  | X |  | % | For SODG that are aggregation of multiple units % of non-ESS capacity in the aggregation. |  | For an SODG that is an aggregation of multiple units, the portion of non-ESS MW capacity in the aggregation, in % of total SODG MW rating. |  |  |  |  |  |  |  |  |  |  |  |  |
| Unit Info - DG |  |  |  |  |  |  |  |  |  |  |  | X |  | Y/N | Private Network / Cogen |  | A cogen is a generating facility that produces electricity and another form of useful thermal energy used for industrial, commercial, heating, or cooling purposes. N/A for DRG |  |  |  |  |  |  |  |  |  |  |  |  |
| Unit Info - DG |  |  |  |  |  |  |  |  |  |  |  | X |  | MW | Amount of Self Serve for Cogen |  | Amount of the unit output used for self serve and not available for the grid |  |  |  |  |  |  |  |  |  |  |  |  |
| Unit Info - DG |  |  |  |  |  |  |  |  |  |  |  | X |  | MW | Private Network Net Interchange |  | For private networks, the net interchange shall be provided along with gross MW and MVAr per generating unit. (ERCOT Operating Guides) |  |  |  |  |  |  |  |  |  |  |  |  |
| Unit Info - DG |  |  |  |  |  |  |  |  |  |  |  | X |  | MW | Private Network Gross Unit (MW) |  | For private networks, the net interchange shall be provided along with gross MW and MVAr per generating unit. (ERCOT Operating Guides) |  |  |  |  |  |  |  |  |  |  |  |  |
| Unit Info - DG |  |  |  |  |  |  |  |  |  |  |  | X |  | MVAR | Private Network Gross Unit (MVAR) |  | For private networks, the net interchange shall be provided along with gross MW and MVAr per generating unit. (ERCOT Operating Guides) |  |  |  |  |  |  |  |  |  |  |  |  |
| Unit Info - DG |  |  |  |  |  |  |  |  |  |  |  | X |  | List | Generic Fuel Category |  | 1) Coal and Lignite 2) Combined Cycle greater than 90 MW 3) Combined Cycle less than or equal to 90 MW 4) Diesel (and all other diesel or gas-fired Resources) 5) Gas Steam Non-reheat Boiler or Boiler without air-preheater 6) Gas Steam Reheat Boiler 7) Gas Steam Supercritical Boiler 8) Hydro 9) Nuclear 10) Other Renewable (i.e. non-hydro renewable Resources) 11) Power Storage 12) Simple Cycle greater than 90 MW 13) Simple Cycle less than or equal to 90 MW |  |  |  |  |  |  |  |  |  |  |  |  |
| Unit Info - DG |  |  |  |  |  |  |  |  |  |  |  | X |  | List | Generic Start-up / Operating Category |  | 1) Base Load 2) Gas-Cyclic 3) Gas-Intermediate 4) Gas-Peaking 5) Renewable (Including Hydro) |  |  |  |  |  |  |  |  |  |  |  |  |
| Unit Info - DG |  |  |  |  |  |  |  |  |  |  |  | X |  | All Caps | Substation Name for POD |  | Enter the name of the substation as provided by the TDSP. (Where the DG will be mapped.) |  |  |  |  |  |  |  |  |  | R |  |  |
| Unit Info - DG |  |  |  |  |  |  |  |  |  |  |  | X |  | All Caps | Substation Code for POD |  | Enter the TDSP substation code as provided by the TDSP. (Where the DG will be mapped.) |  |  |  |  |  |  |  |  |  | R |  |  |
| Unit Info - DG |  |  |  |  |  |  |  |  |  |  |  | X |  | All Caps | DSP Identification of Operational Limitations |  | Enter Y if the DSP identified any operational limitations on Form 23Q and N if the DSP did not identify any such restrictions. |  |  |  |  |  |  |  |  |  |  |  |  |
| Unit Info - DG |  |  |  |  |  |  |  |  |  |  |  | X |  | All Caps | Interconnecting Circuit Subject to Load Shed |  | Enter Y if the DSP indicated on Form 23Qthat the DGR/DESR is on a circuit subject to Load shed, and N if the DGR/DESR is on a circuit not subject to Load shed. |  |  |  |  |  |  |  |  |  |  |  |  |
| Unit Info - DG |  |  |  |  |  |  |  |  |  |  |  | X |  |  | Transmission Bus POD (PTI Bus No) |  | Enter the transmission PTI bus number as provided by the TDSP. (Where the DG will be mapped.) |  |  |  |  |  |  |  |  |  | R |  |  |
| Unit Info - DG |  |  |  |  |  |  |  |  |  |  |  | X |  | kV | Transmission Station Voltage |  | Enter the transmission level voltage of the TDSP station as provided by the TDSP. Normally this will be 69 kV or higher. (Where the DG will be mapped.) |  |  |  |  |  |  |  |  |  | R |  |  |
| Unit Info - DG |  |  |  |  |  |  |  |  |  |  |  | X |  | All Caps | Transmission Station Load Name in Network Operations Model |  | Enter the Load Name as listed in the ERCOT model as provided by the TDSP. (Where the DG will be mapped.) |  |  |  |  |  |  |  |  |  | R |  |  |
| Unit Info - DG |  |  |  |  |  |  |  |  |  |  |  | X |  | All caps | Resource Entity Name Owner |  | Enter the name of the Resource Entity who owns all or a portion of this unit. |  |  |  |  |  |  |  |  |  | R |  |  |
| Unit Info - DG |  |  |  |  |  |  |  |  |  |  |  | X |  |  | Resource Entity Owner Duns Number |  | Enter the name of the Resource Entity/ Interconnecting Entity. The RE must be the same entity name that filed on the Standard Form Agreement. The IE must be the same entity name that filed on the Generation Entity Information Sheet. The Protocols require that a Load Resource must also complete and submit an Application. |  |  |  |  |  |  |  |  |  | R |  |  |