## Slide 1
ROS Report – August 22, 2023
Chase Smith
Technical Advisory Committee (TAC) Meeting
ERCOT Public

## Slide 2: Voting Items
NOGRR215, Limit Use of Remedial Action Schemes
NOGRR249, Communication of System Operating Limit Exceedances
NOGRR250, Related to NPRR1171, Requirements for DGRs and DESRs on Circuits Subject to Load Shedding
RRGRR033, Related to NPRR1164, Black Start and Isochronous Control Capable Identification
RRGRR035, Related to NPRR1171, Requirements for DGRs and DESRs on Circuits Subject to Load Shedding

## Slide 3: Recent ROS Actions
Endorsed SPWG leadership
  SPWG Chair: Andrew Mattei, Brazos Electric Cooperative
  SPWG Vice Chair: Mark McChesny, Oncor Electric Delivery

## Slide 4: Revision Requests under ROS Review
NPRR1070, Planning Criteria for GTC Exit Solutions (OWG, PLWG)
NPRR1180, Inclusion of Forecasted Load in Planning Analyses (PLWG)
NOGRR245, Inverter-Based Resource (IBR) Ride-Through Requirements (DWG, OWG, IBRTF)
NOGRR255, High Resolution Data Requirements (DWG, IBRWG, SPWG)
PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions
PGRR105, Deliverability Criteria for DC Tie Imports
PGRR106, Clarify Projects Included in Transmission Project Information and Tracking Report (SSWG)
PGRR107, Related to NPRR1180, Inclusion of Forecasted Load in Planning Analyses (PLWG)
PGRR109, Dynamic Model Review Process Improvements for Inverter-Based Resource Modification (IBRWG, PLWG)
PGRR110, Revision to Accommodate Steady-State Node-Breaker Modeling (SSWG)

## Slide 5: Recent ROS Discussion Items
NOGRR245, Inverter-Based Resource Ride-Through Requirements
  Remains tabled at ROS
  ERCOT has communicated the need to improve IBR performance during grid fault events. Some stakeholders have expressed concern with certain parts of proposal
  ERCOT and stakeholders plan to file additional comments
  ROS plans to make a recommendation at its September meeting to support ERCOT’s request that the NOGRR be considered at the October Board of Directors meeting
  ROS will consider an urgency vote at its September meeting or may schedule an additional ROS meeting in September if necessary

## Slide 6: Future Meetings
ROS
  Next Regularly Scheduled Meeting – September 7, 2023