## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for July 2023

## Slide 2: Non-IRR GREDP < 85% – July 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 366 | 1 | 3 | 7.18 | 33.33
Unit 367 | 0 | 1 | 2.12 | 0.00

## Slide 3: IRR Summary – July 2023
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 81.94 | 67.55 | 81.71
GREDP Median (%) | 93.65 | 76.07 | 86.35
Average MW Error | 5.40 | 5.65 | 5.81
Median MW Error | 4.78 | 5.19 | 5.63
Total Intervals Scored | 36,628 | 20,490 | 18,283
100+ Intervals Scored | 66 | 266 | 38
Total Intervals Scored Average | 109.99 | 156.41 | 481.13

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – July 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 3,141 | 3,147 | 5.42 | 99.81
Unit 3 | 1,751 | 1,808 | 3.39 | 96.85
Unit 4 | 1,438 | 1,439 | 2.79 | 99.93
Unit 6 | 1,380 | 1,434 | 5.38 | 96.23
Unit 7 | 1,370 | 1,374 | 3.28 | 99.71
Unit 15 | 739 | 743 | 4.26 | 99.46
Unit 17 | 603 | 609 | 7.13 | 99.01
Unit 20 | 485 | 487 | 6.30 | 99.59
Unit 21 | 433 | 437 | 7.07 | 99.08
Unit 24 | 296 | 298 | 6.61 | 99.33
Unit 28 | 262 | 265 | 3.53 | 98.87
Unit 32 | 242 | 243 | 6.45 | 99.59
Unit 36 | 226 | 226 | 10.34 | 100.00
Unit 38 | 216 | 219 | 6.23 | 98.63
Unit 40 | 213 | 213 | 4.20 | 100.00
Unit 42 | 194 | 194 | 3.99 | 100.00
Unit 43 | 175 | 184 | 6.89 | 95.11
Unit 45 | 165 | 167 | 7.88 | 98.80

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – July 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 46 | 165 | 166 | 2.87 | 99.40
Unit 48 | 154 | 161 | 5.79 | 95.65
Unit 50 | 152 | 157 | 3.87 | 96.82
Unit 51 | 152 | 153 | 9.54 | 99.35
Unit 55 | 136 | 141 | 7.56 | 96.45
Unit 56 | 134 | 141 | 4.25 | 95.04
Unit 57 | 133 | 133 | 2.05 | 100.00
Unit 58 | 128 | 132 | 8.19 | 96.97
Unit 62 | 123 | 126 | 3.57 | 97.62
Unit 66 | 98 | 101 | 9.59 | 97.03

## Slide 6: IRR < 95%, ≥ 100 Scored Intervals – July 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 2,304 | 2,562 | 3.81 | 89.93
Unit 5 | 1,359 | 1,438 | 6.30 | 94.51
Unit 8 | 1,157 | 1,322 | 9.09 | 87.52
Unit 9 | 1,066 | 1,258 | 5.68 | 84.74
Unit 10 | 953 | 1,112 | 4.18 | 85.70
Unit 11 | 657 | 959 | 5.65 | 68.51
Unit 12 | 820 | 927 | 1.92 | 88.46
Unit 13 | 803 | 919 | 2.66 | 87.38
Unit 14 | 622 | 760 | 4.64 | 81.84
Unit 16 | 654 | 713 | 6.24 | 91.73
Unit 18 | 426 | 560 | 12.82 | 76.07
Unit 19 | 461 | 548 | 1.61 | 84.12
Unit 22 | 268 | 311 | 5.53 | 86.17
Unit 23 | 160 | 304 | 10.79 | 52.63
Unit 25 | 199 | 283 | 3.19 | 70.32
Unit 26 | 244 | 282 | 7.77 | 86.52
Unit 27 | 260 | 281 | 4.98 | 92.53
Unit 29 | 144 | 252 | 6.38 | 57.14

## Slide 7: IRR < 95%, ≥ 100 Scored Intervals – July 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 30 | 96 | 251 | 4.42 | 38.25
Unit 31 | 210 | 244 | 8.24 | 86.07
Unit 33 | 188 | 234 | 1.83 | 80.34
Unit 34 | 216 | 232 | 5.88 | 93.10
Unit 35 | 203 | 227 | 5.62 | 89.43
Unit 37 | 163 | 223 | 7.28 | 73.09
Unit 39 | 202 | 214 | 7.31 | 94.39
Unit 41 | 191 | 205 | 8.41 | 93.17
Unit 44 | 156 | 180 | 8.14 | 86.67
Unit 47 | 138 | 164 | 9.69 | 84.15
Unit 49 | 145 | 161 | 3.66 | 90.06
Unit 52 | 132 | 150 | 2.53 | 88.00
Unit 53 | 132 | 145 | 4.70 | 91.03
Unit 54 | 99 | 144 | 10.14 | 68.75
Unit 59 | 100 | 132 | 6.46 | 75.76
Unit 60 | 101 | 129 | 4.75 | 78.29
Unit 61 | 114 | 127 | 2.69 | 89.76
Unit 63 | 103 | 116 | 5.42 | 88.79

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – July 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 64 | 98 | 108 | 9.33 | 90.74
Unit 65 | 63 | 106 | 1.21 | 59.43