## Slide 1
Review of January RENA
Market Analysis and Validation
CMWG
May 15th, 2023

## Slide 2: Monthly Sum of RENA
Chart: Monthly RENA
Chart: Monthly RENA
| 2021_01 | 2021_02 | 2021_03 | 2021_04 | 2021_05 | 2021_06 | 2021_07 | 2021_08 | 2021_09 | 2021_10 | 2021_11 | 2021_12 | 2022_01 | 2022_02 | 2022_03 | 2022_04 | 2022_05 | 2022_06 | 2022_07 | 2022_08 | 2022_09 | 2022_10 | 2022_11 | 2022_12 | 2023_01
rena | 5414406.52 | -57010461.57 | 15662765.75 | 9977037.01 | 1113330.94 | -2344357.12 | 1729081.9 | 2069008.28 | 3082125.66 | 2992724.41 | 8791548.12 | 9807959.79 | 2925413.6 | 4587053.91 | 12857904.49 | -3050433.4 | 1111300.95 | 427358.35 | -6005541.45 | 1793133.96 | 5569301.19 | 8237864.17 | 10773398.81 | -479198.98 | 14845492.28

## Slide 3: Daily RENA with RT Congestion
The total RENA in January was $14.8M, while the total SCED congestion rent was around $146M
Chart: Daily RENA vs RT Congestion Rent
| 44835 | 44836 | 44837 | 44838 | 44839 | 44840 | 44841 | 44842 | 44843 | 44844 | 44845 | 44846 | 44847 | 44848 | 44849 | 44850 | 44851 | 44852 | 44853 | 44854 | 44855 | 44856 | 44857 | 44858 | 44859 | 44860 | 44861 | 44862 | 44863 | 44864 | 44865
Sum of RT Congestion Rent | 2771825.2225 | 2723266.3212 | 1521773.5933 | 2484873.8453 | 5346121.4545 | 5628801.3514 | 12525502.8228 | 13961590.0089 | 5928847.8949 | 5528887.9411 | 6948336.4374 | 3103938.1823 | 1439652.8867 | 6969797.5633 | 3923140.6227 | 4196298.0885 | 776972.5608 | 3621993.6134 | 992654.9852 | 2544630.7486 | 1659389.4206 | 2327695.7011 | 5969431.3822 | 3550429.6353 | 3270066.1474 | 3655423.873 | 3613317.0891 | 3762955.5861 | 720683.5887 | 19918942.9402 | 4218848.2202
RENA | 466001.04 | 196003.41 | 192177.21 | 19052.92 | 156262.3 | 1193979.6 | 3872735 | 2609717.36 | 533549.66 | 250112.67 | 727226.75 | 643226.2 | 723112.55 | 298314.37 | 526177.39 | 390128.8 | 35888.8 | 66470.6 | 116807.99 | 3705.1 | -116423.69 | 51264.22 | 1329489.51 | 526591.86 | 123965.93 | 142165.74 | -92440.57 | 116416.1 | 133784.91 | -776894.13 | 386922.68

## Slide 4: Daily RENA and estimated DAM oversold
The total estimated DAM oversold amount in January was around
$14.4M
Chart: Estimated DAM oversold vs RENA
| 44927 | 44928 | 44929 | 44930 | 44931 | 44932 | 44933 | 44934 | 44935 | 44936 | 44937 | 44938 | 44939 | 44940 | 44941 | 44942 | 44943 | 44944 | 44945 | 44946 | 44947 | 44948 | 44949 | 44950 | 44951 | 44952 | 44953 | 44954 | 44955 | 44956 | 44957
Sum of oversold | 387232.0516 | 37435.013 | 103288.7558 | -28297.7341 | 102630.4091 | 1001032.7655 | 3807349.1329 | 2515171.6611 | 448007.7729 | 444932.0587 | 787941.7049 | 427025.5564 | 838436.5005 | -530927.9558 | 479159.1952 | 548699.9562 | -18308.006 | 62603.9837 | 105292.227 | -64997.3319 | -160927.3628 | 183491.4497 | 1504939.75 | 985810.5251 | 920261.2419 | 270031.256 | -13768.2414 | 35656.3047 | 24511.2887 | -1144470.8184 | 368440.1272
RENA | 466001.04 | 196003.41 | 192177.21 | 19052.92 | 156262.3 | 1193979.6 | 3872735 | 2609717.36 | 533549.66 | 250112.67 | 727226.75 | 643226.2 | 723112.55 | 298314.37 | 526177.39 | 390128.8 | 35888.8 | 66470.6 | 116807.99 | 3705.1 | -116423.69 | 51264.22 | 1329489.51 | 526591.86 | 123965.93 | 142165.74 | -92440.57 | 116416.1 | 133784.91 | -776894.13 | 386922.68

## Slide 5: ODs 1/06 – 1/08
RENA for 1/06 – 1/08 was approximately $1.2M, $3.9M, and $2.6M, respectively
DAM Oversold for 1/06 – 1/08 was approximately $1M, $3.8M, and $2.5M respectively
DAM oversold was primarily caused by constraint SSKYSB28: 15080__Z for all three days. Oversold on this constraint was caused by a topology difference between DAM and RTM on a nearby 138 kV line. The topology difference was due to a planned outage being delayed multiple times and then rescheduled

## Slide 6: ODs 1/23
RENA for 1/23 was approximately $1.3M and primarily caused by DAM oversold $1M on constraint MRESMCM8: RINCON_WHITE_2_1
Oversold on constraint MRESMCM8: RINCON_WHITE_2_1 was caused by an LDF discrepancy. The LDF discrepancy was caused by a PUN resource outage in the area, however the outage was too short to adjust LDFs

## Slide 7: Summary
The total monthly RENA observed in January 2023 was relatively high, $14.8M. $7.7M RENA was from ODs 1/06 – 1/08
The highest RENA in January was observed on OD 1/07 with $3.9M, which was mostly related to the DAM oversold on constraint SSKYSB28: 15080__Z
The impact from PTP w/links to options was $1.6M for January

## Slide 8: January CRR Balance Account
Chart: Daily CRR value vs DAM congestion Rent
| 44927 | 44928 | 44929 | 44930 | 44931 | 44932 | 44933 | 44934 | 44935 | 44936 | 44937 | 44938 | 44939 | 44940 | 44941 | 44942 | 44943 | 44944 | 44945 | 44946 | 44947 | 44948 | 44949 | 44950 | 44951 | 44952 | 44953 | 44954 | 44955 | 44956 | 44957
Payment/Charge to CRRAH | 2682384.92 | 3956244.98 | 2436931.45 | 3293040.62 | 4395719.17 | 3825085.25 | 3385856.19 | 5102341.5 | 7148255.28 | 6225372.51 | 7207141.6 | 9481579.16 | 4684124.47 | 4071419.35 | 4020774.48 | 3192021.22 | 2369864.6 | 4145789.72 | 1317371.11 | 3247183.81 | 1366812.46 | 1223022.75 | 4287154.05 | 4939169.94 | 2624016.98 | 3327529.59 | 2608905.45 | 3422356.58 | 1918999.51 | 4580257.7 | 13425951.54
DACONGRENT | 3184231.82 | 4398089.38 | 2289709.87 | 3130816.46 | 4291663.59 | 4564257.94 | 3823114.87 | 5280292.57 | 6642180.97 | 5986536.47 | 7881727.46 | 9516348.05 | 6087200.87 | 4651463.22 | 4906644.96 | 3214566.43 | 2861785.48 | 4414532.81 | 1426735.37 | 3376902.31 | 1458989.11 | 1572864.04 | 4682513.05 | 5894392.29 | 3104611.13 | 4041386.51 | 3054770.96 | 3989672.24 | 2317519.52 | 5295657.13 | 15649027.82
Chart: Daily Credit/Charge to CRR Balancing Account
| 44927 | 44928 | 44929 | 44930 | 44931 | 44932 | 44933 | 44934 | 44935 | 44936 | 44937 | 44938 | 44939 | 44940 | 44941 | 44942 | 44943 | 44944 | 44945 | 44946 | 44947 | 44948 | 44949 | 44950 | 44951 | 44952 | 44953 | 44954 | 44955 | 44956 | 44957
DAILY_CREDIT_OR_SHORT | 501846.9 | 441844.4 | -147221.58 | -162224.16 | -104055.58 | 739172.69 | 437258.68 | 177951.07 | -506074.31 | -238836.04 | 674585.86 | 34768.89 | 1403076.4 | 580043.87 | 885870.48 | 22545.21 | 491920.88 | 268743.09 | 109364.26 | 129718.5 | 92176.65 | 349841.29 | 395359 | 955222.35 | 480594.15 | 713856.92 | 445865.51 | 567315.66 | 398520.01 | 715399.43 | 2223076.28