|  |  |  |  |
| --- | --- | --- | --- |
| NOGRR Number | [257](https://www.ercot.com/mktrules/issues/NOGRR257) | NOGRR Title | Removal of Redundant ERS Reporting Requirement |
| Date Posted | August 21, 2023 |
|  |  |
| Requested Resolution  | Normal |
| Nodal Operating Guide Sections Requiring Revision  | 9.1.2, Compliance with Valid Dispatch Instructions |
| Related Documents Requiring Revision/Related Revision Requests | None |
| Revision Description | This Nodal Operating Guide Revision Request (NOGRR) resolves a conflict in Emergency Response Service (ERS) event reporting timelines between the Operating Guide and Protocols by striking the 90-day event reporting requirement in the Operating Guide. |
| Reason for Revision |  Addresses current operational issues. Meets Strategic goals (tied to the [ERCOT Strategic Plan](http://www.ercot.com/content/wcm/lists/144926/ERCOT_Strategic_Plan_2019-2023.pdf) or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain)*(please select all that apply)* |
| Business Case | This NOGRR removes a vague reference to ERS reporting in the Operating Guide, as a more detailed reporting requirement already exists within Protocol Section 8.1.3.1.4, Event Performance Criteria for Emergency Response Service Resources. |

|  |
| --- |
| Sponsor |
| Name | Thelma Garza |
| E-mail Address | thelma.garza@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3936 |
| Cell Number |  |
| Market Segment | Not applicable |

|  |
| --- |
| **Market Rules Staff Contact** |
| **Name** | Cory Phillips |
| **E-Mail Address** | Cory.phillips@ercot.com |
| **Phone Number** | 512-248-6464 |

|  |
| --- |
| Proposed Guide Language Revision |

9.1.2 Compliance with Valid Dispatch Instructions

(1) ERCOT shall produce monthly reports detailing Resource-specific Regulation Service and energy deployment performance, including Load Resources, based on the criteria described in Protocol Section 8.1.1.4.1, Regulation Service and Generation Resource/Controllable Load Resource Energy Deployment Performance.

(2) ERCOT shall produce a report for any system-wide deployment of Load Resources on an event basis, within 90 days after the event occurs and shall post it to the MIS Secure Area.