Date:			August 22, 2023

To:			Technical Advisory Committee (TAC) Representatives

From:			Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: 		Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs recommended for approval by PRS: - NPRR1164, Black Start and Isochronous Control Capable Identification; - NPRR1171, Requirements for DGRs and DESRs on Circuits Subject to Load Shedding; - NPRR1174, Market Participant’s Return of Settlement Funds to ERCOT Following Receipt of Overpayment ; - NPRR1175, Revisions to Market Entry Financial Qualifications and Continued Participation Requirements; - NPRR1185, HDL Override Payment Provisions for Verbal Dispatch Instructions; - NPRR1186, Improvements Prior to the RTC+B Project for Better ESR State of Charge Awareness, Accounting, and Monitoring – URGENT; and - NPRR1189, Updates to Language to Clarify the Allowable Regulation Ancillary Service Trades.

##### Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote and (ii) for NPRRs, ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR1164, Black Start and Isochronous Control Capable Identification Sponsor: ERCOT Proposed Effective Date: Upon system implementation – Priority 2023; Rank 3810 ERCOT Impact Analysis: Between $75K and $125K; no impacts to ERCOT staffing; impacts to Grid Modeling Systems, Energy Management Systems, Resource Integration and Ongoing Operations (RIOO), and Data Management & Analytic Systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR requires that Resource Entities identify whether a physical Resource has the potential capability (even if unverified) to be called upon or used during a black start emergency or if it has the capability for isochronous control, and requires that Resource Entities and Transmission Service Providers (TSPs) identify if a breaker or switch has a Synchroscope or Synchronism Check Relay. This NPRR defines the terms Black Start Capable Resource, Isochronous Control Capable Resource, Synchroscope, and Synchronism Check Relay. PRS Decision: On 7/13/23, PRS voted unanimously to recommend approval of NPRR1164 as submitted. On 8/10/23, PRS voted unanimously to endorse and forward to TAC the 7/13/23 PRS Report and 2/21/23 Impact Analysis for NPRR1164 with a recommended priority of 2023 and rank of 3810. - NPRR1171, Requirements for DGRs and DESRs on Circuits Subject to Load Shedding Sponsor: ERCOT Proposed Effective Date: Upon system implementation – Priority 2024; Rank 4050 ERCOT Impact Analysis: Between $350K and $550K; no impacts to ERCOT staffing; impacts to Market Operation Systems, Energy Management Systems, Data Management & Analytic Systems, and RIOO; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies various reliability requirements for Distribution Generation Resources (DGRs) and Distribution Energy Storage Resources (DESRs) that are seeking qualification to provide Ancillary Service(s) and/or participate in Security-Constrained Economic Dispatch (SCED). PRS Decision: On 7/13/23, PRS voted unanimously to recommend approval of NPRR1171 as submitted. On 8/10/23, PRS voted unanimously to endorse and forward to TAC the 7/13/23 PRS Report and 3/29/23 Impact Analysis for NPRR1171 with a recommended priority of 2024 and rank of 4050. - NPRR1174, Market Participant’s Return of Settlement Funds to ERCOT Following Receipt of Overpayment Sponsor: ERCOT Proposed Effective Date: October 1, 2023 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR establishes a process that will allow a Qualified Scheduling Entity (QSE) or Congestion Revenue Right (CRR) Account Holder to return Settlement funds to ERCOT in the event that the QSE or CRR Account Holder receives an overpayment from ERCOT. PRS Decision: On 7/13/23, PRS voted unanimously to recommend approval of NPRR1174 as amended by the 6/9/23 TPS comments. On 8/10/23, PRS voted unanimously to endorse and forward to TAC the 7/13/23 PRS Report and 4/24/23 Impact Analysis for NPRR1174. - NPRR1175, Revisions to Market Entry Financial Qualifications and Continued Participation Requirements Sponsor: ERCOT Proposed Effective Date: October 1, 2023 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR strengthens ERCOT’s market entry qualification and continued participation requirements for ERCOT Counter-Parties i.e., QSEs and CRR Account Holders, classifies information provided in the background check as Protected Information, modifies application forms for QSEs and CRR Account Holders, and adds a new background check fee to the ERCOT Fee Schedule. PRS Decision: On 7/13/23, PRS voted unanimously to recommend approval of NPRR1175 as amended by the 6/26/23 CFSG comments. On 8/10/23, PRS voted unanimously to endorse and forward to TAC the 7/13/23 PRS Report and 4/25/23 Impact Analysis for NPRR1175. - NPRR1185, HDL Override Payment Provisions for Verbal Dispatch Instructions Sponsor: LCRA Proposed Effective Date: October 1, 2023 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR adds in a provision for recovery of a demonstrable financial loss arising from a Verbal Dispatch Instruction (VDI) to reduce real power output. PRS Decision: On 7/13/23, PRS voted unanimously to recommend approval of NPRR1185 as submitted. On 8/10/23, PRS voted unanimously to endorse and forward to TAC the 7/13/23 PRS Report and 7/18/23 Impact Analysis for NPRR1185. - NPRR1186, Improvements Prior to the RTC+B Project for Better ESR State of Charge Awareness, Accounting, and Monitoring – URGENT Sponsor: ERCOT Proposed Effective Date: Upon system implementation – Priority 2023; Rank 3595 ERCOT Impact Analysis: Between $500K and $700K; no impacts to ERCOT staffing; impacts to Market Operation Systems, Data Management & Analytic Systems, Energy Management Systems, Integration Systems, Grid Modeling Systems, and Grid Decision Support Systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR is the first of two NPRRs that ERCOT has prepared to improve the awareness, accounting, and monitoring of the State of Charge (SOC) for an Energy Storage Resource (ESR). This particular NPRR is for the interim period which is described as the time period before the Real-Time Co-optimization (RTC) & Single-Model ESR (“RTC+B”) project goes live. The target go-live date for the RTC+B project is expected to be several years away and the language and changes in this first NPRR are aimed to strategically improve SOC awareness, accounting, and monitoring with minimal system changes so that the improvements can be in place while the RTC+B project is completed. PRS Decision: On 7/13/23, PRS voted to grant NPRR1186 Urgent status and to table NPRR1186. There were three opposing votes from the Independent Generator (EDP Renewables, Jupiter Power, Eolian) Market Segment and eight abstentions from the Consumer (Occidental), Independent Generator (Tesla), Independent Power Marketer (IPM) (2) (Tenaska, NG Renewables), Independent Retail Electric Provider (IREP) (Chariot Energy), and Municipal (3) (CPS Energy, GEUS, Austin Energy) Market Segments. On 8/10/23, PRS voted to recommend approval of NPRR1186 as amended by the 8/9/23 KCE BRP comments and to forward to TAC NPRR1186 and the 6/22/23 Impact Analysis with a recommended priority of 2023 and rank of 3595. There were three opposing votes from the Independent Generator (Jupiter Power, Eolian, Plus Power) Market Segment and two abstentions from the Independent Generator (Tesla) and IPM (Tenaska) Market Segments. - NPRR1189, Updates to Language to Clarify the Allowable Regulation Ancillary Service Trades Sponsor: ERCOT Proposed Effective Date: Upon implementation of NPRR1136, Updates to Language Regarding a QSE Moving Ancillary Service Responsibility Between Resources ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. (There are no additional impacts to this NPRR beyond what was captured in the Impact Analysis for NPRR1136.) Revision Description: This NPRR makes changes to the grey-boxed NPRR1136 language in Section 4.4.7.3, Ancillary Service Trades, to align the language with existing requirements in paragraph (10) in Section 3.16, Standards for Determining Ancillary Service Quantities, which states that “Resources can only provide FRRS-Up or FRRS-Down if awarded Regulation Service in the Day-Ahead Market (DAM) for that particular Resource, up to the awarded quantity.” PRS Decision: On 7/13/23, PRS voted unanimously to recommend approval of NPRR1189 as submitted. On 8/10/23, PRS voted unanimously to endorse and forward to TAC the 7/13/23 PRS Report and 6/28/23 Impact Analysis for NPRR1189. Revision Requests Rejected None Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR1156, Priority Revision Request Process [Oncor] - NPRR1184, Update to Procedures for Managing Interest on Cash Collateral [Tenaska] - SCR824, Increase File Size and Quantity Limits for RIOO Attachments [Genesis Consolidated Industries] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR1070, Planning Criteria for GTC Exit Solutions [EDF Renewables / Pattern Energy] - NPRR1162, Single Agent Designation for a QSE and its Sub-QSEs for Voice Communications over the ERCOT WAN [ERCOT] - NPRR1170, Capturing Natural Gas Delivery Information for Natural Gas Generation Resources [ERCOT] - NPRR1172, Fuel Adder Definition, Mitigated Offer Caps, and RUC Clawback [ERCOT] - NPRR1179, Fuel Purchase Requirements for Resources Submitting RUC Fuel Costs – URGENT [ERCOT] - NPRR1180, Inclusion of Forecasted Load in Planning Analyses [Oncor] - NPRR1181, Submission of Seasonal Coal and Lignite Inventory Declaration [ERCOT] - NPRR1188, Implement Nodal Dispatch and Energy Settlement for Controllable Load Resources [ERCOT] - NPRR1190, High Dispatch Limit Override Provision for Increased NOIE Load Costs [Joint Sponsors] New Revision Requests Scheduled for Consideration at PRS - NPRR1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater [ERCOT] - NPRR1192, Move OBD to Section 22 – Requirements for Aggregate Load Resource Participation in the ERCOT Markets [ERCOT] - NPRR1193, Related to SMOGRR027, Move OBD to Settlement Metering Operating Guide – EPS Metering Design Proposal [ERCOT] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr https://www.ercot.com/mktrules/issues/scr