## Slide 1
Status of Draft NPRRs for the Capacity, Demand and Reserves Report (CDR)
Pete Warnken
Resource Adequacy
Supply Analysis Working Group
August 25, 2023

## Slide 2: NPRR Status
At least three NPRRs will impact the CDR:
  CDR overhaul
  NPRR 1191, Large Flexible Loads
  NPRR for remaining CDR changes
Draft NPRR language for the CDR overhaul has been prepared for internal ERCOT review; multiple departments and their work processes are impacted
Review NPRR overhaul language at the next SAWG meeting (Sept. 29)
Anticipate filing the NPRR in October

## Slide 3: Elements of the CDR Overhaul NPRR
Elements of the internal draft NPRR language include the following:
  New definitions:
    Effective Load Carrying Capability (ELCC)
    Loss of Load Expectation (LOLE)
    Net Load
    Fully Dispatchable Resource, a new resource attribute
  Quarterly publication schedule and reporting for all seasons
  Five year forecasting period (although data for a longer period may be included as supplemental information)
  Planning Reserve Margin (PRM) reporting for forecasted seasonal peak Load hour and peak Net Load hour
  Risk Period concept, applicable to the calculation of ELCCs and their use for peak Load hour and peak Net Load hour reporting

## Slide 4: Elements of the CDR Overhaul NPRR
  ELCCs
    New section for ELCC study requirement
    Incorporation of ELCCs for capacity contribution calculations
  Reporting of a “Fully Dispatchable Resource” Reserve Margin
  Additional criteria for planned wind, solar and ESRs to qualify for inclusion in Reserve Margins (notice to proceed with interconnection construction and financial security posted)
  Definition of operational capacity to include planned units approved for grid synchronization by the start of a season
  Addition of Energy Storage Resource reporting
    Distinguish ESRs by storage duration categories
  Revision of Emergency Response Service (ERS) capacity estimation
    Reflect all-season reporting
    Break-out of load and generation capacity amounts

## Slide 5: Elements of the CDR Overhaul NPRR
  Incorporation of multiple solar regions for ELCC calculation and geographical solar capacity reporting
  Include a new line item for reporting of “unconfirmed retired” capacity; both confirmed and unconfirmed retired capacity will be reflected in the Planning Reserve Margins
  Changes to various resource line items, such as PUN generator capacity, to reflect Risk Period and all-season reporting
There will be major structural changes to CDR report design to accommodate the changes
  design ideas will be presented at future SAWG meetings

## Slide 6: Follow-up CDR NPRR
Elements of the follow-up NPRR to include, but not be limited to, the following:
  An ELCC for thermal resources, subject to further study
  Inclusion of an Unregistered Distributed Generation line item
  Resource flexibility measures
    See 8/29/2022 SAWG presentation: https://www.ercot.com/files/docs/2022/08/29/3__Dispatchable-Flexible_Resource_Adequacy_Measures_.pptx
An NPRR prep and filing schedule has not been established; this will depend on further discussions with ERCOT staff, the PUCT and Market Participants

## Slide 7: CDR Report Re-design
There will be major structural changes to CDR report design to accommodate the changes
  CDR design ideas will be presented at future SAWG meetings
  Design elements will not be reflected in the Protocols
  Development and roll-out plans for a high-level main report with a link to an interactive dashboard for resource details has yet to be determined