## Slide 1: Operations Working Group Meeting Notes
Chair- Rickey Floyd
Vice-Chair- Theresa Noyes
HITE List Sub-Chair – Pushkar Chhajed
08/17/2023

## Slide 2: ERCOT Updates and System Operation Report
June 27, Peak – 80,787 MW
June Solar Peak – 29,044 MW
July 31, Peak – 82,939
July Solar Peak – 13,547

## Slide 3: Texas Reliability Entity Report
TRE provided an update on upcoming events
  8/23 Quarterly Board and MRC meeting
  8/29 Talk with Texas RE on Oil & Gas industry cybersecurity
  9/13 Annual winter weatherization workshop
  9/21 Talk with Texas RE on Electric-Gas coordination
See TRE and FERC Websites for more information
TRE - https://www.texasre.org/
FERC - https://www.ferc.gov/

## Slide 4: UFLS Review
ERCOT provided results from the UFLS Survey as required by ERCOT Nodal Operating Guides, Section 2.6.1 (2)

## Slide 5: EMS Upgrade Project Update
ERCOT provided an update on the EMS Upgrade project
Closed loop testing is planned time window is between 9/18 – 11/16
Temporary transfer of control during loop testing
Closed loop testing duration is 2 – 4 hours

## Slide 6: NOGRR245 Inverter-Based Resource (IBR) Ride-Through Requirements
ERCOT Expects to file comments in the next few days
ERCOT still want to get this to the board in October

## Slide 7: Review of Major Transmission Element (MTE) Submission and Timeline
T.O.s reviewed their recommendations for removal with OWG
There were no additions recommended
OWG reach consensus on the changes to the MTE/HITE list

## Slide 8: OTWG Update
Manuel Sanchez from Oncor is the new Chair for OTWG
ERCOT Winter Storm Drill will be held on 8/24