APPROVED

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 8000 Metropolis Drive (Building E), Suite 100 – Austin, Texas 78744

Thursday, June 8, 2023 – 9:30 a.m.

| Attendance |  |  |  |
| --- | --- | --- | --- |
| Members: |  |  |  |
| Bowen, Kenneth | CPS Energy |  | Via Teleconference |
| Boyd, Phillip | City of Lewisville |  | Via Teleconference |
| Brackin, Jason | Austin Energy |  | Alt. Rep. for Reza Ebrahimian Via Teleconference |
| Burkhead, Brett | Calpine Corporation |  | Alt. Rep. for Ron Hall Via Teleconference |
| Cochran, Adam | Tenaska Power Services |  | Via Teleconference |
| Gerety, Chris | Texas-New Mexico Power (TNMP) |  | Via Teleconference |
| Kremling, Barry | Guadalupe Valley Electric Cooperative (GVEC) |  |  |
| Kopp, Casey | Broad Reach Power (BRP) |  | Via Teleconference |
| Kota, Kiran | National Grid Renewables (NG Renewables) |  | Via Teleconference |
| Kunkel, Dennis | AEP Service Corporation (AEPSC) |  | Via Teleconference |
| Lee, Billy | Garland Power and Light (GP&L) |  | Via Teleconference |
| Lutrick, Chris | Denton Municipal Electric (DME) |  | Via Teleconference |
| Marr, Daniel | Lower Colorado River Authority (LCRA) |  |  |
| Matt, Kevin | Reliant Energy Retail Services (Reliant) |  | Via Teleconference |
| Person, Paul | South Texas Electric Cooperative (STEC) |  |  |
| Pokharel, Nabaraj | Office of Public Utility Council (OPUC) |  | Via Teleconference |
| Reed, Cyrus | Sierra Club |  | Via Teleconference |
| Reid, Mike | Air Liquide |  | Via Teleconference |
| Rich, Katie | Golden Spread Electric Cooperative (GSEC) |  |  |
| Ricketts, David | Luminant Generation (Luminant) |  | Alt. Rep. for Ian Haley |
| Schmitt, Jennifer | Rhythm Ops |  | Via Teleconference |
| Smith, Chase | Southern Power |  |  |
| Surendran, Resmi | Shell Energy North America (SENA) |  | Via Teleconference |
| Velasquez, Ivan | Oncor Electric Delivery (Oncor) |  | Alt. Rep. for Eithar Nashawati |
| Wittmeyer, Bob | BRP |  | Alt. Rep. for Casey Kopp |
| Woitt, Wes | CenterPoint Energy (CNP) |  |  |
| - Guests: |  |  |  |
| Abbott, Kristin |  | Austin Energy | Via Teleconference |
| Ahn, Sirius |  | Oncor | Via Teleconference |
| Allen, Theresa |  | Avangrid Renewables | Via Teleconference |
| Anderson, Bob |  | Tenaska | Via Teleconference |
| Anderson, Connor |  | AB Power Advisors | Via Teleconference |
| Andrus, Sydney |  | PGR | Via Teleconference |
| Ashley, Kristy |  | CES | Via Teleconference |
| Azari, David |  | Invenergy | Via Teleconference |
| Barnes, Bill |  | Reliant | Via Teleconference |
| Batra-Shrader, Monica |  | Enchanted Rock | Via Teleconference |
| Beckmann, Christian |  | Siemens | Via Teleconference |
| Bertin, Suzanne |  |  | Via Teleconference |
| Blackburn, Don |  | Hunt Energy Network Power | Via Teleconference |
| Blakey, Eric |  | Pedernales Electric Cooperative | Via Teleconference |
| Brackin, Paul |  | Austin Energy | Via Teleconference |
| Bruce, Mark |  | Cratylus Advisors | Via Teleconference |
| Carson, Michael |  |  | Via Teleconference |
| Carter, Cathey |  | GridAxon | Via Teleconference |
| Callender, Hudson |  | CPS Energy | Via Teleconference |
| Chwialkowski, Todd |  | EDF | Via Teleconference |
| Clark, Daniel |  | Scout Clean Energy | Via Teleconference |
| Clifford, Brigid |  | PG Renewables | Via Teleconference |
| Colaco, Elibia |  | Omega | Via Teleconference |
| Coleman, Diana |  | CPS Energy | Via Teleconference |
| Cook, Kristin |  | Southern Power |  |
| Cooksey, Matthew |  | OPUC | Via Teleconference |
| Cox, Jason |  |  | Via Teleconference |
| Craven, Chad |  | Savion Energy | Via Teleconference |
| Dahal, Samir |  | Siemens | Via Teleconference |
| Dernulc, Lawrence |  | Invenergy | Via Teleconference |
| Detelich, David |  | CPS Energy | Via Teleconference |
| Devarajan, Bhargavi |  | BETM | Via Teleconference |
| DeWitt, Charles |  | PEC | Via Teleconference |
| Dharme, Neeraja |  | EDFT | Via Teleconference |
| DiPastena, Phil |  | DME | Via Teleconference |
| Donohoo, Ken |  | APA | Via Teleconference |
| Dreyfus, Mark |  | MD Energy Consulting | Via Teleconference |
| Evans, Doug |  | AEPSC | Via Teleconference |
| Floyd, Rickey |  | Oncor | Via Teleconference |
| Gaire, Kishor |  |  | Via Teleconference |
| Garrett, Bob |  | Key Capture Energy | Via Teleconference |
| Ghanem, Sherryhan |  | PUCT | Via Teleconference |
| Goff, Eric |  |  | Via Teleconference |
| Grieve, Andrew |  | PGR | Via Teleconference |
| Griffith, Scott |  | Duke Energy | Via Teleconference |
| Gross, Blake |  | AEPSC | Via Teleconference |
| Hall, Matthew |  | Invenergy | Via Teleconference |
| Hamer, Neal |  | Invenergy | Via Teleconference |
| Hankins, Laura |  | LCRA | Via Teleconference |
| Headrick, Bridget |  | CES |  |
| Henry, Mark |  | Texas Reliability Entity | Via Teleconference |
| Henson, Martha |  | Oncor |  |
| Hernandez, Rene |  | GVEC | Via Teleconference |
| Hudis, Gabriella |  |  | Via Teleconference |
| Huynh, Thuy |  | Potomac Economics | Via Teleconference |
| Jackson, Jimmy |  | CPS Energy | Via Teleconference |
| Jewell, Michael |  | Jewell and Associates | Via Teleconference |
| Jones, Caitlin |  | AES | Via Teleconference |
| Jones, Liz |  | Oncor | Via Teleconference |
| Jowlabar, Nicholas |  | RWE Renewables | Via Teleconference |
| Katzinski, Oliver |  |  | Via Teleconference |
| Khayat, Maribel |  | CNP | Via Teleconference |
| Khedlekar, Aniruddha |  | LCRA | Via Teleconference |
| Koberlein, Paul |  | LP&L | Via Teleconference |
| Korde, Kshitij |  | NG Renewables | Via Teleconference |
| Koz, Brian |  | Alpha Taraxia | Via Teleconference |
| Kroskey, Tony |  | Brazos | Via Teleconference |
| Lacek, Mollie |  | Talen Energy | Via Teleconference |
| Lasher, Warren |  | Lasher Energy Consulting | Via Teleconference |
| Laughlin, Madeline Gould |  | Enel | Via Teleconference |
| Lee, Jim |  | CNP |  |
| Lotter, Eric |  | GridMonitor | Via Teleconference |
| Lu, Bo |  | Broad Reach Power | Via Teleconference |
| Macaraeg, Tad |  | Stem | Via Teleconference |
| Martin, Collin |  | Oncor | Via Teleconference |
| Maynez, Andres |  | Orsted | Via Teleconference |
| McClellan, Suzi |  | Good Company Associates | Via Teleconference |
| McGinnis, Blair |  | LP&L | Via Teleconference |
| Miller, Alexandra |  | EDFR | Via Teleconference |
| Miller, Tonya |  | TX Solar Power | Via Teleconference |
| Minchew, Christina |  | CTT | Via Teleconference |
| Morris, Sandy |  | WETT | Via Teleconference |
| Narang, Harmeet |  | GE | Via Teleconference |
| Nilchi, Maryam |  | Clear Way Energy | Via Teleconference |
| Nigro, Andrew |  | Invenergy | Via Teleconference |
| Noyes, Theresa |  | LCRA |  |
| Okenfuss, James |  | Savion | Via Teleconference |
| Orr, Rob |  | Lone Star Transmission | Via Teleconference |
| Oxedine, Helen |  | CPS Energy | Via Teleconference |
| Penney, David |  | Texas Reliability Entity | Via Teleconference |
| Pfefferle, Ryan |  | Oxy | Via Teleconference |
| Pietrucha, Doug |  | Texas Advanced Energy | Via Teleconference |
| Prasad, Julian |  | EPE Consulting | Via Teleconference |
| Preas, Dylan |  | LCRA | Via Teleconference |
| Pullela, Suma |  | Orsted | Via Teleconference |
| Pyka, Greg |  | Schneider Engineering | Via Teleconference |
| Quezada, Robert |  | AES | Via Teleconference |
| Ramaswamy, Ramya |  | PUCT | Via Teleconference |
| Ritch, John |  | NextEra Energy |  |
| Robertson, William |  | CPS Energy | Via Teleconference |
| Sakalla, Yasmin |  | Enel | Via Teleconference |
| Sersen, Juliana |  | Baker Botts | Via Teleconference |
| Setzer, Jonas |  | CPS Energy | Via Teleconference |
| Showalter, Dana |  | Plus Power | Via Teleconference |
| Siddiqi, Shams |  | Crescent Power Consulting | Via Teleconference |
| Sims, Chris |  | LP&L | Via Teleconference |
| Sisk, Linden |  |  | Via Teleconference |
| Snellgrove, Jon |  | AEP | Via Teleconference |
| Stanfill, Susan |  | PGR | Via Teleconference |
| Talafha, Waseem |  | Acciona | Via Teleconference |
| Tay, Sing |  | AES | Via Teleconference |
| Thompson, Marie |  | Southern Power | Via Teleconference |
| Uy, Manny |  | Hunt Energy | Via Teleconference |
| Varnell, John |  | Tenaska | Via Teleconference |
| Villarreal, Jose |  | Acciona | Via Teleconference |
| Walcavich, Colin |  | NG Renewables | Via Teleconference |
| Walker, Floyd |  | PUCT | Via Teleconference |
| Wall, Perrin |  | CNP | Via Teleconference |
| Wang, Shawn |  | Enel | Via Teleconference |
| White, Lauri |  | AEP | Via Teleconference |
| Woods, Brad |  | Texas Reliability Entity | Via Teleconference |
| Wyman, Constance |  |  | Via Teleconference |
| Xie, Fei |  | Austin Energy | Via Teleconference |
| Yatar, Jan-Michael |  | CNP | Via Teleconference |
| Zang, Hailing |  | TC Energy | Via Teleconference |
| Zhang, Kevin |  | Austin Energy | Via Teleconference |
| Zhang, Wen |  | Potomac Economics | Via Teleconference |
| Zhen, Shuying |  | GE | Via Teleconference |
| Zong, John |  | EPE Consulting | Via Teleconference |

| ERCOT Staff: |  |  |
| --- | --- | --- |
| Albracht, Brittney |  | Via Teleconference |
| Anderson, Troy |  | Via Teleconference |
| Azeredo, Chris |  | Via Teleconference |
| Billo, Jeff |  | Via Teleconference |
| Boren, Ann |  | Via Teleconference |
| Clifton, Suzy |  |  |
| Du, Pengwei |  | Via Teleconference |
| Fernandes, Jenifer |  | Via Teleconference |
| Fohn, Doug |  | Via Teleconference |
| Gnanam, Prabhu |  | Via Teleconference |
| Golen, Robert |  | Via Teleconference |
| Gravois, Patrick |  | Via Teleconference |
| Guiyab, Rochie |  | Via Teleconference |
| Hahne, Cynthia |  | Via Teleconference |
| Huang, Fred |  |  |
| Jenkins, Darrell |  | Via Teleconference |
| Kang, Sun Wook |  | Via Teleconference |
| Lee, Alex |  | Via Teleconference |
| Levine, Jonathan |  |  |
| Li, Ying |  | Via Teleconference |
| Mago, Nitika |  | Via Teleconference |
| Matlock, Robert |  | Via Teleconference |
| Phillips, Cory |  | Via Teleconference |
| Rainwater, Kim |  |  |
| Schmall, John |  | Via Teleconference |
| Solis, Stephen |  | Via Teleconference |
| Teixeira, Jay |  | Via Teleconference |
| Wasik-Gutierrez, Erin |  |  |
| Yan, Ping |  | Via Teleconference |
| You, Haibo |  | Via Teleconference |

Unless otherwise indicated, all Market Segments participated in the votes.

Katie Rich called the June 8, 2023 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Ms. Rich directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

- Ms. Rich reviewed the agenda.

- Approval of Meeting Minutes (see Key Documents)

- May 4, 2023

Ms. Rich noted that the May 4, 2023 ROS Meeting Minutes could be considered for inclusion in the Combined Ballot.

Technical Advisory Committee (TAC) Update

Ms. Rich reviewed the disposition of items considered at the May 23, 2023 TAC meeting and June 5, 2023 Special TAC meeting.

- ERCOT Reports (See Key Documents)

- Operations Report

Alex Lee summarized the updated April 2023 Operations Report and responded to Market Participant questions and concerns.  Mr. Lee also noted the Major Transmission Elements (MTE) list and submission process was discussed at the July 20, 2023 Operations Working Group (OWG) meeting and encouraged  Transmission Operators to provide comments and advise ERCOT of any proposed additions.

- System Planning Report

- Ping Yan summarized the April 2023 System Planning Report, responded to Market Participant questions and concerns regarding Regional Planning Group (RPG) projects and congestion cost savings tests under review, and encouraged Market Participants to attend future RPG and Planning Working Group (PLWG) meetings to further discuss the issues.

ROS Revision Requests (see Key Documents)

Impact Analysis

Nodal Operating Guide Revision Request (NOGRR) 215, Limit Use of Remedial Action Schemes

Troy Anderson reviewed the 6/7/23 ERCOT comments.  ROS took no action on this item.

NOGRR230, WAN Participant Security

- Market Participants reviewed the 8/11/21 Impact Analysis for NOGRR230.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

NOGRR251, Add Cold Weather Conditions to Template for Emergency Operations Plan

- Market Participants reviewed the 4/17/23 Impact Analysis for NOGRR251.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Planning Guide Revision Request (PGRR) 103, Establish Time Limit for Generator Commissioning Following Approval to Synchronize

- Troy Anderson presented the 6/6/23 Revised Impact Analysis for PGRR103.  Market Participants discussed the appropriate priority and rank for PGRR103.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Language Review

NOGRR252, Related to NPRR1176, Update to EEA Trigger Levels

- Nitika Mago summarized NOGRR252.  Market Participants discussed actions in steady state versus transient state and noted that the OWG has reviewed NOGRR252.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Planning Guide Revision Request (PGRR) 107, Related to NPRR1180, Inclusion of Forecasted Load in Planning Analyses

- Martha Henson summarized PGRR107 and NPRR1180, Inclusion of Forecasted Load in Planning Analyses.  Some Market Participants raised questions regarding how the proposed provisions would apply to areas such as interconnection agreements.  Prabhu Gnanam noted that ERCOT is developing clarifications to PGRR107 and NPRR1180.  Market Participants requested review of the issues by PLWG.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

PGRR108, Related to NPRR1183, ECEII Definition Clarification and Updates to Posting Rules for Certain Documents without ECEII

- Kim Rainwater summarized PGRR108.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

No action was taken on this item.

PGRR105, Deliverability Criteria for DC Tie Imports

- Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

OWG (see Key Documents)

Theresa Noyes reviewed OWG activities.

NPRR1070, Planning Criteria for GTC Exit Solutions

ROS took no action on this item.

NOGRR245, Inverter-Based Resource (IBR) Ride-Through Requirements

Ms. Noyes summarized NOGRR245 discussion at the May 18, 2023 OWG meeting.  Stephen Solis stated that ERCOT is developing additional concepts and clarifications to NOGRR245 based on submitted comments and encouraged Market Participants to attend the June 9, 2023 Inverter-Based Resource Task Force (IBRTF) meeting to further discuss the issues. ROS took no action on this item.

NOGRR247, Change UFLS Stages and Load Relief Amounts

- Ms. Noyes summarized NOGRR247 discussion at the May 18, 2023 OWG meeting and stated that OWG was in consensus to support a recommendation to ROS for NOGRR247 as amended by the 4/27/23 CenterPoint Energy comments.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

NOGRR249, Communication of System Operating Limit Exceedances

Nodal Protocol Revision Request (NPRR) 1171, Requirements for DGRs and DESRs on Circuits Subject to Load Shedding

NOGRR250, Related to NPRR1171, Requirements for DGRs and DESRs on Circuits Subject to Load Shedding

RRGRR035, Related to NPRR1171, Requirements for DGRs and DESRs on Circuits Subject to Load Shedding

ROS took no action on these items.

IBRTF

There was no report for the IBRTF.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents)

Jimmy Jackson reviewed PDCWG activities.

Steady State Working Group (SSWG)

PGRR106, Clarify Projects Included in Transmission Project Information and Tracking (TPIT) Report

Ms. Rich noted the June 7, 2023 SSWG meeting was rescheduled to June 14, 2023.

System Protection Working Group (SPWG)

Jon Snellgrove reviewed SPWG activities.

NPRR1164, Black Start and Isochronous Control Capable Identification

Resource Registration Glossary Revision Request (RRGRR) 033, Related to NPRR1164, Black Start and Isochronous Control Capable Identification

ROS took no action on these items.

Network Data Support Working Group (NDSWG)

Aniruddha Khedlekar reviewed NDSWG activities.

Combined Ballot

Dennis Kunkel moved to approve the Combined Ballot as follows:

- To approve the May 4, 2023 ROS Meeting Minutes as submitted

- To endorse and forward to TAC the 5/4/23 ROS Report and 8/11/21 Impact Analysis for NOGRR230

- To endorse and forward to TAC the 5/4/23 ROS Report and 4/17/23 Impact Analysis for NOGRR251

- To endorse and forward to TAC the 4/6/23 ROS Report and 6/6/23 Revised Impact Analysis for PGRR103 with a recommended priority of 2024 and rank of 4020

- To recommend approval of NOGRR252 as submitted

- To table PGRR107 and refer the issue to PLWG

- To recommend approval of PGRR108 as submitted

- To recommend approval of PGRR105 as submitted

- To recommend approval of NOGRR247 as amended by the 4/27/23 CenterPoint comments

Ivan Velasquez seconded the motion.  The motion carried with one abstention from the Independent Generator (Calpine).  (Please see ballot posted with Key Documents.)

Voltage Profile Working Group (VPWG) (see Key Documents)

Maribel Khayat reviewed VPWG activities, including the ERCOT Generator Voltage Performance Report.  Mr. Solis highlighted the performance issues being discussed at various ROS working groups, reviewed the compliance measurement, noted the ERCOT outreach efforts to Resources not in compliance, and stated ERCOT is developing a list of Resources not meeting the tolerance bands for voltage control to report to the ERCOT Reliability Monitor (ERM) and Public Utility Commission of Texas (PUCT).

Other Business

Review Open Action Items List

Market Participants reviewed the Open Action Items List.

No Report

- Black Start Working Group (BSWG)

- Dynamics Working Group (DWG)

- Operations Training Working Group (OTWG)

- PLWG

Adjournment

Ms. Rich adjourned the June 8, 2023 ROS meeting at 11:40 a.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- https://www.ercot.com/calendar/06082023-ROS-Meeting