## Slide 1: Additional Telemetry required for ESR

## Slide 2: Additional ICCP required for ESR when modeled as both Generation and CLR.
Maximum Operating State of Charge (Only for storage resource modeled as BOTH Generation Resource and Controllable Load Resource) | MXOS | MWh | RealQ | ACMQUN_GENSUB_MXOSUNIT1_MWH
Minimum Operating State of Charge (Only for storage resource modeled as BOTH Generation Resource and Controllable Load Resource) | MNOS | MWh | RealQ | ACMQUN_GENSUB_MNOSUNIT1_MWH
State of Charge (Only for storage resource modeled as BOTH Generation Resource and Controllable Load Resource) | SOC | MWh | RealQ | ACMQUN_GENSUB_SOC_UNIT1_MWH
Maximum Operating Discharge Power Limit (Only for storage resource modeled as BOTH Generation Resource and Controllable Load Resource) | MXDP | MW | RealQ | ACMQUN_GENSUB_MXDPUNIT1_MW
Maximum Operating Charge Power Limit (Only for storage resource modeled as BOTH Generation Resource and Controllable Load Resource) | MXCP | MW | RealQ | ACMQUN_GENSUB_MXCPUNIT1_MW
Found in ICCP handbook, Table 20 ICCP Object Names for Generation Control and Regulation
Data Received from QSEs, subsection for Generation Unit

## Slide 3: Additional ICCP required for ESR when modeled as CLR only.
Maximum Operating State of Charge (Only for storage resource modeled as ONLY Controllable Load Resource) | MXOS | MWh | RealQ | ACLQCLRSUBONE_MXOSLOAD1_MWH
Minimum Operating State of Charge (Only for storage resource modeled as ONLY Controllable Load Resource) | MNOS | MWh | RealQ | ACLQCLRSUBONE_MNOSLOAD1_MWH
State of Charge (Only for storage resource modeled as ONLY Controllable Load Resource) | SOC | MWh | RealQ | ACLQCLRSUBONE_SOC_LOAD1_MWH
Maximum Operating Discharge Power Limit (Only for storage resource modeled as ONLY Controllable Load Resource) | MXDP | MW | RealQ | ACLQCLRSUBONE_MXDPLOAD1_MWH
Maximum Operating Charge Power Limit (Only for storage resource modeled as ONLY Controllable Load Resource) | MXCP | MW | RealQ | ACLQCLRSUBONE_MXCPLOAD1_MWH
Found in ICCP handbook, Table 20 ICCP Object Names for Generation Control and Regulation
Data Received from QSEs. subsection for CLR