## Slide 1: VPWG Update
Chair: Maribel Khayat (CenterPoint Energy)
Vice-Chair: Antonio Cashiola (TNMP)

## Slide 2
Met August 22, 2023
  No voting items on the agenda.
  Winter/Spring 2024 voltage profile study kicked off. Voltage profile expected to be posted by December 1st.
  ERCOT Generator Voltage Performance Report: ERCOT Presented the July Performance Report. The report showed Wind having the worst performance – with non-compliance going from about 8% in May to 12% in July.
  Discussion about including a process in the VPWG Procedure Manual in which TSPs help ERCOT identify co-located Resources which aggregate > 20 MVA to ensure a unique profile is assigned to them.
  Discussion regarding potential impact of transition to Node Breaker model in PSS/E on Voltage Profile Process deferred until 1Q 2024 once cases have been released by ERCOT.
Next Meeting November 7, 2023

## Slide 3: Questions?