John Ritch, WMWG Chair

WMWG 8/4 Meeting Update to WMS on

1. No comments on ERCOT reports
2. ECRS deployment presentation and discussion on 6/20 and 7/10
   1. 6/20 questions were originally related to why so little ECRS capacity that was deployed to sced was dispatched.
      1. ERCOT updated the charts and calculations – the undispatched energy appeared much smaller and could reasonably be explained by congestion or congestion and offers above the system lambda
      2. July 10 – ECRS deployment was in response to emergency overload that wasn’t solving – ERCOT needed to additional capacity in SCED to allow sced to solve the constraint - HRUC wasn’t coming up with a solution
      3. Will be discussed at OWG to determine if there are more surgical approaches than deploying ECRS that can be adopted
3. Capacity monitor view
   1. Stakeholders asked for ERCOT to consider changes to add transparency around ESRs and CLRs and how much AS capacity is being provided by those resources
   2. Nitika will provide a more detailed tutorial and possibly open to adding time stamps on the data fresh
4. NPRR Presentations – updates and educational – no decisions reflecting consensus of WMWG
   1. 1181- Coal and lignite inventory – ERCOT to post response comments
   2. 1188 – Nodal pricing from CLRs – refresher from Sai – lots of comments on adding costs to netted loads and treating them as if they are stand alone loads
      1. No decisions – decision making and deep dive will occur at LFLTF
   3. 1162 – on hold pending SCR – suggest it gets pulled if SCR looks promising
5. Adjourned at 11:22