## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for August 2023

## Slide 2: Non-IRR GREDP < 85% – August 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 371 | 0 | 1 | 0.27 | 0.00

## Slide 3: IRR Summary – August 2023
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 83.91 | 71.07 | 78.27
GREDP Median (%) | 93.75 | 77.92 | 82.03
Average MW Error | 5.19 | 5.18 | 5.81
Median MW Error | 4.80 | 4.84 | 5.07
Total Intervals Scored | 32,665 | 20,140 | 17,780
100+ Intervals Scored | 54 | 272 | 30
Total Intervals Scored Average | 99.59 | 169.24 | 592.67

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – August 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,478 | 2,487 | 5.19 | 99.64
Unit 7 | 1,011 | 1,056 | 3.81 | 95.74
Unit 10 | 921 | 957 | 3.70 | 96.24
Unit 12 | 844 | 853 | 9.59 | 98.94
Unit 14 | 677 | 684 | 4.51 | 98.98
Unit 18 | 552 | 570 | 5.03 | 96.84
Unit 19 | 554 | 566 | 4.94 | 97.88
Unit 20 | 491 | 505 | 5.29 | 97.23
Unit 23 | 446 | 455 | 5.96 | 98.02
Unit 26 | 425 | 441 | 7.12 | 96.37
Unit 27 | 429 | 435 | 3.75 | 98.62
Unit 33 | 275 | 277 | 6.47 | 99.28
Unit 34 | 265 | 274 | 5.69 | 96.72
Unit 37 | 192 | 192 | 3.82 | 100.00
Unit 38 | 178 | 183 | 5.25 | 97.27
Unit 40 | 157 | 165 | 3.67 | 95.15

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – August 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 42 | 147 | 150 | 3.66 | 98.00
Unit 43 | 147 | 150 | 8.25 | 98.00
Unit 44 | 142 | 149 | 7.52 | 95.30
Unit 45 | 137 | 142 | 2.50 | 96.48
Unit 47 | 136 | 139 | 2.32 | 97.84
Unit 51 | 115 | 119 | 5.80 | 96.64
Unit 52 | 111 | 114 | 4.75 | 97.37
Unit 54 | 108 | 108 | 5.52 | 100.00

## Slide 6: IRR < 95%, ≥ 100 Scored Intervals – August 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 1,924 | 2,070 | 3.34 | 92.95
Unit 3 | 1,213 | 1,386 | 6.54 | 87.52
Unit 4 | 1,127 | 1,197 | 4.50 | 94.15
Unit 5 | 1,070 | 1,152 | 5.85 | 92.88
Unit 6 | 1,058 | 1,145 | 10.13 | 92.40
Unit 8 | 710 | 995 | 4.56 | 71.36
Unit 9 | 882 | 984 | 8.65 | 89.63
Unit 11 | 632 | 950 | 7.08 | 66.53
Unit 13 | 728 | 790 | 7.09 | 92.15
Unit 15 | 340 | 656 | 4.94 | 51.83
Unit 16 | 501 | 643 | 2.96 | 77.92
Unit 17 | 451 | 574 | 2.54 | 78.57
Unit 21 | 412 | 497 | 1.49 | 82.90
Unit 22 | 381 | 464 | 8.54 | 82.11
Unit 24 | 402 | 450 | 3.96 | 89.33
Unit 25 | 289 | 446 | 4.44 | 64.80

## Slide 7: IRR < 95%, ≥ 100 Scored Intervals – August 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 28 | 366 | 427 | 3.39 | 85.71
Unit 29 | 308 | 427 | 2.13 | 72.13
Unit 30 | 261 | 404 | 13.58 | 64.60
Unit 31 | 295 | 359 | 5.04 | 82.17
Unit 32 | 275 | 316 | 5.32 | 87.03
Unit 35 | 218 | 266 | 4.76 | 81.95
Unit 36 | 200 | 229 | 5.19 | 87.34
Unit 39 | 97 | 171 | 12.58 | 56.73
Unit 41 | 109 | 151 | 5.10 | 72.19
Unit 46 | 106 | 140 | 2.26 | 75.71
Unit 48 | 78 | 137 | 3.95 | 56.93
Unit 49 | 91 | 121 | 10.93 | 75.21
Unit 50 | 101 | 120 | 6.24 | 84.17
Unit 53 | 67 | 113 | 7.15 | 59.29