## Slide 1: Planning Working Group Update
To
Reliability and Operations Subcommittee
Alexandra Miller, PLWG Chair
Dylan Preas, PLWG Vice-Chair
September 7, 2023

## Slide 2: PLWG Activity Update – 8/15/23
NERC Standard FAC-002-4: Qualified Change for the Purpose of Facility Interconnection
  Ping Yan (ERCOT) provided an update.
    Qualified Change includes new or modified generation and load interconnections; and
    Tier 1 - 4 RPG projects reported in TPIT (projects requiring a Transmission Interconnection Study report (TIS))
    ERCOT will finalize definition and publish a document referencing affected sections of protocols
PGRR 109 – Dynamic Model Review Process Improvement for IBR Modification
  Group had active discussion of concerns and need for clarifications.
  Stakeholders plan to file comments and suggested edits and issue was tabled until September meeting.

## Slide 3: PLWG Activity Update – Open Action Items
PGRR107 – (Related to NPRR 1180) – Inclusion of Forecasted Load in Planning Analyses
  Issue remains tabled pending ERCOT comments on NPRR 1180.
NPRR1180 – Inclusion of Forecasted Load in Planning Analyses
  ERCOT and Oncor plan to submit comments.
  Issue remains tabled
PGRR105 – Deliverability for DC Tie Imports
  Remains tabled at ROS
NPRR1070 – Planning Criteria for GTC Exit Solutions
  Remains tabled as ERCOT expects protocol revision language discussion to resume in September after receiving consultant study results for congestion cost savings test

## Slide 4: Questions?