## Sheet1
Generator Unit Name | Fuel Type | Anticipated Emissions Category Resulting in Output Limitation (e.g., SOx, NOx, Hg, waste water), | Resource Entity Name | County | Zip Code | Unit Code | Summer Net Maximum Sustainable Rating (MW) | Summer Net Minimum Sustainable Rating (MW)
WA Parish Unit 8 | Coal | Opacity | NRG Texas Power LLC | Harris | 77469 | WAP_WAP_G8 | 610 | 153
Bosque Energy Center Block 1 | Natural Gas | NOx, CO, NH3 | Calpine Corporation | Bosque | 76634 | BOSQUESW_CC1 | 224 | 95
Bosque Energy Center Block 2 | Natural Gas | NOx, CO, NH3 | Calpine Corporation | Bosque | 76634 | BOSQUESW_CC2 | 499 | 92
Freestone Energy Center Block 1 | Natural Gas | Nox, CO | Calpine Corporation | Freestone | 75840 | FREC_CC1 | 463 | 132
Freestone Energy Center Block 2 | Natural Gas | Nox, CO | Calpine Corporation | Freestone | 75840 | FREC_CC2 | 458 | 125
Guadalupe Energy Center Block 1 | Natural Gas | Nox, CO | Calpine Corporation | Guadalupe | 78130 | GUADG_G1 | 484 | 103
Guadalupe Energy Center Block 2 | Natural Gas | Nox, CO | Calpine Corporation | Guadalupe | 78130 | GUADG_G2 | 480 | 103
Baytown Energy Center | Natural Gas | NOx, CO, NH3 | Calpine Corporation | Chambers | 77523 | BTE_CC1 | 632.33 | 1
Channel Energy Center | Natural Gas | NOx, CO, NH3 | Calpine Corporation | Harris | 77506 | CHE_CC1 | 612 | 1
Deer Park Energy Center | Natural Gas | NOx, CO, NH3 | Calpine Corporation | Harris | 78660 | DDPEC_CC1 | 1151 | 301
Pasadena Power Plant II | Natural Gas | NOx, CO, NH3 | Calpine Corporation | Harris | 77506 | PASGEN | 499 | 177
Pasadena Power Plant I | Natural Gas | NOx, CO, NH3 | Calpine Corporation | Harris | 77506 | CALPINE COGEN | 189 | 62
Jack A. Fusco Energy Center | Natural Gas | NOx, CO, NH3 | Calpine Corporation | Fort Bend | 77002 | BVE_CC1 | 557 | 147
Texas City Power Plant | Natural Gas | Nox, CO | Calpine Corporation | Galveston | 77590 | TXCTY_CC1 | 366 | 60
Magic Valley Generation Station | Natural Gas | NOx, CO, NH3 | Calpine Corporation | Hidalgo | 78539 | NEDIN_C1 | 666 | 194
Corpus Christi Energy Center | Natural Gas | Nox, CO | Calpine Corporation | Nueces | 78407 | CCEC_C1 | 386 | 4
Hidalgo Energy Center | Natural Gas | Nox, CO | Calpine Corporation | Hidalgo | 78541 | DUKE_CC1 | 466 | 142