## Table 1
REP Solar Questions & TDSP Responses
|  | AEP Texas | CenterPoint | Oncor | Texas New Mexico | Lubbock Power & Light
Power
| Who is responsible for | The customer has responsibility for notification; the customer may authorize the installer to make the notification on its behalf |  |  |  | Same
initial notification?
| What paperwork is required? |  Signed and completed 3- page application  Signed Interconnection Agreement  City / County Inspection Permit  Final Installation photos (3 sets: installed rooftop solar panels, equipment wall, and inverter name plate) |  Signed application for DG  One-line diagrams  Inspection photos  DG service locations |  PUC approved DG application that lists solar equipment or other DG information, one-line diagram and layout sketches  Payment for system upgrades if required  Interconnection Agreement  Permission to Operate (PTO) |  PUC approved DG application that lists solar equipment or other DG information, one-line diagram and layout sketches  Payment for system upgrades if required  Interconnection Agreement  Permission to Operate (PTO) |  Signed and completed Interconnection Agreement and permit
(inverter, panels, etc.)  Signed Interconnection
Agreement
| What is the lead time |  Up to 30 days - from application to PTO  30-60 days – update load profile |  Up to 30 days – from application to PTO  30-60 days – update load profile |  Up to 30 days - from application to PTO  Up to 15 days – meter reprogramming or replacement  30-60 days – update load profile |  Up to 30 business days - from application to PTO  Up to 15 business days - meter replacement  30 – 60 days - update load profile | 30-60 days - from application to system installation 30 days - to update rate & load profile and change meter configuration
from application to
“meter upgrade”?
| Does the TDU recommend | Our efforts are to educate our | When asked, we advise | Oncor does not make any | TNMP does not make any | LP&L does not make any recommendations regarding buyback programs
| contacting a REP for a | customers on the general | customers to contact a REP | recommendations regarding | recommendations regarding
| buyback program? | process of solar | without providing any specific | buyback programs | buyback programs
|  | interconnection | names or companies
1
REP Solar Questions & TDSP Responses
|  | AEP Texas | CenterPoint | Oncor | Texas New Mexico | Lubbock Power & Light
Power
| How does a customer | Customers can contact AEP | CNP contact email address: |  Oncor emails status updates from project portal  Contact Center  Distributed Generation Dept at dg@oncor.com |  Email status updates from portal  Call Center  Distributed Generation group at DG@tnmp.com | Questions regarding the status of the process can be made at customerrelations@mylubbock.us
| check on the status during | Texas DER via email at | Residential_DG@CenterPointE
| any phase? | der_aeptexas@aep.com or | nergy.com
call 361-881-5333 (menu line
for the 5 different areas)
| How does a REP check on | The REP may contact the solar customer
the status during any
phase?
|  |  | The Load Profile will be |  |  | Once the meter has been reconfigured the load profile will be updated
| When does the TDU send |  | updated after the
| the 814_20 notifying of a |  | Interconnection Agreement | Following the first meter cycle | The first meter read date
| profile change? | Following the first meter cycle | date; this can take up to two | after the meter is | following the meter exchange
|  | after the meter is replaced | billing cycles (ERCOT accepts | reprogrammed or replaced
the Load Profile updates only
on a billing read date)
| Is the physical meter | Yes, AEP Texas removes the | Typically, CNP reprograms the | Typically, Oncor reprograms | Yes, the meter is exchanged | Typically the meter is only reconfigured . In some cases the meter might have to be replaced.
| exchanged? | current meter and installs a | existing meter; however, in | the existing meter; however,
|  | Dual Register AMI meter | some cases the meter may be | in some cases the meter may
|  |  | replaced | be replaced
| If not, is an 814_20 still | N/A | No | Yes | N/A | No
sent showing a ‘meter
exchange’ upon itself to
reset the values?
| What safeguards are put | Exception reporting currently | We monitor after submission | Exception reporting currently | Exception reporting currently | We monitor after submission of the 814_20 to ensure the 814_21 is received.
| in place to ensure profiles | exists that identifies cases | of the 814_20 to ensure the | exists that identifies cases | exists that identifies cases
| are updated? | where the load profile has not | 814_21 Accept is received. | where the load profile has not | where the load profile has not
|  | been changed |  | been changed | been changed
2
REP Solar Questions & TDSP Responses
|  | AEP Texas | CenterPoint | Oncor | Texas New Mexico Power | Lubbock Power & Light
| If a TDU fails to update the profile and historical surplus generation is available, will the TDU send updated invoices (cancel/rebills)? | Most cases are resolved directly with the customer without a rebill process | Yes, CNP will resend historical data | Historically, most cases have been resolved directly with the customer without a rebill process; Oncor is creating a process to send a backdated 814_20 with the DG load profile and send the missing DG data with corresponding cancel/rebills | Yes, TNMP will resend historical data | Yes, LP&L will send a backdated 814_20 with the corrected load profile and send the missing DG data with corresponding cancel/rebills. Updated HU will be included in the nightly LSE.
| At what point does the customer no longer need to contact the TDU to find a status update? | Once the surplus generation is reported to the REP, the need for additional information on status should be minimal |  |  |  | Same
| When does surplus generation show in Smart Meter Texas vs. 867_03? | Within a few days of submitting the 814_20 meter change, AEP Texas will begin reporting the surplus generation to SMT; | Within a few days of the meter being reprogrammed, the surplus generation is sent to SMT; | Within a few days of submitting the 814_20 meter change, Oncor will begin reporting the surplus generation to SMT; | Within a few days of submitting the 814_20 meter exchange, TNMP will begin reporting the surplus generation to SMT; | TBD
|  | The surplus generation will be reported on the 867_03 on the first billing cycle following the load profile change | The surplus generation will be reported on the 867_03 on the first billing cycle following the reprogramming of the meter. | The surplus generation will be reported on the 867_03 on the first billing cycle following the load profile change | The surplus generation will be reported on the 867_03 on the first billing cycle following the load profile change
The 814_20 Load Profile change will follow if the ESI ID has billed past the Interconnection Agreement (ICA) date.
3
REP Solar Questions & TDSP Responses
|  | AEP Texas | CenterPoint | Oncor | Texas New Mexico Power | Lubbock Power & Light
| How many billing cycles may it take to send a REP the meter read data for surplus generation? | The surplus generation will be reported on the 867_03 on the first billing cycle following the load profile change | The surplus generation will be reported on the 867_03 on the first billing cycle following the reprogramming of the meter | The surplus generation will be reported on the 867_03 on the first billing cycle following the load profile change | The surplus generation will be reported on the 867_03 on the first billing cycle following the load profile change | The surplus generation will be reported on the 867_03 on the first billing cycle following the reprogramming of the meter
| Does the “upgraded” meter and profile change happen after the Interconnection Agreement is completed? | Yes |  |  |  | Yes, must have completed agreement and passed system inspection
| What begins this timeline? | Signed Application for Distributed Generation
| If a new customer moves into a home with solar panels, will the interconnection agreement transfer to the new customer? | AEP Texas monitors Move-in transactions for our current DG customers; if we receive a Move-in transaction, we will send the new customer a revised interconnection agreement to sign – it will already be populated with the premises’ DG information | It is the customer’s responsibility to provide the Utility with at least 14 day’s written notice of a change in ownership for DG locations; the Utility does monitor Move-in transactions for current DG customers; if a Move-in transaction is received, each Utility works to contact the customer and, once contacted, will send the new customer a revised interconnection agreement to sign (populated with the premises’ known DG information) | Oncor monitors Move-in transactions for our current DG customers; if we receive a Move-in transaction, we will send the new customer a revised interconnection agreement to sign – it will already be populated with the premises’ DG information | TNMP monitors Move-in transactions for our current DG customers; if we receive a Move-in transaction, we will send the new customer a revised interconnection agreement to sign – it will already be populated with the premises’ DG information | LP&L requires a new interconnection agreement with the new customer within 30 days of change in ownership.
4
Note on G7: William Butler: Interconnect Agreement and permit