| NOGRR Number | 245 | NOGRR Title | Inverter-Based Resource (IBR) Ride-Through Requirements |
| --- | --- | --- | --- |

| Date | September 13, 2023 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Thomas Burke |
| E-mail Address | Thomas.burke@rwe.com |
| Company | RWE CE |
| Phone Number | 512 921 0254 |
| Cell Number | 512 921 0254 |
| Market Segment | Independent Generators |

Comments

RWE Clean Energy, LLC (“RWE CE”) owns and operates utility-scale wind, solar and battery resources within ERCOT.

RWE CE appreciates ERCOT’s focus ongoing focus for reliability.

ERCOT has traditionally followed a forward looking approach to new technical requirements.  Standards organization and regulatory authorities across many industries within the United States follow a forward-looking regulatory approach as well.

In the interest of consistency with ERCOT’s past practices and Regulatory practices across the United States, RWE continues to believe ERCOT should sever NOGRR 245 into two NOGRRs as RWE proposed in our April 26th comments.

Separating the NOGRR into one applicable to new generation which can be approved quickly while taking more time to expand the understanding of how the ride through performance of existing IBRs can be improved or workable while the facilities remain in operation

ERCOT has ride through requirements in effect now that effectively prevent the installation and commissioning of new IBRs which don’t perform to existing ERCOT Ride through standards.  As such, the pool of ERCOT IBR generators with the earliest technologies and inability to upgrade to newer ride through standards will not grow if it takes more time for IBR OEM’s to test the upgradeability of existing inverters to ride through more grid disturbances than they currently do.

Additionally, prompt codification of the ride through standards for new IBR Resources after the compliance date will provide OEMs and developers of new IBR Resources to know the ride through targets to achieve and decide whether to move forward with new IBR Resource investments in ERCOT.

Southern and Next Era have developed excellent proposals which address ERCOT’s goal of including new and existing IBR’s within one NOGRR, but bifurcating NOGRR 245 into two NOGRR’s may ultimately deliver an IBR ride through standard which retains more IBR resources and delivers better ride through performance from existing resources than a NOGRR approved with the limited information available at this time.

Revised Cover Page Language

None

Revised Proposed Guide Language

None