APPROVED

Minutes of the Reliability Operations Subcommittee (ROS) Meeting – Webex Only

Thursday, July 6, 2023 – 9:30 a.m.

| Attendance |  |  |  |
| --- | --- | --- | --- |
| Members: |  |  |  |
| Bailey, Bob | Reliant Energy Retail Services (Reliant) |  | Alt. Rep. for Kevin Matt |
| Bonskowski, Ned | Luminant Corporation (Luminant) |  |  |
| Bowen, Kenneth | CPS Energy |  |  |
| Boyd, Phillip | City of Lewisville |  |  |
| Burkhead, Brett | Calpine Corporation |  | Alt. Rep. for Ron Hall Via Teleconference |
| Cochran, Adam | Tenaska Power Services |  |  |
| Cochran, Seth | DC Energy |  |  |
| Cooksey, Matthew | Office of Public Utility Council (OPUC) |  | Alt. Rep. for Nabaraj Pokharel |
| Ee, Danny | Austin Energy |  | Alt. Rep. for Reza Ebrahimian |
| Hendrix Chris | Demand Control 2 |  |  |
| Kremling, Barry | Guadalupe Valley Electric Cooperative (GVEC) |  |  |
| Kopp, Casey | Broad Reach Power (BRP) |  |  |
| Lee, Billy | Garland Power and Light (GP&L) |  |  |
| Lutrick, Chris | Denton Municipal Electric (DME) |  |  |
| Marr, Daniel | Lower Colorado River Authority (LCRA) |  |  |
| Person, Paul | South Texas Electric Cooperative (STEC) |  |  |
| Reed, Cyrus | Sierra Club |  |  |
| Reid, Mike | Air Liquide |  |  |
| Rich, Katie | Golden Spread Electric Cooperative (GSEC) |  |  |
| Roberts, Vincent | Texas-New Mexico Power (TNMP) |  | Alt. Rep. for Chris Gerety |
| Schmitt, Jennifer | Rhythm Ops |  |  |
| Smith, Chase | Southern Power |  |  |
| Springer, Tyler | AEP Service Corporation (AEPSC) |  | Alt. Rep. for Dennis Kunkel |
| Velasquez, Ivan | Oncor Electric Delivery (Oncor) |  | Alt. Rep. for Eithar Nashawati |
| Woitt, Wes | CenterPoint Energy (CNP) |  |  |

The following proxies were assigned:

- Chris Hendrix to Jennifer Schmitt

- Resmi Surendran to Seth Cochran

| - Guests: |  |  |
| --- | --- | --- |
| Abbott, Kristin | Austin Energy |  |
| Ahn, Sirius | Oncor |  |
| Ainspan, Malcolm | NRG |  |
| Allen, Theresa | Avangrid Renewables |  |
| Anderson, Connor | AB Power Advisors |  |
| Azari, David | Invenergy |  |
| Badhan, Devinder | DNV |  |
| Bansal, Apoorva | NextEra Energy |  |
| Batra-Shrader, Monica | Enchanted Rock |  |
| Berry, D. | LCRA |  |
| Bernier, Leo | AES |  |
| Bivens, Carrie | Potomac Economics |  |
| Blakenship, David | CNP |  |
| Blakey, Eric | Pedernales Electric Cooperative |  |
| Block, Lauri | L Block Consulting |  |
| Bruce, Mark | Cratylus Advisors |  |
| Bunch, Kevin | EDF Trading |  |
| Bunyan, Mike | ENGIE |  |
| Burke, Tom | NG Renewables |  |
| Callender, Hudson | CPS Energy |  |
| Carter, Brock | Austin Energy |  |
| Chan, Vanessa | ENEL |  |
| Cheng, Yong | LCRA |  |
| Childress, John | Kwantix |  |
| Chmiel, Gary | GE |  |
| Chwialkowski, Todd | EDF |  |
| Clark, Jack | Next Era Energy |  |
| Colaco, Elibia | Omega |  |
| Cook, Kristin | Southern Power |  |
| Dernulc, Lawrence | Invenergy |  |
| Detelich, David | CPS Energy |  |
| Dharme, Neeraja | EDFT |  |
| Donohoo, Ken | OwlERC LLC |  |
| Dreyfus, Mark | MD Energy Consulting |  |
| Evans, Doug | AEP |  |
| Felhofer, Alexander | Oncor |  |
| Fisher, Jr., Arthur | Grenergy USA |  |
| Floyd, Rickey | Oncor |  |
| Gaire, Kishor |  |  |
| Garcia, Miguel | SMT Energy |  |
| Ghanem, Sherryhan | PUCT |  |
| Ghoshal, Orijit | esVolta |  |
| Glotfelty, Jimmy | PUCT |  |
| Goff, Eric |  |  |
| Greer, Clayton | Cholla |  |
| Griffith, Scott | Duke Energy |  |
| Gross, Blake | AEPSC |  |
| Hall, Matthew | Invenergy |  |
| Hankins, Laura | LCRA |  |
| Haley, Ian | Morgan Stanley |  |
| Harris, Brad | CNP |  |
| Headrick, Bridget | CES |  |
| Henry, Mark | Texas Reliability Entity |  |
| Hernandez, Gaby | AES |  |
| Holt, Blake | LCRA |  |
| Hughes, Lindsey | Broad Reach Power |  |
| Huynh, Thuy | Potomac Economics |  |
| Jewell, Michael | Jewell and Associates |  |
| Jolly, Emily | LCRA |  |
| Jowlabar, Nicholas | RWE Renewables |  |
| Kee, David | CPS Energy |  |
| Korde, Sky | NG Renewables |  |
| Koz, Brian | Alpha Taraxia |  |
| Kroskey, Tony | Brazos |  |
| Lacek, Mollie | Talen Energy |  |
| Lee, Jim | CNP |  |
| Lindsey Aaron | SMT Energy |  |
| Lotter, Eric | GridMonitor |  |
| Loving, Alicia | Austin Energy |  |
| Lu, Bo | Broad Reach Power |  |
| Luckey, Nicole | Invenergy |  |
| Macaraeg, Tad | Stem |  |
| Martinez, Javier | BPUB |  |
| Mattei, Andrew | BEPC |  |
| Mayers, Sharon | Worley |  |
| McClellan, Suzi | Good Company Associates |  |
| McIntyre, Ken | Plus Power |  |
| Mendoza, Albert | Occidental |  |
| Mickey, Joel | Broad Reach Power |  |
| Miller, Alex | EDFR |  |
| Minchew, Christina | CTT |  |
| Morris, Sandy | WETT |  |
| Mulholland, Chad | NRG |  |
| Musher, Danny | Key Capture Energy |  |
| Naik, Harsh | Oncor |  |
| Narang, Harmeet | GE |  |
| Nguyen, Andy | Constellation Energy |  |
| Nguyen, Lan | CNP |  |
| Noyes, Theresa | LCRA |  |
| Panchamia, Harsh |  |  |
| Parvathaneni, Sirisha | Oncor |  |
| Paxson, Robert |  |  |
| Pfefferle, Ryan | Oxy |  |
| Preas, Dylan | LCRA TSC |  |
| Pullela, Suma | Orsted |  |
| Pyka, Greg | Schneider Engineering |  |
| Quezada, Robert | AES |  |
| Ramaswamy, Ramya | PUCT |  |
| Ratliff, Shannon |  |  |
| Reed, Ronald | CNP |  |
| Reedy, Steve | CIM Consulting |  |
| Richmond, Michele | Competitive Power |  |
| Ritch, John | NextEra Energy |  |
| Robertson, William | CPS Energy |  |
| Ryall, Jean |  |  |
| Sams, Bryan | Calpine |  |
| Sersen, Juliana | Baker Botts |  |
| Shaffer, Jarred | Office of Texas Governor Greg Abbott |  |
| Sharma Frank, Arushi | Tesla |  |
| Showalter, Dana | Plus Power |  |
| Siddiqi, Shams | Crescent Power Consulting |  |
| Sills, K. | GP&L |  |
| Sisk, Linden |  |  |
| Smith, Caitlin | Jupiter Power |  |
| Smith, Stephanie | Eolian Energy |  |
| Spotts, David | SMT Energy |  |
| Tassani, Peter | Oncor |  |
| Thompson, Marie | Southern Power |  |
| Tovar, Matt | Oncor |  |
| Varnell, John | Tenaska |  |
| Walcavich, Colin | NG Renewables |  |
| Walker, Floyd | PUCT |  |
| Wall, Perrin | CNP |  |
| Wang, Shawn | Enel |  |
| White, Lauri | AEP |  |
| Wichers, Joshua | AEP |  |
| Williams, Wes | BTU |  |
| Wittmeyer, Bob | Longhorn Power |  |
| Wolf, Craig | RES |  |
| Wu, Tiffany | PUCT |  |
| Wyman, Constance |  |  |
| Zang, Hailing | TC Energy |  |
| Zhang, Matt | Austin Energy |  |
| Zhang, Wen | Potomac Economics |  |
| ERCOT Staff: |  |  |
| Albracht, Brittney |  |  |
| Anderson, Troy |  |  |
| Azeredo, Chris |  |  |
| Bigbee, Nathan |  |  |
| Billo, Jeff |  |  |
| Boren, Ann |  |  |
| Carswell, Cory |  |  |
| Cheng, Yunzhi |  |  |
| Chu, Zhengguo |  |  |
| Clifton, Suzy |  |  |
| Cyphers, Darrell |  |  |
| Danielson, Christian |  |  |
| Du, Pengwei |  |  |
| Garcia, Freddy |  |  |
| Gnanam, Prabhu |  |  |
| Golen, Robert |  |  |
| Gorman, Greg |  |  |
| Guiyab, Rochie |  |  |
| Hahne, Cynthia |  |  |
| Huang, Fred |  |  |
| Kang, Sun Wook |  |  |
| King, Ryan |  |  |
| Luker, Bryan |  |  |
| Maggio, Dave |  |  |
| Mago, Nitika |  |  |
| Matlock, Robert |  |  |
| Meier, Eric |  |  |
| Mereness, Matt |  |  |
| Moorty, Sai |  |  |
| Moreno, Alfredo |  |  |
| Phillips, Cory |  |  |
| Rainwater, Kim |  |  |
| Ragsdale, Kenneth |  |  |
| Schmall, John |  |  |
| Schmidt, Matthew |  |  |
| Shaw, Pamela |  |  |
| Solis, Stephen |  |  |
| Stice, Clayton |  |  |
| Thompson, Chad |  |  |
| Troublefield, Jordan |  |  |
| Wasik-Gutierrez, Erin |  |  |
| Yan, Ping |  |  |
| You, Haibo |  |  |

Unless otherwise indicated, all Market Segments participated in the votes.

Chase Smith called the July 6, 2023 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Smith directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

- Mr. Smith reviewed the agenda.

Technical Advisory Committee (TAC) Update

Meeting Administration Requests

Mr. Chase reviewed the disposition of items considered at the June 27, 2023 TAC meeting and summarized the TAC discussion regarding meeting administration, including the Public Utility Commission of Texas (PUCT) Staff request that working group and task force agendas and materials be posted seven days prior to the meeting date, that any meeting cancellations or changes to hybrid or Webex-only meetings be communicated to the appropriate ERCOT ListServ, and that combined ballots be used for unanimous items only.  Freddy Garcia noted the concerns of working group and task force leadership for confidential information discussed in closed meetings; offered to discuss the posting request further with ROS leadership; and proposed posting broad topics on the agenda so stakeholders have transparency into what is being discussed and if applicable, have an opportunity to sign the appropriate ERCOT Non-Disclosure Agreement (NDA) and receive approval from ERCOT.

ERCOT Load Forecast

Mr. Smith noted the TAC assignment to review the ERCOT Load forecast information displayed on the dashboard on ercot.com.  Eric Goff summarized discussion at the June 27, 2023 TAC meeting, including the concerns of the usefulness of publishing high Load forecasts and potential confusion for the public.  Mr. Chase and Ms. Rich offered to further discuss the concern raised by Mr. Goff with him and return to ROS for consideration of the appropriate forum to discuss the issues.

- ERCOT Reports (see Key Documents)

- Operations Report

Mr. Garcia summarized the May 2023 Operations Report.

- System Planning Report

- Robert Golen summarized the May 2023 System Planning Report.

- ERCOT Contingency Reserve Service (ECRS) Update

Nitika Mago summarized the ECRS discussion at the June 27, 2023 TAC meeting and noted the TAC assignment for ROS to review the following issues:

- setting appropriate volumes for ECRS;

- duration concerns and battery participation;

- adding the reason for ECRS deployments in operations communications; and

- providing data on aggregate basis prior to 60 day deployment.

Ms. Mago reviewed the ECRS software migration timeline and observations and presented the analysis for ECRS deployment by Resource type.  Ms. Mago summarized ECRS deployments to date, highlighted follow up questions from TAC for ROS, and stated that ERCOT would support future discussion and analysis of ECRS at the desired forum.  Mr. Smith requested ERCOT provide periodic updates on ECRS deployments so that ROS could further review the issues.

Nodal Protocol Revision Request (NPRR) 1186, Improvements Prior to the RTC+B Project for Better ESR State of Charge Awareness, Accounting, and Monitoring – Urgent (see Key Documents)

Ms. Mago provided an overview of NPRR1186 and the request for Urgent Status and summarized discussion of the concepts at the June 22, 2023 workshop regarding changes to improve monitoring and/or modeling of Energy Storage Resources (ESRs) in ERCOT.  In response to Market Participants’ concerns on the urgency request, new framework for computing State of Charge (SOC) requirements, and requests asking for additional time to review the issues, Ms. Mago noted that ERCOT intended to work with stakeholders to establish values of each parameter in the new framework to mitigate the performance risks that ERCOT observes while allowing optimal use of the ESRs during an Operating Hour.  Ms. Mago stated that ERCOT anticipated filing additional clarifications on the SOC requirements before the July 13, 2023 Protocol Revision Subcommittee (PRS) meeting.

Cyrus Reed moved to request PRS table NPRR1186 for further review by the Performance Disturbance Compliance Working Group (PDCWG).  Market Participants discussed the appropriate forum to review NPRR1186, noted the potential consideration of NPRR1186 at the July 12, 2023 Wholesale Market Subcommittee (WMS) meeting, reviewed the Revision Request timeline, and requested consideration of an additional workshop.  Ms. Mago offered to host a workshop to discuss NPRR1186 and associated potential improvements prior to the Real-Time Co-optimization (RTC) & Single-Model ESR (“RTC+B”) project and provide examples of how the SOC requirements will be applied in practice.  Mr. Reed withdrew the motion.  ROS took no action on this item.

New PRS Referrals (see Key Documents)

NPRR1180, Inclusion of Forecasted Load in Planning Analyses

- Ivan Velasquez provided an overview of NPRR1180 and noted that the Planning Group (PLWG) was reviewing Planning Guide Revision Request (PGRR) 107, Related to NPRR1180, Inclusion of Forecasted Load in Planning Analyses.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

ROS Revision Requests (see Key Documents)

Impact Analysis

Nodal Operating Guide Revision Request (NOGRR) 215, Limit Use of Remedial Action Schemes

- Mr. Garcia provided an overview of the 6/27/23 Revised Impact Analysis for NOGRR215 and confirmed that, if a contingency triggers a Remedial Action Scheme (RAS), then all overloaded elements will be ignored in the Day-Ahead Market (DAM).  Troy Anderson proposed prioritization after completion of the Real-Time Co-Optimization (RTC) project and an associated Priority/Rank of 2027/4800 and assured Market Participants that ERCOT would remain mindful of NOGRR215 requirements during RTC project execution.  Market Participants agreed to table NOGRR215 to provide ERCOT time to determine which edits can be made effective shortly following PUCT approval ahead of those edits requiring a project for implementation..  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

NOGRR247, Change UFLS Stages and Load Relief Amounts

- Market Participants reviewed the 2/15/23 Impact Analysis for NOGRR247.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

NOGRR252, Related to NPRR1176, Update to EEA Trigger Levels

- Market Participants reviewed the 4/25/23 Impact Analysis for NOGRR252.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

PGRR105, Deliverability Criteria for DC Tie Imports

- Market Participants raised concerns regarding cost allocation and requested to table PGRR105 to give ERCOT an opportunity to provide clarification on PUCT directives in its order concerning the DC Tie project proposed by Southern Cross.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

PGRR108, Related to NPRR1183, ECEII Definition Clarification and Updates to Posting Rules for Certain Documents without ECEII

- Market Participants reviewed the 5/24/23 Impact Analysis for PGRR108.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

No action was taken on this item.

Operations Working Group (OWG) (see Key Documents)

Theresa Noyes reviewed OWG activities and summarized the Major Transmission Element (MTE) submission process and timeline for consideration at the September 6, 2023 WMS meeting, September 7, 2023 ROS meeting, and September 26, 2023 TAC meeting.

NPRR1070, Planning Criteria for GTC Exit Solutions

ROS took no action on this item.

NOGRR245, Inverter-Based Resource (IBR) Ride-Through Requirements

Ms. Noyes summarized NOGRR245 discussion at the June 22, 2023 OWG meeting.  Stephen Solis

reviewed the 6/22/23 ERCOT comments to NOGRR245, requested Market Participants file written clarifications on top of the comments, and encouraged Market Participants to attend the July 7, 2023 Inverter-Based Resource Task Force (IBRTF) meeting to further discuss the issues.  ROS took no action on this item.

NOGRR249, Communication of System Operating Limit Exceedances

- Ms. Noyes summarized NOGRR249 discussion at the June 22, 2023 OWG meeting and stated that OWG was in consensus to support a recommendation to ROS for NOGRR249 as amended by the 6/27/23 OWG  comments.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

NPRR1171, Requirements for DGRs and DESRs on Circuits Subject to Load Shedding

NOGRR250, Related to NPRR1171, Requirements for DGRs and DESRs on Circuits Subject to Load Shedding

Resource Registration Glossary Revision Request (RRGRR) 035, Related to NPRR1171, Requirements for DGRs and DESRs on Circuits Subject to Load Shedding

- Ms. Noyes summarized NPRR1171, NOGRR250, RRGRR035 discussion at the June 22, 2023 OWG meeting and stated that OWG was in consensus to support a recommendation to endorse NPRR1171 as submitted, and advance the related NOGRR250 and RRGRR035.  Mr. Smith noted these items could be considered for inclusion in the Combined Ballot.

Dynamics Working Group (DWG) (see Key Documents)

Javier Martinez reviewed DWG activities, summarized NOGRR245 discussion at the June 29, 2023 DWG meeting, and stated that DWG was in was in consensus to support a recommendation to ROS for NOGRR245.

IBRTF

Disband IBRTF

- Mr. Solis summarized IBRTF activities, including the recognition of the need for a working group due to ongoing efforts for mitigation measures for IBR events, and Protocol and guide enhancements to address gaps with the Institute of Electrical and Electronics Engineers (IEEE) Standard for Interconnection and Interoperability of Inverter-Based Resources (IBRs) Interconnecting with Associated Transmission Electric Power Systems (“IEEE 2800-2022 standard”).  Market Participants expressed support to disband the IBRTF, effective July 14, 2023 in consideration of the July 7, 2023 IBRTF meeting.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Inverter Based Resources Working Group (IBRWG) (see Key Documents)

IBRWG Scope

IBRWG Leadership

- Mr. Garcia presented the IBRWG Scope and nominations of Mohammad Albaijat, Bridgelink Investments as IBRWG Chair and Julia Matevosyan, ESIG for IBRWG Vice Chair for ROS consideration.  Market Participants expressed support for the creation of the IBRWG, IBRWG Scope, and IBRWG leadership as submitted with an effective date of July 14, 2023.  Mr. Smith noted these items could be considered for inclusion in the Combined Ballot.

ROS Procedures (see Key Documents)

- Mr. Chase presented the ROS Procedures revised to include the IBRWG and administrative edits and noted this item could be considered for inclusion in the Combined Ballot.

PLWG (See Key Documents)

Alex Miller reviewed PLWG activities and summarized the previous PLWG review of PGRR105.

PGRR107, Related to NPRR1180, Inclusion of Forecasted Load in Planning Analyses

ROS took no action on this item.

Steady State Working Group (SSWG)

Josh Wichers reviewed SSWG activities.

PGRR106, Clarify Projects Included in Transmission Project Information and Tracking (TPIT) Report

ROS took no action on this item.

System Protection Working Group (SPWG)

Andrew Mattei reviewed SPWG activities and noted that SPWG was in was in consensus to support a recommendation to ROS for NPRR1164, Black Start and Isochronous Control Capable Identification.

Network Data Support Working Group (NDSWG)

NPRR1164

Resource Registration Glossary Revision Request (RRGRR) 033, Related to NPRR1164, Black Start and Isochronous Control Capable Identification

- Mr. Smith noted that SPWG was in consensus to support a recommendation to ROS for NPRR164 and RRGRR033 and these items could be considered for inclusion in the Combined Ballot.

Combined Ballot

Daniel Marr moved to approve the Combined Ballot as follows:

- To request PRS continue to table NPRR1180 for further review by PLWG

- To table NOGRR215

- To endorse and forward to TAC the 6/8/23 ROS Report and 2/15/23 Impact Analysis for NOGRR247

- To endorse and forward to TAC the 6/8/23 ROS Report and 4/25/23 Impact Analysis for NOGRR252

- To table PGRR105

- To endorse and forward to TAC the 6/8/23 ROS Report and 5/24/23 Impact Analysis for PGRR108

- To recommend approval of NOGRR249 as amended by the 6/27/23 OWG comments

- To endorse NPRR1171 as submitted

- To recommend approval of NOGRR250 as submitted

- To recommend approval of RRGRR035 as submitted

- To disband IBRTF effective July 14, 2023

- To approve the creation of IBRWG

- To approve the IBRTF Scope as submitted effective July 14, 2023

- To endorse Mohammed Albaijat, Bridge Links Investments as Chair and Julia Matevosyan, ESIG as Vice Chair of the IBRWG

- To recommend approval of the ROS Procedures as submitted

- To endorse NPRR1164 as submitted

- To recommend approval of RRGRR033 as submitted

Paul Person seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

PDCWG (see Key Documents)

Chad Mulholland reviewed PDCWG activities.

Other Business (see Key Documents)

NOGRR255, High Resolution Data Requirements

Mr. Solis provided an overview of NOGRR255, noted the concepts were discussed at previous SPWG and DWG meetings, and requested an informal review of the issues by ROS working groups prior to the August 3, 2023 ROS meeting.  Mr. Smith requested SPWG, PDCWG, IBRWG, DWG, and OWG review the issues.

2024 Meeting Schedule

Mr. Smith presented the 2024 Meeting Schedule for Stakeholder review and stated that ROS would confirm the 2024 ROS meeting dates at the August 3, 2023 ROS meeting.

Review Open Action Items List

Market Participants reviewed the Open Action Items List and in consideration of ROS action on NOGRR215, removed the following item:

- ROS Assignments from the August 21, 2020 Transmission for Generation Workshop

Joint Meeting with OWG/CMWG

- ERCOT requested stakeholders provide ideas on non-discriminatory criteria that could be used to allow a limited number of RASs and avoid ERCOT’s identified concerns

- Stakeholders requested ERCOT provide historic information on RAS mis-operations and failures to operate

No Report

- Black Start Working Group (BSWG)

- Operations Training Working Group (OTWG)

- Voltage Profile Working Group (VPWG)

Adjournment

Mr. Smith adjourned the July 6, 2023 ROS meeting at 2:52 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- https://www.ercot.com/calendar/06082023-ROS-Meeting