APPROVED

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 8000 Metropolis Drive (Building E), Suite 100 – Austin, Texas 78744

Thursday, August 3, 2023 – 9:30 a.m.

| Attendance |  |  |  |
| --- | --- | --- | --- |
| Members: |  |  |  |
| Bonskowski, Ned | Luminant Corporation (Luminant) |  |  |
| Boyd, Phillip | City of Lewisville |  | Via Teleconference |
| Cochran, Seth | DC Energy |  |  |
| Downey, Marty | Luminant Corporation (Luminant) |  | Alt. Rep. for Ned Bonskowski |
| Ee, Danny | Austin Energy |  | Alt. Rep. for Reza Ebrahimian |
| Gerety, Chris | Texas-New Mexico Power (TNMP) |  | Via Teleconference |
| Hall, Ron | Calpine Corporation (Calpine) |  | Via Teleconference |
| Hendrix Chris | Demand Control 2 |  |  |
| Holt, Blake | Lower Colorado River Authority (LCRA) |  | Alt. Rep. for Daniel Marr |
| Jackson, Jimmy | CPS Energy |  | Alt. Rep. for Kenneth Bowen via Teleconference |
| Kremling, Barry | Guadalupe Valley Electric Cooperative (GVEC) |  |  |
| Kopp, Casey | Broad Reach Power (BRP) |  | Via Teleconference |
| Kota, Kiran | National Grid Renewables (NG Renewables) |  | Via Teleconference |
| Kunkel, Dennis | AEP Service Corporation (AEPSC) |  | Via Teleconference |
| Lee, Billy | Garland Power and Light (GP&L) |  | Via Teleconference |
| Lutrick, Chris | Denton Municipal Electric (DME) |  | Via Teleconference |
| Matt, Kevin | Reliant Energy Retail Services (Reliant) |  | Via Teleconference |
| Nashawati, Eithar | Oncor Electric Delivery (Oncor) |  | Via Teleconference |
| Okenfuss, James | Shell Energy North America (SENA) |  | Alt. Rep. for Resmi Surendran |
| Person, Paul | South Texas Electric Cooperative (STEC) |  |  |
| Pokharel, Nabaraj | Office of Public Utility Council (OPUC) |  | Via Teleconference |
| Reed, Cyrus | Sierra Club |  |  |
| Reid, Mike | Air Liquide |  |  |
| Rich, Katie | Golden Spread Electric Cooperative (GSEC) |  |  |
| Schmitt, Jennifer | Rhythm Ops |  | Via Teleconference |
| Smith, Chase | Southern Power |  |  |
| Varnell, John | Tenaska Power Services (Tenaska) |  | Alt. Rep. for Adam Cochran |
| Surendran, Resmi | SENA |  |  |
| Woitt, Wes | CenterPoint Energy (CNP) |  | Via Teleconference |

| - Guests: |  |  |
| --- | --- | --- |
| Abbott, Kristin | Austin Energy | Via Teleconference |
| Ahn, Sirius | Oncor | Via Teleconference |
| Allen, Theresa | Avangrid Renewables | Via Teleconference |
| Anderson, Connor | AB Power Advisors | Via Teleconference |
| Anderson, Lyrae | Akuo Energy | Via Teleconference |
| Andrews, Cameron | Austin Energy | Via Teleconference |
| Ashley, Kristy | CES | Via Teleconference |
| Azari, David | Invenergy | Via Teleconference |
| Bacalao, Nelson | Siemens | Via Teleconference |
| Bansal, Apoorva | NextEra Energy | Via Teleconference |
| Barr, Bill | LCRA | Via Teleconference |
| Beckman, Kara | Pattern Energy | Via Teleconference |
| Berry, D. | LCRA |  |
| Blakey, Eric | Pedernales Electric Cooperative |  |
| Block, Lauri | TSPA |  |
| Boggs, Callie | Eric Winters Goff, LLC | Via Teleconference |
| Boms, Matt | TAEBA |  |
| Borskey, Chrissy | GE | Via Teleconference |
| Bruce, Mark | Cratylus Advisors | Via Teleconference |
| Bunch, Kevin | EDF Trading | Via Teleconference |
| Burke, Tom | NG Renewables | Via Teleconference |
| Calcagni, Anthony | DC Energy | Via Teleconference |
| Carter, Cathy | GridAxon | Via Teleconference |
| Cheng, Yong | LCRA | Via Teleconference |
| Chmiel, Gary | GE | Via Teleconference |
| Chwialkowski, Todd | EDF | Via Teleconference |
| Clark, Jack | Next Era Energy | Via Teleconference |
| Colaco, Elibia | Omega | Via Teleconference |
| Cook, Kristin | Southern Power |  |
| Cooksey, Matthew | OPUC | Via Teleconference |
| Cox, Jason | EQ Energy Advisors | Via Teleconference |
| Crews, Curtis | Texas Reliability Entity | Via Teleconference |
| De La Garza, Mario | Texas Reliability Entity | Via Teleconference |
| DeLeon, Seth | DME Power | Via Teleconference |
| Demian, Nadeem | Blue Star Energy Capital | Via Teleconference |
| Dernulc, Lawrence | Invenergy | Via Teleconference |
| Detelich, David | CPS Energy | Via Teleconference |
| DeWitt, Charles | PEC | Via Teleconference |
| Donohoo, Ken | APA |  |
| Egunjobi, Ransome | Enel | Via Teleconference |
| Embrey, Tammy | Invenergy | Via Teleconference |
| Esparza, Doug | OCI Solar Power | Via Teleconference |
| Evans, Doug | AEP | Via Teleconference |
| Floyd, Rickey | Oncor | Via Teleconference |
| Gaire, Kishor | CC Renew | Via Teleconference |
| Garrett, Bob | Key Capture Energy | Via Teleconference |
| Gaytan, Jose | DME | Via Teleconference |
| George, Sini | Got Rhythm | Via Teleconference |
| Ghoshal, Orijit | esVolta | Via Teleconference |
| Godly, Kevin |  | Via Teleconference |
| Goff, Eric | Goff Policy |  |
| Gomez, Juan | Up Time Solar | Via Teleconference |
| Gonsales, Sergio | AES | Via Teleconference |
| Griffith, Scott |  | Via Teleconference |
| Gross, Blake | AEPSC | Via Teleconference |
| Hall, Matthew | Invenergy | Via Teleconference |
| Hale, Josh | Southern Power | Via Teleconference |
| Haley, Ian | Morgan Stanley |  |
| Hamer, Neal | Invenergy | Via Teleconference |
| Helton, Bob | Engie North America | Via Teleconference |
| Henderson, Norris | FERC | Via Teleconference |
| Henry, Mark | Texas Reliability Entity |  |
| Henson, Martha | Oncor |  |
| Hernandez, Rene | GVEC | Via Teleconference |
| Hughes, Lindsey | Broad Reach Power | Via Teleconference |
| Johnson, Stephen | DME | Via Teleconference |
| Jones, Caitlin | AES | Via Teleconference |
| Khayat, Maribel | CNP | Via Teleconference |
| Kilroy, Taylor | TPPA | Via Teleconference |
| Koberlein, Paul | LP&L | Via Teleconference |
| Korde, Sky | NG Renewables | Via Teleconference |
| Koz, Brian |  | Via Teleconference |
| Lacek, Mollie | Talen Energy | Via Teleconference |
| Lasher, Warren | Lasher Energy | Via Teleconference |
| Lee, Jim | CNP |  |
| Litchev, Petar | Eolian Energy | Via Teleconference |
| Lotter, Eric | GridMonitor | Via Teleconference |
| Loving, Alicia | Austin Energy | Via Teleconference |
| Lu, Bo | Broad Reach Power | Via Teleconference |
| Luckey, Nicole | Invenergy | Via Teleconference |
| Martin, Collin | Oncor | Via Teleconference |
| Mattei, Andrew | BEPC | Via Teleconference |
| McChesney, Mark | Oncor | Via Teleconference |
| McClellan, Suzi | Good Company Associates | Via Teleconference |
| Miller, Alex | EDFR | Via Teleconference |
| Mitasev, Alex | Avangrid | Via Teleconference |
| Mohammed, Omer Siddiqui | CPS Energy | Via Teleconference |
| Morris, Sandy | WETT |  |
| Narang, Harmeet | GE | Via Teleconference |
| Nigro, Andrew | Invenergy | Via Teleconference |
| Nix, Emma | Leeward Renewable Energy | Via Teleconference |
| Noyes, Theresa | LCRA |  |
| Palani, Ananth | GP&L | Via Teleconference |
| Pallarez, Edward | ETT | Via Teleconference |
| Pearson, Arthur | Blue Print Power | Via Teleconference |
| Penney, David | Texas Reliability Entity | Via Teleconference |
| Pietrucha, Doug | Texas Advanced Energy | Via Teleconference |
| Plautz, Jason | E&E News | Via Teleconference |
| Preas, Dylan | LCRA TSC |  |
| Promubol, Jim | SENA | Via Teleconference |
| Pullela, Suma | Orsted | Via Teleconference |
| Ramaswamy, Ramya | PUCT | Via Teleconference |
| Reed, Ronald | CNP | Via Teleconference |
| Reedy, Steve | CIM View Consulting |  |
| Ritch, John | NextEra Energy | Via Teleconference |
| Russell, Derek | AES | Via Teleconference |
| Sakalla, Yasmin | Enel | Via Teleconference |
| Sersen, Juliana | Baker Botts | Via Teleconference |
| Siddiqi, Shams | Crescent Power Consulting | Via Teleconference |
| Sills, K. | GP&L | Via Teleconference |
| Sirius, Ahn | Oncor | Via Teleconference |
| Stanfill, Susan | PGR | Via Teleconference |
| Stinson, Tyler | Duke Energy | Via Teleconference |
| Tay, Sing | AES | Via Teleconference |
| Thompson, Marie | Southern Power | Via Teleconference |
| Tovar, Matt | Oncor | Via Teleconference |
| Uy, Manny | Hunt Energy | Via Teleconference |
| Walker, Zachary | Oncor | Via Teleconference |
| Wall, Perrin | CNP | Via Teleconference |
| White, Lauri | AEP Texas | Via Teleconference |
| Wichers, Josh | AEP | Via Teleconference |
| Wittmeyer, Bob | Longhorn Power |  |
| Wolf, Craig | RES | Via Teleconference |
| Woods, Brad | Texas Reliability Entity | Via Teleconference |
| Wright, Chris | Spearmint Energy | Via Teleconference |
| Xia, Tao | TNMP | Via Teleconference |
| Yatar, Jan-Michael | CNP | Via Teleconference |
| Younger, Joseph | Texas Reliability Entity | Via Teleconference |
| ERCOT Staff: |  |  |
| Albracht, Brittney |  | Via Teleconference |
| Anderson, Troy |  |  |
| Azeredo, Chris |  | Via Teleconference |
| Cheng, Yunzhi |  | Via Teleconference |
| Clifton, Suzy |  |  |
| Cyphers, Darrell |  | Via Teleconference |
| Davarikia, Hamzeh |  | Via Teleconference |
| Devadhas Mohanadha, Thinesh |  | Via Teleconference |
| Du, Pengwei |  | Via Teleconference |
| Garcia, Freddy |  |  |
| Gnanam, Prabhu |  | Via Teleconference |
| Golen, Robert |  | Via Teleconference |
| Huang, Fred |  |  |
| Jenkins, Darrell |  | Via Teleconference |
| Kang, Sun Wook |  | Via Teleconference |
| Lee, Alex |  | Via Teleconference |
| Mago, Nitika |  |  |
| Matlock, Robert |  | Via Teleconference |
| Meier, Eric |  | Via Teleconference |
| Phillips, Cory |  | Via Teleconference |
| Sanchez, Daniel |  | Via Teleconference |
| Schmall, John |  | Via Teleconference |
| Solis, Stephen |  | Via Teleconference |
| Stice, Clayton |  | Via Teleconference |
| Thuerwaechter, Kashia |  | Via Teleconference |
| Tirupati, Venkat |  | Via Teleconference |
| Wasik-Gutierrez, Erin |  |  |
| Woodfin, Dan |  | Via Teleconference |
| Yan, Ping |  | Via Teleconference |

Unless otherwise indicated, all Market Segments participated in the votes.

Chase Smith called the August 3, 2023 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Smith directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

- Mr. Smith reviewed the agenda.

- Approval of ROS Meeting Minutes (see Key Documents)

June 8, 2023

- Mr. Smith noted that the June 8, 2023 ROS Meeting Minutes could be considered for inclusion in the Combined Ballot.

Technical Advisory Committee (TAC) Update

Mr. Chase reviewed the disposition of items considered at the July 25, 2023 TAC meeting.

- ERCOT Reports (see Key Documents)

- Operations Report

Alex Lee summarized the June 2023 Operations Report.

- System Planning Report

- Ping Yan summarized the June 2023 System Planning Report.

- Generic Transmission Constraint (GTC) Update

- Yunzhi Cheng provided an update on the Panhandle GTC.

- Energy Management System (EMS) Project Update

- Troy Anderson stated that the EMS upgrade project go-live is scheduled for November 2023, reviewed the timeline and activities for the closed loop testing, noted the market impacts of the testing, and stated that ERCOT will be send a Market Notice 30 days before the testing begins.  Venkat Tirupati responded to Market Participant questions and concerns on the project enhancements and ERCOT testing.

ROS Revision Requests (see Key Documents)

Impact Analysis

Nodal Operating Guide Revision Request (NOGRR) 215, Limit Use of Remedial Action Schemes

- Freddy Garcia summarized the 7/31/23 ERCOT comments.  Mr. Anderson reviewed the 7/10/23 Revised Impact Analysis and priority and rank options for NOGRR215.  Market Participants discussed the appropriate priority and rank for NOGRR215.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

NOGRR249, Communication of System Operating Limit Exceedances

- Market Participants reviewed the 3/17/23 Impact Analysis for NOGRR249.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

NOGRR250, Related to NPRR1171, Requirements for DGRs and DESRs on Circuits Subject to Load Shedding

Resource Registration Glossary Revision Request (RRGRR) 035, Related to NPRR1171, Requirements for DGRs and DESRs on Circuits Subject to Load Shedding

- Market Participants reviewed the 3/29/23 Impact Analyses for NOGRR249 and RRGRR035.  Mr. Smith noted these items could be considered for inclusion in the Combined Ballot.

RRGRR033, Related to NPRR1164, Black Start and Isochronous Control Capable Identification

- Market Participants reviewed the 2/21/23 Impact Analysis for RRGRR033.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Planning Guide Revision Request (PGRR) 105, Deliverability Criteria for DC Tie Imports

- Prabhu Gnanam noted that ERCOT anticipates providing clarifications to PGRR105 on Public Utility Commission of Texas (PUCT) directives in its order concerning the Direct Current Tie (DC Tie) project proposed by Southern Cross before the September 7, 2023 ROS meeting.  ROS took no action on this item.

Language Review

PGRR109, Dynamic Model Review Process Improvement for Inverter-Based Resource (IBR) Modification

- Sun Wook Kang provided an overview of PGRR109.  Market Participants reviewed PGRR109 and commented details such as modifications to settings need to be discussed further and recommended this item be referred to the Planning Working Group (PLWG) and Inverter-Based Working Group (IBRWG).  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

PGRR110, Revision to Accommodate Steady-State Node-Breaker Modeling

- Eric Meier provided an overview of PGRR110 and noted the previous, ongoing Steady State Working Group (SSWG) discussion.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

NOGRR255, High Resolution Data Requirements

- Stephen Solis provided an overview of NOGRR255.  Market Participants discussed that ROS working groups began discussing NOGRR255 before formal assignment, that a Special SPWG meeting would be scheduled, and that the North American Electric Reliability Corporation (NERC) recently published drafts for updated standards.  Market Participants determined to continue further discussions at fewer working groups with joint meetings to minimize strain on resources.  Market Participants requested further of the issues by the System Protection Working Group (SPWG), Dynamics Working Group (DWG), and IBRWG.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Operations Working Group (OWG) (see Key Documents)

Theresa Noyes reviewed OWG activities and reminded Market Participants of the Major Transmission Element (MTE) submission process and timeline for consideration at the September 6, 2023 WMS meeting, September 7, 2023 ROS meeting, and September 26, 2023 TAC meeting.

Nodal Protocol Revision Request (NPRR) 1070, Planning Criteria for GTC Exit Solutions

ROS took no action on this item.

NOGRR245, Inverter-Based Resource (IBR) Ride-Through Requirements

Ms. Noyes summarized NOGRR245 discussions at the June 22 and July 23, 2023 OWG meetings and stated that OWS was not in consensus to support a recommendation to ROS on the issues.  Market Participants discussed the need for additional time to review the recent comments received on NOGRR245, additional clarifications being developed, and a procedural path forward in consideration of the Revision Request timeline and the ERCOT desire for NOGRR245 consideration at the October 17, 2023 ERCOT Board of Directors meeting.  Erin Wasik-Gutierrez reviewed Protocol requirements for Urgent status.  ROS took no action on NOGRR245.  Katie Rich stated that NOGRR245 would be considered at the September 7, 2023 ROS meeting, noted the potential for Urgent status to be considered, and encouraged Market Participants and ERCOT Staff to file comments well in advance of the meeting.

SPWG (see Key Documents)

SPWG Leadership

SPWG Chair:  Andrew Mattei, Brazos Electric Cooperative

SPWG Vice Chair:  Mark McChesney, Oncor Electric Delivery

- Andrew Mattei reviewed SPWG activities and presented SPWG leadership for ROS consideration.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

No action was taken on this item.

IBRWG

- Mr. Solis summarized activities from the July 7, 2023 Inverter Based Resources Task Force (IBRTF)  meeting, including NOGRR245 discussion; reminded Market Participants of the effective date of the IBRWG; and noted that a link to IBRTF is posted on the IBRWG landing page.

PLWG (See Key Documents)

Dylan Preas reviewed PLWG activities.

NPRR1180, Inclusion of Forecasted Load in Planning Analyses

PGRR107, Related to NPRR1180, Inclusion of Forecasted Load in Planning Analyses

ROS took no action on this item.

SSWG

Josh Wichers reviewed SSWG activities.

PGRR106, Clarify Projects Included in Transmission Project Information and Tracking (TPIT) Report

ROS took no action on this item.

Combined Ballot

Dennis Kunkel moved to approve the Combined Ballot as follows:

- To approve the June 8, 2023 ROS Meeting Minutes as submitted

- To endorse and forward to TAC the 7/6/23 ROS Report as amended by the 7/31/23 ERCOT comments and 7/10/23 Revised Impact Analysis for NOGRR215 with a recommended priority of 2026 and rank of 4700

- To endorse and forward to TAC the 7/6/23 ROS Report and 3/17/23 Impact Analysis for NOGRR249

- To endorse and forward to TAC the 7/6/23 ROS Report and 3/29/23 Impact Analysis for NOGRR250

- To endorse and forward to TAC the 7/6/23 ROS Report and 3/29/23 Impact Analysis for RRGRR035

- To endorse and forward to TAC the 7/6/23 ROS Report and 2/21/23 Impact Analysis for RRGRR033

- To table PGRR109 and refer the issue to IBRWG and PLWG

- To table PGRR110 and refer the issue to SSWG

- To table NOGRR255 and refer the issue to SPWG, DWG and IBRWG

- To endorse Andrew Mattei, Brazos Electric Cooperative as SPWG Chair and Mark McChesney, Oncor Electric Delivery as SPWG Vice Chair

Marty Downey seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

Other Business (see Key Documents)

2024 Meeting Schedule

Market Participants reviewed the 2024 Block Meeting Calendar.  There were no objections.

Review Open Action Items List

Mr. Chase encouraged ROS working group and task force leadership to continue to review their assigned open action items and include the status of these items in their monthly reports to ROS.

No Report

- Black Start Working Group (BSWG)

- DWG

- Network Data Support Working Group (NDSWG)

- Operations Training Working Group (OTWG)

- Performance Disturbance Compliance Working Group (PDCWG)

- Voltage Profile Working Group (VPWG)

Adjournment

Mr. Smith adjourned the August 3, 2023 ROS meeting at 12:31 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- https://www.ercot.com/calendar/08032023-ROS-Meeting