## Slide 1
Monthly Review of Reliability Unit Commitment Market Impacts – May 2023
Wholesale Market Working Group
ERCOT Staff

## Slide 2: RUC Resource-Hours
* The difference between “Instructed” and “Effective” values is a result of Resources starting up, shutting down, receiving partial hour instructions, or otherwise not being dispatchable by SCED.
May 2023 | Total | Opt-Out | Non-Opt-Out
Instructed Resource-Hours |  |  | 
Total Count | 560.7 | 103.0 | 457.7
Effective Resource-Hours* |  |  | 
Total Count | 547.4 | 102.2 | 445.2
Average LSL | 63.5 | 74.8 | 60.9
Average LDL | 71.4 | 112.6 | 61.8
Average BP | 75.5 | 130.5 | 62.6
Average HSL | 166 | 218.2 | 153.8

## Slide 3: RUC Instruction Reasons: Last 13 Months RUCs in May 2023 were primarily driven by system-wide capacity concerns.

## Slide 4: RUC Instruction Reasons in May 2023
547.4 effective RUC Resource-hours.
  544.4 hours (99.45%) for capacity concerns.
  3 hours (0.55%) for congestion concerns.

## Slide 5: Non-opt-out and Opt-out Totals: Last 13 Months May 2023 had a total of 445.2 non-opt-out effective Resource-hours (81.33%) and 102.2 opt-out effective Resource-hours (18.67%).

## Slide 6: Non-opt-out and Opt-out Totals: May 2023

## Slide 7: RUC Lead Time Margin: May 2023
Lead time refers to the length of time between a RUC instruction and the start of the commitment window.
Lead time margin is the difference between lead time and the Resource’s startup time.
In cases where a Resource is committed for multiple back-to-back time blocks, lead time margin is calculated from the first instruction.
Most RUC commit windows had lead time margin at or below 4 hours.
Notes: The first bin is both-inclusive (i.e. [0, 2] ), while subsequent bins are left-inclusive (i.e. [2, 3), [3, 4), etc.).

## Slide 8: Average Resource Age: Last 13 Months In May 2023, the mean age of RUC-committed Resources was 44.6 years for Non-Opt-Out Resource-hours and 54.1 years for Opt-Out Resource-hours without DAM Commitments.
Note: For Resource configurations with multiple physical generators, the age of the oldest generator is used.

## Slide 9: Age Category: Last 13 Months Most RUC-Committed Resources in May 2023 were older than 40 years.
Non-opt-out
Opt-out

## Slide 10: RUC-Instructed Resource Dispatch above LDL
May 2023
When Resources did not successfully opt out, there were 6.0 effective Resource-hours for which the Resource was dispatched above its LDL.
  For 3.3 of these Resource-hours, the LMP for the RUC-instructed Resource was above the RUC offer floor.
  For 2.7 of these Resource-hours, the LMP for the RUC-instructed Resource was below the RUC offer floor.
    For all these Resource-hours, the RUC-instructed Resource was mitigated.
There were no Exceptional Fuel Cost submissions for any RUC-Committed Resources in May 2023.

## Slide 11: Reliability Deployment Price Adder: Last 13 Months May 2023 had a total of 206.84 RTORDPA hours with an average value of $2.21/MWh.

## Slide 12: Reliability Deployment Price Adder: May 2023 OD 5/13 had the highest daily time-weighted average RTORDPA: $14.32/MWh.

## Slide 13: RUC Clawback, Make-Whole, and Shortfall For May 2023, the total Clawback charge was $0.427M. The total Make-Whole payment was $0.427M, which was almost entirely covered through capacity-short charges.
Of the $0.427M in Make-Whole paid out in May 2023, $6.13 was uplifted to load due to rounding.
The remaining amount was collected through Capacity Short Charges.
Data as of June 7th, 2023

## Slide 14: RUC Make-Whole by Settlement Type
Negative dollars represent a payment from ERCOT to a market participant
“-” indicates settlement has yet to be completed.
Month | Initial Settlement ($) | Final Settlement Change ($) | True-up Settlement Change ($) | Net as of June 7, 2023 ($)
May '22 | -1,366,293 | 658 | -1,936,192 | -3,301,827
Jun '22 | -1,474,085 | 0 | -4,540,116 | -6,014,201
Jul '22 | -1,282,874 | 0 | -8,558,242 | -9,841,116
Aug '22 | -3,464,254 | 0 | -9,809,538 | -13,273,792
Sep '22 | -4,666,217 | 0 | -4,139,983 | -8,806,200
Oct '22 | -851,291 | -37,747 | -2,785,833 | -3,674,871
Nov '22 | -809,352 | 0 | -4,855,881 | -5,665,233
Dec '22 | -1,479,207 | 0 | - | -1,479,207
Jan '23 | -141,639 | -59,381 | - | -201,020
Feb ‘23 | -295,131 | 0 | - | -295,131
Mar ‘23 | -343,491 | 0 | - | -343,491
Apr ‘23 | -687,506 | - | - | -687,506
May ‘23 | -426,974 | - | - | -426,974

## Slide 15: RUC Clawback by Settlement Type
Month | Initial Settlement ($) | Final Settlement Change ($) | True-up Settlement Change ($) | Net as of June 7, 2023 ($)
May '22 | 8,167,123 | 19,018 | -892,817 | 7,293,324
Jun '22 | 12,379 | 0 | 0 | 12,379
Jul '22 | 6,500,951 | 0 | -1,255,520 | 5,245,432
Aug '22 | 985,985 | 0 | -876,395 | 109,590
Sep '22 | 364,507 | 0 | -156,692 | 207,814
Oct '22 | 544,601 | -16,449 | -448,264 | 79,887
Nov '22 | 951,568 | 0 | -262,845 | 688,723
Dec '22 | 148,277 | 0 | - | 148,277
Jan '23 | 835,738 | -6,526 | - | 829,212
Feb ‘23 | 158,319 | 0 | - | 158,319
Mar ‘23 | 179,783 | 0 | - | 179,783
Apr ‘23 | 53,643 | - | - | 53,643
May ‘23 | 426,519 | - | - | 426,519
Negative dollars represent a payment from ERCOT to a market participant
“-” indicates settlement has yet to be completed.