## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Theresa Noyes
HITE List Sub-Chair – Pushkar Chhajed
09/21/2023

## Slide 2: ERCOT Updates and System Operation Report
Unofficial Peaks Reported by ERCOT
August 10, Peak – 85,464 MW
August 20, New Weekend Peak – 85,116 MW
August 16, Solar Peak 13,735 - 20.04%
August 9, Renewable Peak 31, 718 – 42.77%

## Slide 3: Texas Reliability Entity Report
TRE provided an update on upcoming events
  10/5 CIP/Cybersecurity Talk
  10/6 NERC Alert Extreme Weather Prep
  10/19 TADS Training
  10/25 Fall Standards Work Shop
See TRE and FERC Websites for more information
TRE - https://www.texasre.org/
FERC - https://www.ferc.gov/

## Slide 4: NPRR 1198 and NOGRR258 - Congestion Mitigation Using Topology Reconfigurations
Alexandra Miller Presented Proposed NPRR 1198 and NOGRR 258 to OWG
OWG discussed and raised various question concerning the proposed NPRR and NOGRR
  Real-Time or Pre-arranged
  Who would benefit?
  Number of times used in MISO and SPP areas
  Was the million dollar threshold selected to align with the HITE list concept
Other stakeholders are likely to submit comments to proposed language

## Slide 5: OTWG Update
No Update