## Slide 1
ROS Report – September 26, 2023
Chase Smith
Katie Rich
Technical Advisory Committee (TAC) Meeting
ERCOT Public

## Slide 2: Voting Items
NOGRR 245, Inverter-Based Resource (IBR) Ride-Through Requirements
PGRR 105, Deliverability Criteria for DC Tie Imports
Major Transmission Elements (MTE) List
Notes: NOGRR 245 was discussed at ROS’ regularly scheduled meeting on 9/7. A special meeting was held on 9/14 to consider the NOGRR and the IA with Urgent status. ERCOT provided an updated presentation to respond to comments filed since the last meeting. Namely NextEra filed comments to try to find a compromise on the timelines based on OEM feedback. Southern Power provided desktop edits to NextEra’s comments, which were included in the motion. The motion to approve with NextEra’s comments as revised by ROS passed by a narrow margin – 54.8% in favor with 2 abstentions.
PGRR 105 was approved based on the 7/6 ROS report and 6/27 IA with 7 abstentions and 90% in favor. Note that ERCOT filed comments proposing to reject or indefinitely table the PGRR. ERCOT commented: in its resolution of Directive 11, concerning allocation of certain costs associated with the Southern Cross DC Tie, ERCOT concluded there was no need to address the allocation of costs of new transmission facilities because the curtailment principle in PGRR077 precluded the construction of new transmission to accommodate DC Tie flows.
ROS approved the MTE list after OWG reached consensus.

## Slide 3: Recent ROS Actions
Endorsed OTWG leadership
  OTWG Chair: Manuel Sanchez, Oncor Electric Delivery

## Slide 4: Revision Requests under ROS Review
NPRR1070, Planning Criteria for GTC Exit Solutions (OWG, PLWG)
NPRR1180, Inclusion of Forecasted Load in Planning Analyses (PLWG)
NOGRR255, High Resolution Data Requirements (DWG, IBRWG, SPWG)
PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions
PGRR106, Clarify Projects Included in Transmission Project Information and Tracking Report (SSWG)
PGRR107, Related to NPRR1180, Inclusion of Forecasted Load in Planning Analyses (PLWG)
PGRR109, Dynamic Model Review Process Improvements for Inverter-Based Resource Modification (IBRWG, PLWG)
PGRR110, Revision to Accommodate Steady-State Node-Breaker Modeling (SSWG)

## Slide 5: Future Meetings
ROS
  Next Regularly Scheduled Meeting – October 5 – WebEx Only