## Slide 1
Large Flexible Load Task Force (LFLTF) Report – TAC
September 26, 2023

## Slide 2: LFLTF – Activities in last month
LFLTF held meetings on September 6 and September 25
Comments on NPRR1191 (and related RRs) were discussed
ERCOT staff presented analyses
  Size and frequency of Large Load ramping events
  Large Load price-responsive behavior
  Large Load behavior during the September 6 EEA event
  Large Load voltage ride-through events

## Slide 3: LFLTF – Approach and Draft Schedule
Each meeting will focus on at most 2 topics as indicated on the schedule. Stakeholder comments and proposals for discussion will be due 7 days prior to the meeting date.
Each topic will be discussed twice. At the end of the second meeting, the task force will arrive at a consensus on that issue or a set of proposals to be taken to TAC for an up or down vote.
Once an issue has consensus or a direction from TAC, ERCOT will revise NPRR1191 and associated RRs to reflect the direction agreed on.
Topic | First Discussion Materials Due | First Discussion LFLTF Date | Second Discussion Materials Due | Second Discussion LFLTF Date (PENCILS DOWN) | Proposal(s) Reported up to TAC (possible vote)
Interconnection Process | 10/6/2023 | 10/13/2023 | 10/23/2023 | 10/30/2023 | 12/4/2023
RCLs and EEA procedures | 10/23/2023 | 10/30/2023 | 11/13/2023 | 11/20/2023 | 12/4/2023
Ramp Rate Restrictions | 11/13/2023 | 11/20/2023 | 12/4/2023 | 12/11/2023 | 1/24/2024
Voltage Ride Through | 12/4/2023 | 12/11/2023 | 12/27/2023 | 1/3/2024 | 1/24/2024
Registration of Loads 25 MW or Larger | 12/27/2023 | 1/3/2024 | 1/10/2024 | 1/17/2024 | 2/21/2024
Additional Issues | 1/10/2024 | 1/17/2024 | 1/29/2024 | 2/5/2024 | 2/21/2024

## Slide 4: LFLTF – Path Forward
Given the volume and diversity of comments received on NPRR1191, LFLTF plans to hold more frequent meetings (twice per month) through early 2024.
Each meeting will be focused on 1-2 topics, with the goal of achieving consensus or proposals to take to TAC for direction.
Initial meetings will focus on topics with greater agreement. Topics with less consensus will be addressed at later meetings.
Approach will be similar to RTCTF and BESTF.

## Slide 5: LFLTF – Next Steps
LFLTF is looking for TAC support of this approach.
First proposals would be brought to December 4 TAC meeting.
Any other input welcome!