| Date: | October 10, 2023 |
| --- | --- |
| To: | Board of Directors |
| From: | Clif Lange, Technical Advisory Committee (TAC) Vice Chair |
| Subject: | Non-Unanimous and Other Selected Revision Requests Recommended by TAC for Approval |

## Issue for the ERCOT Board of Directors

ERCOT Board of Directors Meeting Date: October 17, 2023 Item No.: 9.1

##### Issue: ##### Consideration of Nodal Protocol Revision Request (NPRR) 1186, Improvements Prior to the RTC+B Project for Better ESR State of Charge Awareness, Accounting, and Monitoring – URGENT, recommended for approval by TAC (with opposing votes recorded).

##### Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote; (ii) For NPRRs, ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability; (iii) ERCOT supports the Revision Request; and (iv) the Independent Market Monitor (IMM) has no opinion on the Revision Request. - NPRR1186, Improvements Prior to the RTC+B Project for Better ESR State of Charge Awareness, Accounting, and Monitoring – URGENT Sponsor: ERCOT Proposed Effective Date: Upon system implementation – Priority 2023; Rank 3595, for all sections except the grey-boxed paragraph (4) of Section 8.1, QSE and Resource Performance Monitoring, which will be effective no earlier than three months after system implementation of NPRR1186 ERCOT Impact Analysis: Between $500K and $700K; no impacts to ERCOT staffing; impacts to Market Operation Systems, Data Management & Analytic Systems, Energy Management Systems, Integration Systems, Grid Modeling Systems, and Grid Decision Support Systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR is the first of two NPRRs that ERCOT has prepared to improve the awareness, accounting, and monitoring of the State of Charge (SOC) for an Energy Storage Resource (ESR). This particular NPRR is for the interim period which is described as the time period before the Real-Time Co-optimization plus Batteries (RTC+B) project goes live. The target go-live date for the RTC+B project is expected to be several years away and the language and changes in this first NPRR are aimed to strategically improve SOC awareness, accounting, and monitoring with minimal system changes so that the improvements can be in place while the RTC+B project is completed. TAC Decision: On 9/26/23, TAC voted to recommend approval of NPRR1186 as recommended by TAC in the 8/22/23 TAC Report as amended by the 9/19/23 ERCOT comments. There was one opposing vote from the Independent Retail Electric Provider (IREP) (APG&E) Market Segment. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1186 and believes the market impact for NPRR1186 provides a necessary, cost-effective, interim solution to improve the awareness, accounting, and monitoring of SOC for the growing number of ESRs on the system until the implementation of the RTC+B project. IMM Opinion: IMM supports NPRR1186. The TAC Reports and Impact Analyses for these Revision Requests are included in the ERCOT Board meeting materials. In addition, NPRR1186 and supporting materials are posted on the ERCOT website.

##### Key Factors Influencing Issue: On 8/22/23, the TAC met, discussed the issues and submitted a report to the Board regarding NPRR1186. On 8/31/23, the Board met, discussed the issues, and remanded NPRR1186 to TAC instructing TAC to address the limited deployment issue discussed by ERCOT staff in its presentation and the 8/28/23 ERCOT Comments and Position Statement and present an updated recommendation to the Board at the October 17, 2023 Board meeting. On 9/26/23, the TAC met, discussed the issues and submitted a report to the Board regarding NPRR1186.

##### Conclusion/Recommendation: As more specifically described above, TAC recommends that the Board recommend approval of NPRR1186.

ELECTRIC RELIABILITY COUNCIL OF TEXAS, INC.

BOARD OF DIRECTORS RESOLUTION

WHEREAS, after due consideration of the alternatives, the Board of Directors (Board) of Electric Reliability Council of Texas, Inc. (ERCOT) deems it desirable and in the best interest of ERCOT to recommend approval of Nodal Protocol Revision Request (NPRR) 1186, Improvements Prior to the RTC+B Project for Better ESR State of Charge Awareness, Accounting, and Monitoring – URGENT, recommended for approval by TAC.

THEREFORE, BE IT RESOLVED, that the Board hereby recommends approval of NPRR1186.

CORPORATE SECRETARY’S CERTIFICATE

I, Jonathan M. Levine, Assistant Corporate Secretary of ERCOT, do hereby certify that, at its October 17, 2023 meeting, the Board passed a motion approving the above Resolution by ______.

IN WITNESS WHEREOF, I have hereunto set my hand this ___ day of October, 2023.

______________________________

Jonathan M. Levine

Assistant Corporate Secretary