Date:			October 24, 2023

To:			Technical Advisory Committee (TAC) Representatives

From:			Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: 		Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs and SCRs recommended for approval by PRS: - NPRR1172, Fuel Adder Definition, Mitigated Offer Caps, and RUC Clawback [ERCOT] - NPRR1192, Move OBD to Section 22 – Requirements for Aggregate Load Resource Participation in the ERCOT Markets [ERCOT] - NPRR1193, Related to SMOGRR027, Move OBD to Settlement Metering Operating Guide – EPS Metering Design Proposal [ERCOT] - NPRR1196, Correction of NCLR Ancillary Service Failed Quantity Calculations under NPRR1149 [ERCOT] - NPRR1203, Implementation of Dispatchable Reliability Reserve Service – URGENT [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote and (ii) for NPRRs, ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR1172, Fuel Adder Definition, Mitigated Offer Caps, and RUC Clawback Sponsor: ERCOT Proposed Effective Date: Phase 1 – To be determined, Phase 2 – Upon system implementation – Priority 2024; Rank 4070 ERCOT Impact Analysis: Phase 1 – Less than $5K (O&M), Phase 2 – Between $65K and $85K; no impacts to ERCOT staffing; impacts to Settlements & Billing Systems, Market Operation Systems, Data Management & Analytic Systems, ERCOT Website and MIS Systems, and Channel Management Systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR removes the Mitigated Offer Cap (MOC) multipliers, and creates a 100% clawback for Reliability Unit Commitment (RUC). This NPRR also sets the Three-Part Supply Offers that ERCOT creates at 100% of the approved verifiable costs or generic costs. PRS Decision: On 9/13/23, PRS voted to recommend approval of NPRR1172 as amended by the 9/11/23 CPS Energy comments. There were five opposing votes from the Cooperative (2) (GSEC, STEC), Independent Generator (2) (Calpine, Constellation), and Municipal (GEUS) Market Segments, and nine abstentions from the Cooperative (2) (Brazos, LCRA), Independent Generator (5) (EDP Renewables, Broad Reach Power, Key Capture Energy, ENGIE, Jupiter Power), and Independent Power Marketer (IPM) (2) (Tenaska, NG Renewables) Market Segments. On 10/12/23, PRS voted to endorse and forward to TAC the 9/13/23 PRS Report as amended by the 10/4/23 ERCOT comments as revised by PRS and the 10/11/23 Impact Analysis for NPRR1172 with a recommended priority of 2024 and rank of 4070 for Phase 2. There were three opposing votes from the Cooperative (2) (GSEC and STEC) and Independent Generator (Constellation) Market Segments, and two abstentions from the IPM (Tenaska) and Municipal (GEUS) Market Segments. - NPRR1192, Move OBD to Section 22 – Requirements for Aggregate Load Resource Participation in the ERCOT Markets Sponsor: ERCOT Proposed Effective Date: Upon system implementation ERCOT Impact Analysis: Less than $5K (O&M); no impacts to ERCOT staffing; impacts to ERCOT Website and MIS Systems and Channel Management Systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR incorporates the Other Binding Document “Requirements for Aggregate Load Resource Participation in the ERCOT Markets” into the Protocols. PRS Decision: On 9/13/23, PRS voted unanimously to recommend approval of NPRR1192 as revised by PRS. The Independent Retail Electric Provider (IREP) Market Segment did not participate in the vote. On 10/12/23, PRS voted unanimously to endorse and forward to TAC the 9/13/23 PRS Report and 9/12/23 Revised Impact Analysis for NPRR1192. - NPRR1193, Related to SMOGRR027, Move OBD to Settlement Metering Operating Guide – EPS Metering Design Proposal Sponsor: ERCOT Proposed Effective Date: Upon implementation of Settlement Metering Operating Guide Revision Request (SMOGRR) 027, Move OBD to Settlement Metering Operating Guide – EPS Metering Design Proposal ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. (There are no additional impacts to this NPRR beyond what was captured in the Impact Analysis for SMOGRR027.) Revision Description: This NPRR changes the referenced location of the EPS Metering Design Proposal form, as it is moving from the Other Binding Document List into the Settlement Metering Operating Guide (SMOG). PRS Decision: On 9/13/23, PRS voted unanimously to recommend approval of NPRR1193 as submitted. The IREP Market Segment did not participate in the vote. On 10/12/23, PRS voted unanimously to endorse and forward to TAC the 9/13/23 PRS Report and 8/9/23 Impact Analysis for NPRR1193. - NPRR1196, Correction of NCLR Ancillary Service Failed Quantity Calculations under NPRR1149 Sponsor: ERCOT Proposed Effective Date: Upon implementation of NPRR1149, Implementation of Systematic Ancillary Service Failed Quantity Charges ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. (There are no additional impacts to this NPRR beyond what was captured in the Impact Analysis for NPRR1149.) Revision Description: This NPRR makes corrections and updates to equations used to determine Ancillary Service Failed Quantity calculations for Load Resources other than Controllable Load Resources (“NCLRs”) which were developed under NPRR1149. PRS Decision: On 9/13/23, PRS voted unanimously to recommend approval of NPRR1196 as submitted. The IREP Market Segment did not participate in the vote. On 10/12/23, PRS voted unanimously to endorse and forward to TAC the 9/13/23 PRS Report and 8/24/23 Impact Analysis for NPRR1196. - NPRR1203, Implementation of Dispatchable Reliability Reserve Service – URGENT Sponsor: ERCOT Proposed Effective Date: Upon system implementation – Priority 2023; Rank 370 ERCOT Impact Analysis: Between $1.0M and $1.5M; no impacts to ERCOT staffing; impacts to Market Operation Systems, Data Management & Analytic Systems, Energy Management Systems, Content Delivery Systems, Settlements & Billing Systems, CRM & Registration Systems, Integration Systems, ERCOT Website and MIS Systems, and Channel Management Systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR establishes Dispatchable Reliability Reserve Service (DRRS) within the suite of Ancillary Services procured by ERCOT. DRRS is created in alignment with the requirements of House Bill No. 1500 (HB1500) approved by the 88th Texas Legislature earlier this year. To meet the delivery requirements of DRRS, established in HB1500 with an implementation deadline of December 1, 2024, this NPRR makes DRRS a sub-category of the existing Non-Spinning Reserve (Non-Spin) product. PRS Decision: On 10/12/23, PRS voted unanimously to grant NPRR1203 Urgent status; to recommend approval of NPRR1203 as amended by the 10/12/23 ERCOT comments as revised by PRS; and to forward to TAC NPRR1203 and the 9/27/23 Impact Analysis with a recommended priority of 2023 and rank of 370. Revision Requests Rejected None Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR1181, Submission of Seasonal Coal and Lignite Inventory Declaration [ERCOT] - NPRR1201, Limitations on Resettlement Timeline and Default Uplift Exposure Adjustments [ERCOT] - SCR825, ERCOT Voice Communications Aggregation [Tenaska] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR1070, Planning Criteria for GTC Exit Solutions [EDF Renewables / Pattern Energy] - NPRR1162, Single Agent Designation for a QSE and its Sub-QSEs for Voice Communications over the ERCOT WAN [ERCOT] - NPRR1170, Capturing Natural Gas Delivery Information for Natural Gas Generation Resources [ERCOT] - NPRR1179, Fuel Purchase Requirements for Resources Submitting RUC Fuel Costs – URGENT [ERCOT] - NPRR1180, Inclusion of Forecasted Load in Planning Analyses [Oncor] - NPRR1188, Implement Nodal Dispatch and Energy Settlement for Controllable Load Resources [ERCOT] - NPRR1190, High Dispatch Limit Override Provision for Increased NOIE Load Costs [Joint Sponsors] - NPRR1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater [ERCOT] - NPRR1194, Wholesale Storage Load Auxiliary Netting [STEC] - NPRR1195, Resource Entity Metering Facilities Maintenance [STEC] - NPRR1197, Energy Storage Resource (ESR) Non-Charging Load(s) Optional Exclusion from EPS Netting Arrangement [Engie] - NPRR1198, Congestion Mitigation Using Topology Reconfigurations [EDF Renewables] - NPRR1199, Implementation of Lone Star Infrastructure Protection Act (LSIPA) Requirements [ERCOT] - NPRR1200, Utilization of Calculated Values for Non-WSL for ESRs [NextEra Energy] - NPRR1202, Refundable Deposits for Large Load Interconnection Studies [Lancium] - SCR826, ERCOT.com Enhancements [Residential Consumer] - SCR827, Grid Conditions Graph Addition for Operating Reserve Demand Curve (ORDC) Level [ACES] New Revision Requests Scheduled for Consideration at PRS - NPRR1204, Considerations of State of Charge with Real-Time Co-Optimization Implementation [ERCOT] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr https://www.ercot.com/mktrules/issues/scr